# Canberra Health Services

Procedure

Venous & Arterial Access: Management in the Department of Neonatology

# Contents

Contents	1

Purpose	3

Alerts	3

Scope	4

Section 1 – Peripheral Arterial Line (PAL)	4

1.1 - Insertion Of Peripheral Arterial Line	5

1.2 - Care Of Peripheral Arterial Line	6

1.3 - Management Of Suspected Ischaemia Related To PAL	7

1.4 - Use Peripheral vasodilators (topical glycerlglyceryl trinitrate)	7

1.5 - Systemic anticoagulation for ischaemic associated with PAL	7

1.6 - Sampling From PAL	8

1.7 - Removal Of PAL	8

Section 2 – Central Line Bundle	9

Background	9

Section 3 – Percutaneous Intravenous Central Catheter (PICC) Insertion	10

Section 4 – Management And Removal Of Central Venous Catheters (incl. PICC)	13

4.1 - Management Of CVC	13

4.2 - Removal Of CVC	14

Section 5 – Central Venous Catheter (CVC) Heparin Lock & Blood Sampling	15

5.1 - Central Venous Catheter (CVC) Heparin Lock	15

5.2 - Blood Sampling From CVC	16

Section 6 – Umbilical Venous And Arterial Catheters	17

6.1 - Insertion Of Umbilical Venous And Arterial Catheters	18

6.2 - Care of Umbilical Line	20

6.3 - Blood Pressure Calibration Of UAC	21

6.4 - Blood Sampling Of UAC	21

6.5 - Removal Of Umbilical Catheters (UVC & UAC)	22

Section 7 – Peripheral Intravenous Cannula (PIVC)	23

7.1 - Insertion of a peripheral IV Cannula	23

7.2 - Flushing Of The IV Cannula	25

7.3 - Removal Of PIVC	26

Section 8: Intravenous Line Changes (Total Parenteral Nutrition and Lipids with Drug Infusions)	26

Section 9 – Inotrope Infusion & Clearance	28

9.1 - Inotrope Infusion	28

9.2 - Inotrope Clearance	29

Procedure	30

Section 10 – Narcotic Infusion & Weaning	30

10.1 - Narcotic Infusion	30

10.2 - Narcotic Weaning	31

Section 11 – Venous Extravasation Injury	32

11.1 Infiltration of severe injuries:	35

11.2 -  Irrigation	36

Evaluation	37

Related Policies, Procedures, Guidelines and Legislation	37

References	38

Search Terms	40

Attachments	40

Attachment 1 - Management Of Peripheral Arterial Lines	40

Attachment 2 – Neonatal Arterial Line Hourly Observation Chart	42

Attachment 3 - Checklist For Insertion Of PICC Line	44

Attachment 4 - Checklist For Insertion Of Umbilical Line	45

Attachment 5 -  Daily Checklist For Central Line Management	46

Attachment 6 – Neurovascular Observations Chart	47

# Purpose

The purpose of this clinical procedure is to provide clinicians with information on the insertion, management and removal of venous and arterial access devices in the Department of Neonatology. It will cover the following:

Peripheral Arterial Lines

Central Venous Catheters

Intravenous Cannula

Intravenous Line Changes

Inotrope Infusion and Clearance

Narcotic Infusion and Weaning

Central Line Bundling

Percutaneous Intravenous Central Catheters (PICC)

Umbilical Catheters

IV Line Extravasation

Back to Table of Contents

# Alerts

General

Never infuse drugs or blood products via central and peripheral arterial line.

Inotropes are powerful catecholamines affecting cardiac output and heart rate. Both heart rate and blood pressure can be affected at very low infusion volumes. Great care must be exercised when starting, changing, or flushing an infusion.

- Central Lines

Only fellows and consultants are to insert PICC lines.

Senior Registrars may insert PICC lines under the direct supervision of a Fellow or Consultant or solo after 6 months in NICU if deemed competent by the Supervisor.

- Use only one limb per attempted insertion

- If procedure takes more than 30 minutes, stop and call someone more experienced

Insert catheter to estimated distance.  A little too far is better than not far enough, catheters can always be withdrawn but never inserted further.  Always ensure that blood can be freely and repeatedly withdrawn into the catheter (indicates positioning of catheter in large vein)

Do not forget to remove the guidewire from Premicath once line position is confirmed

Blood must not be infused via a PICC line but may be infused via a Central Venous Catheter (CVC).

PICC lines should not be accessed routinely for IV medications

A CVC may be used for the administration of medications and blood sampling except for blood glucose levels when dextrose or TPN is being administered via the line

Seek medical advice if CVC is broken during removal or cannot be removed

Remove the heparin lock before accessing the catheter to ensure heparin is not injected into the baby.

All clamping must be done on the cuffed area of the catheter

Back to Table of Contents

# Scope

This procedure applies to all staff involved in the care of neonates admitted in Canberra Health Services with competency recognised by ACT Health, including;

Medical Staff

Nurses/midwives

Students (if within their defined scope of practice) will be required to perform these skills under the direct supervision of a credentialed and competent practitioner.

Back to Table of Contents

# Section 1 – Peripheral Arterial Line (PAL)

Note:

Before any arterial cannulation, the Allen test should be used to assess for collateral circulation of the hand.

  - Allen Test: Elevate the arm and simultaneously occlude the radial and ulnar arteries at the wrist, then rub the palm to cause blanching. Release pressure on the ulnar artery. If normal colour returns to the palm in less than 10 seconds adequate collateral circulation is present. Always document normal collateral circulation prior to performing arterial puncture

Radial and Posterior Tibial arteries are the preferred site for arterial cannulation

The combined incidence of arterial and venous thrombosis is high, recently reported as up to 15 per 1000 NICU patients.  There is no evidence that PAL position increases or decreases the risk of vascular injury, however, it makes sense to avoid injuring large vessels (femoral or brachial arteries) as the consequences of an injury is greater.  Using a brachial or ulnar artery for PAL insertion could be considered in consultation with the neonatologist on call if other sites are not available. In addition to having a small lumen relative to catheter size and an immature coagulation system, newborns requiring peripheral arterial lines (PAL) frequently have viscous blood, dehydration or sepsis; all of which increase their risk of arterial thrombosis or vasospasm. See Attachment 1 for flowchart - Management of Peripheral Arterial Lines

Alert

Never infuse drugs or blood products via peripheral arterial line.

## 1.1 - Insertion Of Peripheral Arterial Line

Equipment

Alcohol Based Hand Rub (ABHR) and Hand Hygiene Equipment

IV trolley

Dressing pack

Skin cleansing solution

24 gauge IV cannula

Luer lock T piece, Smallbore T-Port Extension Set

Occlusive dressing

Adhesive strapping and arm-board

Ampoule of heparinised saline 50 unit in 5mL

3 way tap

5mL syringe

500 Units Heparin in 500mL 0.45% Saline

Intravenous giving set

Transducer set and cable

Cold light transilluminator

Sucrose (as per drug manual)

1mL syringe

Pacifier (requires parent’s consent)

Neurovascular Observation Chart

Procedure

- Perform hand hygiene (HH)

- Prime giving set and transducer

- Administer sucrose/expressed breastmilk (EBM) orally +/- pacifier 2 minutes prior to procedure for pain relief

- Prime the T piece with heparinised saline

- Wash hands and don gloves, maintain sterile field

- Prep skin with skin cleansing solution

- Using the transilluminator, transilluminate the dorsal aspect of the wrist to find the artery

- Insert the cannula at a 45 degree angle

- Remove stylet – pull the cannula back until blood is seen. This signifies that the arterial lumen has been entered

- Attach the primed extension set and primed syringe and flush the cannula

- Secure the cannula with occlusive dressings

- Place the arm board in the correct position ensuring the cannula and extension set is well stabilised

- Tape into position ensuring the area above the insertion site is visible

- Perform HH

- Attach the primed giving set and transducer

- Commence the infusion according to the fluid maintenance orders (usually 1mL/hr)

Note:

Running 0.5unit/mL heparin at 1mL/hour improves PAL longevity but has not been shown to reduce ischaemic complications. It is important to regularly monitor PAL for any evidence of vasospasm or thrombosis.

- Position the transducer at heart level, plug into pressure monitor and calibrate transducer

- Record on the transducer the date it is due to be changed – every 4 days

- Observe the infusion site for patency of the artery

- Observe for pink, warm and well perfused digits and/or limbs distal to the cannulation

- Document on the arterial line observation chart hourly

- Document on the observation chart and baby’s notes when and where the arterial line was inserted

- If circulatory compromise occurs, (i.e. white or cyanosed fingers or toes) inform Registrar - remove line quickly. See below for management of suspected ischaemia

- Ensure blood pressure alarm limits are set and activated (includes systolic/diastolic and mean)

- Calibrate and zero pressure line once per shift and after sampling

- Record hourly systolic/diastolic and mean blood pressure

- Position baby according to developmental care protocol

- Clean and dispose of equipment according to WH&S guidelines

- Perform HH

- Document any arterial sites that have been cannulated or a cannula attempted in the clinical record.

## 1.2 - Care Of Peripheral Arterial Line

Procedure

- At the commencement of each shift, check fluid orders to ensure the correct fluids are infusing and the rate is correct with the outgoing nurse

- Record the infusion rate hourly

- Monitor PAL hourly for slippage and haemorrhage, disconnection of tubing or loose connection, blanching, cyanosis and/or mottling

- Record observation on the arterial line neurovascular observation sheet hourly. See Attachment 2 – Neonatal Arterial Line Hourly Observation Chart.

- If there are signs of vascular compromise notify Medical Officer – remove line quickly-see below for management of suspected ischaemia

- Watch for indications of clot formation by noting: a decrease in amplitude of pulse pressure on blood pressure tracing or difficulty withdrawing blood samples

- Ensure blood pressure alarm limits are set and activated (includes systolic/diastolic and mean)

- Record the systolic, diastolic and mean hourly – observing and reporting changes in parameters

- Calibrate and zero pressure line once per shift and after sampling

- Change transducer every 4 days

- Change fluids and giving set daily

- Observe for signs of local infection

- Observe baby for possible indications of sepsis such as temperature instability, apnoea, mottling of skin or inflammation at the cannula site

- Check the blood pressure manually daily to ensure correlation

## 1.3 - Management Of Suspected Ischaemia Related To PAL

Procedure

- PALs with evidence of distal ischaemia (cool, pale skin and poor perfusion) should be urgently removed.

- Urgently inform senior nursing and medical staff and remove the PAL.  If there is a delay in review don’t wait, remove the line.

- If blanching, cyanosis, pallor and/or mottling continues after removal of the arterial line apply warmth to the opposite limb, notify registrar and consider using glyceryl trinitrate paste.

- Inform the parents of the event

## 1.4 - Use Peripheral vasodilators (topical glycerlglyceryl trinitrate)

- There are many case reports that suggest using topical 2% nitroglycerine ointment at a dose of 4mm/kg has benefit in newborns with PAL related ischaemia

- Potential side effects include hypotension, tachycardia, flushing, and methemoglobinemia due to nitric oxide production, although these are rare.

- Apply glyceryl trinitrate ointment proximal to the affected arterial site.

## 1.5 - Systemic anticoagulation for ischaemic associated with PAL

- The American College of Chest Physicians recommend starting systemic anticoagulation with heparin (Grade 2) with or without thrombolysis or micro vascular repair.

- In limb or life threatening situations, thrombolysis can be considered in consultation with vascular and haematology teams; however the risks of bleeding may outweigh the benefits and there is little evidence regarding the safety of thrombolysis in newborns

- Low molecular weight heparin can be considered in newborns as it is thought to have a more predictable dosing response and less frequent monitoring requirements.  There is evidence that whole milligram dosing of enoxaparin can be used safely and effectively in term and preterm newborns. See medication manual if anticoagulation is to be used.

## 1.6 - Sampling From PAL

Equipment

- 1mL heparinised syringe +/- slip tip syringe for sampling

- Alcohol/chlorhexidine swab

- Unsterile gloves

- ABHR

Procedure

- Perform HH

- Apply gloves

- Open equipment

- Remove air from the syringe

- Turn RED tap OFF to the transducer

- Gently and slowly PULL back on the transducer volume syringe (0.5-1mL of fluid), this draws blood past the sampling port

- Turn the RED tap 180 degree OFF to baby

- Wipe the sampling port for 15 seconds with alcohol/chlorhexl wipe and allow 30 seconds to dry

- Press slip syringe into the sampling port; change the syringe if further sampling is required

- Remove syringe and wipe the port with alcohol/chlorhex swab

- Turn RED tap OFF to transducer

- PUSH volume syringe plunger down slowly returning the patient’s blood through the line continually observing the digits for perfusion

- Turn the RED tap 90 degrees to the transducer; Check BP is now being monitored

- Throughout the whole procedure, observe the digits distal to a PAL for colour changes

- Hold the syringe with blood sample upright and carefully expel all air bubbles – cap syringe

- Place the remaining blood in laboratory container and label with name, unit number, date and time of collection

- Perform HH

- Note if there is any difficulty in sampling from the line and inform the Medical Officer

- Recalibrate transducer

- Perform HH

- Note if blood pressure wave is optimal (optimal wave form found in Attachment 2).

## 1.7 - Removal Of PAL

Equipment

- Alcohol Based Hand Rub (AHBR)

- Barrier wipes

- Gloves

- Gauze squares

Procedure

- Perform HH

- Collect equipment

- Perform HH

- Position baby supine and swaddle for containment as necessary

- Turn the pump and BP alarm to off

- Remove the majority of strapping securing the line, using wipes to remove tape from the skin

- Wash hands and don gloves

- Remove cannula – apply pressure with gauze until bleeding stops (approximately 3 minutes)

- Perform HH

- Reposition baby according to developmental guidelines

- Document cannula removal.

Back to Table of Contents

# Section 2 – Central Line Bundle

## Background

Central Line Associated Blood Stream Infections (CLABSI) accounts for the majority of late onset sepsis in neonates and is a leading cause of mortality and morbidity in neonates.  CLABSI rates have been shown to reduce with the use of healthcare intervention “bundles”. A Central Line Bundle (CLB) is defined as the combination of small evidence-based practice changes, integrated into standard practice to improve patient outcomes. CLB was introduced in Canberra Hospital NICU in 2014. The components of the CLB protocols are as follows:

- Insertion and maintenance checklists. See attachment 1, 2 & 3

- Use of an exclusive central line trolley with consolidated items required for central line insertion

- Encourage nursing staff to enforce items in checklists and stop the procedure if sterility is breached

- Placing a ‘STOP’ sign outside patient rooms during procedures

- Maximal barrier precautions

- Ensuring two people are scrubbed during the procedure.

- Only senior MO’s are to insert central lines

Procedure

The CLB protocol is incorporated into the Percutaneous Intravenous Central Catheter, Umbilical Catheters, Central Venous Catheter/ Heparin Lock & Blood Sampling, and IV line change protocols. Please see respective sections for further information.

Back to Table of Contents

# Section 3 – Percutaneous Intravenous Central Catheter (PICC) Insertion

Alert

Only fellows and consultants are to insert PICC

lines.

Senior Registrars may insert PICC lines under the direct supervision of a Fellow or Consultant or solo after 6 months in NICU if deemed competent by the Supervisor.

Use only one limb per attempted insertion

If procedure takes more than 30 minutes, stop and call someone more experienced

Equipment

- Single (Premicath – 28G, ECC, Nutriline-24G) or double lumen  (Nutriline Twin flo-24G) Peripheral intravenous central catheter (PICC)

- Premi-Caths only to be used for babies <1kg, ECC or Nutriline catheters to be used for babies >1kg

- Dressing pack

- Skin preparation for the insertion site

- Chloraprep: BD Chloraprep with Tint (2% w/v chlorhexidine gluconate and 70% v/v Isopropyl alcohol)

- Steri-strips x 2

- Clear adhesive dressing

- Heparinised saline

- 5 mL syringe

- Drawing up needle

- Surgical cloth drapes x 3

- Duoderm

- Central line cart

- Gauze squares

- Sterile gown

- 3M Steri-strip 25mm x 125mm

- Sterile gloves

- Head cap

- Face mask

- ‘STOP – Sterile procedure’  sign

- Disposable central line insertion kit or

- Forceps  and fine suture set

Procedure

- Perform HH

- Administer sucrose or other pain relief ie. morphine as per Resident Medical Officer (RMO) commands

- Baby is positioned with ease of access for MO

- Maintain a sterile field throughout the procedure

- A stop sign is placed on the door to reduce movement during the procedure

- A third assistant is to check and tick off tasks on the Checklist for Insertion of PICC line  form (See Attachment 2)

- Ensure that an x-ray is ordered as per hospital procedure.

- Ensure that the Registrar pager/phone is handed to Nurse/Consultant

- For babies in isolettes, the RMO should ideally work through the portholes to avoid hypothermia of the baby.  This is essential in babies, whose cot temperature is >35.5°C.  If this is impossible, ensure warmed blankets are positioned on the baby

- Monitor cardio-respiratory and arterial oxygen saturations throughout procedure

- Perform HH

- Open sterile equipment onto sterile drape

- Pour skin prep into galley pot

- Position heat and light source so as to maintain the baby in a thermo-neutral environment and to provide optimal visibility to the operator

- Before commencement of the procedure, MO should measure the distance from planned insertion site to ideal tip position

- Identify site for insertion - recommended insertion sites include:

  - The arm, with the basilic vein being preferred because it flows with the most direct route toward the superior vena cava

  - The cephalic vein is also an option, although its more tortuous route follows the contours of the shoulder before flowing toward the superior vena cava

  - In the leg, the saphenous vein is the largest and most easily visualised

  - Best catheter placement is in the superior vena cava when inserted via the upper extremities

  - When inserted through the lower limb veins, the catheter tip should reside in the inferior vena cava

Alert

Insert catheter to estimated distance.  A little too far is better than not far enough, catheters can always be withdrawn but never inserted further.  Always ensure that blood can be freely and repeatedly withdrawn into the catheter (indicates positioning of catheter in large vein)

Always remove the guidewire from Premicath once line position is confirmed (see figure 1)

- PICC line kit collected and checked

- MAXIMAL BARRIER PRECAUTIONS: MO to wear hat and mask prior to scrubbing and donning gown and double gloves

- Full surgical hand scrub with antiseptic containing soap prior to insertion

- Catheter prepared and flushed prior to handling baby

- Two staff members present throughout insertion

- Limb cleaned up to axilla/groin with Chloraprep

- Site allowed to dry for minimum of 1 minute

- Outer gloves removed after cleansing

- Insert line to the measured distance

- Gauze swab pressed at insertion site until bleeding stops and then removed

- The MO is to use steri-strips to anchor line and apply clear adhesive dressing (Tegaderm) to insertion site.  Ensure that the connection between the catheter and the adapter is not kinked, this is a site of frequent breakage and can be avoided if it is taped straight.  All the exposed line should be covered by a clear adhesive dressing, a steri-strip to stick the cannula hub with the butterfly of the catheter, apply mefix to the edges of the clear adhesive dressing to avoid lifting

- Steri-strip 25mm x 125mm around edges of Tegaderm

- Avoid circumferential occlusion of the limb with the dressing

- See Figure 2 below

Figure 2: PICC line dressing

- Assist with x-ray (with injection of contrast, for PICC lines only, not for CVC) of the limb to check the position of the catheter

- 0.5 mL of contrast to be injected by the Registrar using sterile technique and as the last 0.1 mL is injected the x-ray should be taken.  Use a 1mL syringe.  Following the x-ray flush with 1mL of Sodium Chloride 0.9%

- Note line tip site and length of insertion

- Connect IV fluids immediately following insertion of line and run at 1 mL/hour until correct position is confirmed by X-ray.  Failure to connect and run fluids immediately after insertion may result in blockage of the catheter

- Bandage limb to maintain alignment if required

  - Use entire bandage (5cm x 1.5cm) covering whole area

  - Start bandage at distal end and work upwards to avoid dependent oedema

  - If bandaged remove bandage and observe site each shift

- X-ray must be repeated if line position is altered

- Document

  - Procedure on PICC Line insertion form, problem sheet and in the progress notes

  - Complete Checklist for Insertion of PICC line form. See Attachment 3

  - The length of the insertion and position on X-ray

- Dispose of used equipment according to OH&S guidelines

- Position baby according to developmental care guidelines

Back to Table of Contents

# Section 4 – Management And Removal Of Central Venous Catheters (incl. PICC)

Note:

For the insertion of central venous catheters such as jugular venous catheters, refer to the Central Venous Access Device (CVAD) Management – Children, Adolescents and Adults (NOT Neonates).

## 4.1 - Management Of CVC

It is important to consider the following in the management of CVC’s

- Baby’s safety and temperature has been maintained throughout the procedure

- Insertion has been attended using an aseptic technique

- Position has been verified by x-ray

- The position of the PICC/CVC and fluid maintenance has been documented

- Observation of the limb and fluid maintenance has been attended at the commencement of each shift

- Parents are awareof the insertion, management and removal of CVC

Procedure

- At commencement of each shift and after the replacement of the infusion fluid check:

  - Infusion prescription with another RN/RM

  - Catheter insertion site for signs of leakage, inflammation or dislodgement – document on flow chart

  - Catheter tip site, as documented and confirmed by x-ray, for signs of extravasation

- Check amount of fluid infused hourly and document on flow chart

- Attend dressing as necessary only (dressing dislodges, soiled etc.)

- Complete Daily Checklist for Central Line Maintenance. See Attachment 5.

Alert

Blood must not be infused via a PICC line but may be infused via a Central Venous Catheter (CVC).

PICC lines should not be accessed routinely for IV medications

A CVC may be used for the administration of medications and blood sampling with the exception of blood glucose levels when dextrose or TPN is being administered via the line

## 4.2 - Removal Of CVC

Removal occurs once the CVC is no longer required or there is suspicion of extravasation, thrombosis, thrombophlebitis or catheter related sepsis.

Equipment

- Trolley

- Dressing pack

- Sterile gloves

- Skin prep

- Adhesive remover

Procedure

- Attend hand hygiene before touching the patient by either hand washing or using Alcohol Based Hand Rub (ABHR)

- Collect equipment

- Open dressing pack, scissors, gloves and Stuart’s medium onto trolley

- Pour skin preparation solution into galley pot

- Position heat and light source to maintain the baby in a thermo-neutral environment and to provide optimal visibility to the operator

- Obtain assistance if required

- Use adhesive remover to lift dressing if required

- Remove clear dressing and peel away steri-strip – being careful not to damage the catheter

- Perform HH and apply sterile gloves

- Cleanse the area with skin prep and dry

- Using forceps gently withdraw the catheter using a gentle sustained traction holding the catheter close to insertion site – DO NOT STRETCH the catheter – check the tip on removal.

Alert

Seek medical advice if CVC is broken during removal or cannot be removed

- After successful removal of line apply firm pressure with dressing

- Position the baby into developmental position

- Discard equipment

- Perform HH

- Document procedure on flow chart, problem list and patient notes

Back to Table of Contents

# Section 5 – Central Venous Catheter (CVC) Heparin Lock & Blood Sampling

## 5.1 - Central Venous Catheter (CVC) Heparin Lock

Dose of Heparin for Locking CVC

The size of the patient and the volume of the CVC should be assessed on an individual basis prior to the heparin lock being inserted.  A positive pressure valve is not required but positive pressure should be maintained until the 3 way tap is turned off or the catheter is clamped.

| Time between access | ≤6 hours | 7-24 hours | >24 hours |
| --- | --- | --- | --- |
| Solution required | Sodium Chloride 0.9% flush | Short term heparin lock | Long term heparin lock |
| Concentration required | Sodium Chloride 0.9% | 50 Units(u) heparin in 5mL | 1000 units heparin in 10mL (100 units/1ml) DILUTION: Dilute 1mL heparin 1000 Units with 9mL Sodium Chloride 0.9% |
| Volume | 1.5 mL | 2 mL daily | 2 mL weekly |

Equipment

ABHR

- Sterile gloves

- Head cap

- Face mask

- ‘STOP – Sterile Procedure’ sign on the doors

- Sterile gown

- Sterile drapes

- Dressing pack

- 2x10mL syringe

- Drawing up needles

- Heparin 1000 units in 1mL

- Heparin 50units in 5mL

- Sodium Chloride 0.9% (NaCl 0.9%) 10mL ampoule

- Antiseptic solution, Chorhexidine/Alcohol 70% solution

Procedure

- CVCs will be flushed and/or heparin locked following use or on a weekly basis with prescribed dose of heparin as per above chart

- Place ‘STOP – sterile procedure’ sign outside door

- All individuals working within a 1 metre radius must don face mask and head cap (only for central lines)

- Position patient allowing easy access of CVC and patient comfort

- Perform HH

- Prepare aseptic field and open equipment

- Attend hand hygiene, don gown and gloves

- The assistant is to pour aseptic solution into tub on dressing tray

- Draw up heparin/saline solution as prescribed

- Clamp CVC over cuffed area

- Drape area with sterile towel

- Swab hub of catheter/access port with Chorhexidine/Alcohol 70% solution 3 times (allow to dry between each swab)

- Unclamp catheter

- Gently remove previous heparin lock from catheter

- Inject 0.5 mL of Sodium Chloride 0.9% to check patency

- Clamp the catheter

- Remove saline syringe and attach the heparin syringe

- Unclamp the catheter

- Inject the prescribed volume of heparin solution using positive pressure (i.e. continue to infuse solution as catheter is clamped)

- Disconnect the syringe

- Repeat the procedure as above if there is a double lumen

- Discard equipment and perform HH

- Document in the patient notes

Alert:

Remove the heparin lock before accessing the catheter to ensure heparin is not injected into the baby.

All clamping must be done on the cuffed area of the catheter

## 5.2 - Blood Sampling From CVC

Equipment

ABHR

- Sterile gloves

- Head cap

- Face mask

- ‘STOP – Sterile Procedure’ sign on the doors

- Sterile gown

- Sterile drapes

- Dressing pack

- 5ml syringe

- Drawing up needles

- Sodium Chloride 0.9% (NaCl 0.9%) 10mL ampoule

- Antiseptic solution, Chorhexidine/Alcohol 70% solution

Procedure

- CVCs should be accessed as infrequently as practical to reduce the risk of contamination

- Where CVCs are being accessed for blood sampling, blood collections should be timed to occur together when possible (e.g. once daily)

- Perform HH

- Open equipment

- Attend hand hygiene and don gloves/gown/hat and mask

- Remove heparin lock from CVC

- Withdraw 1mL of blood.

- Collect samples as required

- Re-infuse the discarded blood

- Flush catheter with 1-2 mL of Sodium Chloride 0.9%

- Lock CVC with Sodium Chloride 0.9% or heparin as per above chart if required

Back to Table of Contents

# Section 6 – Umbilical Venous And Arterial Catheters

Background

Umbilical arterial catheters (UACs) are used primarily for monitoring blood pressure and obtaining blood samples particularly blood gases. To maintain patency, a Sodium Chloride 0.9% solution is infused through the line. Drugs and other solutions are not infused into this line.

- Umbilical venous catheters (UVCs) are used for the infusion of fluids and administration of drugs.

Estimate The Position Of The Catheter Tip (Umbilical Arterial Catheter)

- Correct position is in the descending aorta above the origin of the mesenteric and renal arteries

- High position (most favourable) is between T6 – T10

- Low position is between L3 – L5

- The correct distance for insertion is calculated from the formula Birth weight (Kg) x 3 + 9cms (+ cord stump length)

- Length of cord stump must be added

- Baby’s legs, feet and buttocks should be carefully examined for colour and circulation prior to, and during procedure

Estimate The Position Of The Catheter Tip (Uvc)

- The correct distance for insertion is calculated from the formula Birth weight (Kg) x 1.5+6cms

The correct position is T8-T9 at the level of the diaphragm

## 6.1 - Insertion Of Umbilical Venous And Arterial Catheters

Equipment

- Neonatal vascular pack

- Skin cleansing lotion

- 1 x 3-way tap

- 1 x 5mL syringe

- 1 x drawing up needle

- 1 x Sodium Chloride 0.9% ampoule

- Umbilical catheter size 3.5 Fr or 5.0 Fr

- Disposable tape measure

- White cotton umbilical tape

- Suture B/B 4/0 silk

- Syringes for blood sampling

- Adhesive tape

- Catheter length chart (Procedure trolley)

- Infusion fluid 0.45% Saline 500mL + 500 units of Heparin added - labelled with red date, time, and signed by 2 RNs

- 2 x large green drapes + 1 x split drape

- Infusion pump

- Blood pressure transducer set + IV infusion set

- Extra gauze swabs

- Umbilical Pack – consolidates most equipment needed for insertion

- ‘STOP- sterile procedure’ sign

- Sterile gown

- Sterile gloves

- Head cap

- Face mask

Procedure

- Perform HH

- Collect equipment

- Place ‘STOP- sterile procedure’ sign on door

- X-ray ordered online

- Registrar pager/phone handed over to RN/RM/Consultant

- Don head cap and face mask for individuals within 1 metre from field

- Perform HH

- Open sterile packs and arrange on cleaned procedure trolley

- Position light source

- Perform HH

- Position the baby supine, restrain if necessary in a warm environment

Medical Officer

- Scrub, and don gown, mask and hat

- Connect primed 3-way tap to hub of umbilical catheter and flush with Heparinised Saline or Sodium Chloride 0.9% - Turn 3-way tap “off” to catheter - leave attached.

- RN /RM to hold cord clamp vertically, forceps may be used

- Clean surrounding skin with Chloraprep and allow to dry for 1 minute and then drape the area

- Tie umbilical tape around the base of the umbilicus

- Cut the cord 1 -1.5cms from the skin

- Dry the cut surface gently with a gauze swab and visualise the umbilical vessels

- The umbilical artery catheter is usually inserted first

- Gently dilate the artery with a fine forceps and insert primed catheter

- Advance the primed catheter with a gentle twisting motion to the desired length

- Check the catheter is in the artery by aspirating blood back into the syringe and observe for pulsation in the catheter

- Check legs, feet and buttocks for signs of impairment to circulation

- Clear the line with Heparinised Saline or Sodium Chloride 0.9%

- Turn 3-way tap “off” to baby

- Gently dilate the vein with a fine forceps and insert primed catheter

- Advance the primed catheter with a gentle twisting motion to desired length

- Check the catheter is in the vein by aspirating blood back into the syringe

- Clear the line with Heparinised Saline/ Sodium Chloride 0.9%

- Turn 3-way tap “off” to baby

- Leave primed syringe attached until ready to attach to IV

- Stabilise UAC and UVC with a purse string suture at the base of the umbilical stump - not through skin

- Commence infusion of fluids as soon as lines are inserted, however medications, particularly inotropes should not be commenced via UVC (unless urgent) until position has been confirmed by x-ray

- Confirm position of both catheters by portable chest x-ray. Both ?AP and lateral X-rays must be performed

- A supine lateral x-ray is performed i.e. baby on back with x-ray plate on baby’s side

- If the position of the catheter is altered at any stage, the lines must be x-rayed again

- Discard equipment according to WH&S guideline

- Complete Checklist for Insertion of Umbilical Line form. See Attachment 4.

- Catheters may be withdrawn to correct position as indicated by x-ray, but should the catheter need to be advanced further, a new sterile catheter should be used

- Connect arterial line to monitor via enclosed BP transducer to provide continuous BP and waveform monitoring

- Connect arterial and venous catheters to prescribed fluids and commenced at prescribed rate

- Apply “H” dressing as pictured below

- Settle the baby in a comfortable position

- Baby’s feet should not be covered with linen or booties, and nappies should be secured below the umbilicus

- Clean and dispose of equipment as per WH&S guidelines

- Perform HH

- Record the position of the UAC and UVC on the observation chart

- Record the procedure in patient notes

## 6.2 - Care of Umbilical Line

Procedure

- At the commencement of each shift check fluid orders for correct fluids, rate and position of catheters

- Record the infusion rate hourly

- Management of UVC second lumen: If the second lumen is accessed intermittently for medication administration and infusions, 10% Dextrose or Sodium Chloride 0.9% will be infused at 0.5ml/hour to keep the line patent. If the second lumen is not to be used at all, remove the filter and label the lumen indicating it won’t be accessed again.

- Monitor UAC hourly for

  - Slippage and haemorrhage

  - Disconnection of tubing or loose connections

  - Blanching, cyanosis and/or mottling

- If the above occurs notify MO – remove line quickly

- Apply warmth to the opposite limb

- Watch for indications of clot formation by noting:

  - A decrease in amplitude of pulse pressure on blood pressure tracing

  - Difficulty withdrawing blood samples

- Ensure blood pressure alarm limits are set and activated (includes systolic/diastolic and mean)

- Record the systolic, diastolic and mean hourly – observing and reporting changes in parameters

- Calibrate and zero pressure line once per shift and after sampling

- Change transducer every 4 days

- Change fluids and giving set daily

- Observe for signs of local infection

- Complete Daily Checklist for Central Line Maintenance see Attachment 5.

## 6.3 - Blood Pressure Calibration Of UAC

Procedure

- Perform HH

- Place transducer at the level of the babies heart

- Turn white tap off to patient

- Loosen orange cap

- Press zero on blood pressure module - wait for calibration to zero to take place

- Tighten orange cap

- Turn white tap off to orange cap

- Set pressure to optimum trace and observe for adequate amplitude of pulse pressure

- Set alarm limits and activate same

## 6.4 - Blood Sampling Of UAC

Equipment

- 1mL heparinised syringe

- Chlorhexidine 2% and 70% Alcohol prep swab

- Unsterile gloves

- Syringes and blood tubes for specimens

Procedure

  - Perform HH

  - Open equipment ensuring bevel of syringe remains sterile

  - Remove air from syringe

  - Turn RED tap OFF to transducer

  - Gently and slowly PULL back on volume syringe at least 1mL of fluid ensuring blood is drawn past the sampling port

  - Wipe sampling port with alcohol/chlorhex swab allowing to dry for 30 seconds

  - Insert sample syringe into sampling port

  - Take required specimens i.e. blood gas, full blood count and electrolytes

  - If taking blood for coagulation profile, this should be the last specimen taken to ensure it is heparin free

  - Remove extra 1-2 mL of blood

  - With a new syringe take a 1mL specimen for coagulation profile

  - Replace the 1-2 mL of blood withdrawn prior to the coagulation profile specimen

  - On final sampling

10.1 TURN and PULL syringe out of port

  - Wipe port with alcohol swab

  - Turn RED tap OFF to transducer

  - PUSH volume syringe plunger down slowly returning patient’s blood through the line continually observing digits for perfusion

  - Turn RED tap 90 degrees, line is now open to transducer and patient

  - Discard blood stained equipment into the sharps container

  - Perform HH

  - Throughout the whole procedure, observe the digits ensuring there is no colour change

  - Place remaining blood in laboratory container and label with name, unit, Medical Record Number (MRN), date and time of collection

  - Note if any difficulty in sampling from line and inform MO

  - Recalibrate transducer (see BP Calibration)

  - Note blood pressure wave is optimal (optimal wave form found in Attachment 2)

## 6.5 - Removal Of Umbilical Catheters (UVC & UAC)

Equipment

- Barrier wipes

- Sterile gloves

- Dressing pack

- Gauze squares

- Small sterile scissors and forceps

- Artery forceps (to be used if the line is accidentally cut)

Procedure

- Discontinue the infusion through the UAC or UVC at time of removal

- Perform HH

- Loosen tape leaving UAC/UVC secure

- If the baby is active, then assistance may be required to hold the baby

- Prepare dressing tray and sterile gloves

- Perform HH

- Cleanse the area with Sodium Chloride 0.9%

- Cut and remove sutures using small scissors

- Withdraw catheter slowly to 5 cm using a gauze swab to support the umbilicus

- For UAC, continue withdrawing catheter at 1 cm per minute

- For UVC, withdraw the remaining 5 cm over I minute

- Observe for bleeding

- Apply pressure below the umbilical stump if UAC in situ with gauze until bleeding stops

- If bleeding persists with UAC, apply a piece of Curospon to the umbilical stump. If bleeding continues despite application of Curospon, apply Surgiseal gauze. If there is persistent severe bleeding, suturing of the umbilical artery may be required

- Do not cover umbilicus following catheter removal

- Perform HH

- Settle baby and maintain supine position for 4 hours

- Document action with date and time in medical records

- Dispose of used equipment correctly

- Clean tray and restock

Back to Table of Contents

# Section 7 – Peripheral Intravenous Cannula (PIVC)

## 7.1 - Insertion of a peripheral IV Cannula

Alert:

Unless in an emergency situation a maximum of two attempts at Peripheral Intravenous Catheter (PIVC) insertion should be  undertaken. Following two failed attempts, consult a more experienced clinician. If a more experienced clinician has made two attempts, the clinician is to decide whether they continue attempting to insert the PIVC, or whether an alternate Intravenous (IV) access should be considered.

Equipment

Dressing trolley

Dressing pack/ Clear Dressing (Tegaderm IV)/ Extension set with needleless connection valve

IV cannula Size 24 GA

Note:

Department of Neonatology has two types of cannulas, BD Insyte Autoguard and BD Insyte. The BD Insyte Autoguard is the preferred and recommended cannula to be used, as it has additional safety mechanisms.

Syringes and drawing up needle

Sodium chloride 0.9% ampoule

70% alcohol and 2% chlorhexidine swab or Chloraprep

Arm board, tape brown and Elastoplast

Blood tubes +- blood culture bottles

Sterile gloves, Safety goggles or protective face shield

Sucrose/ EBM

Alcohol based hand rub (ABHR)

Procedure

      - Staff must consult the Medical Officer responsible for the patient’s care before insertion to ensure that a PIVC is required, alternatives should be considered.

      - When repeated or prolonged administration of chemical irritants, such as Dextrose >10% Peripherally Inserted Central Catheter (PICC) /Umbilical Venous Catheter (UVC) line access should be considered, to avoid peripheral vein damage.

      - The staff member must wash their hands or apply ABHR.

      - Explain the procedure to the parent/carer if available and obtain informed verbal consent if appropriate, as per Consent and Treatment Policy. In certain  situations consent can be implied for example when resiting an Iv canula.

      - Conduct Positive Patient Identification procedure as per Patient Identification and Procedure Matching Procedure (CHS20/058) .

      - Check for previous difficulties with cannulation and/or IV therapy. Choose a suitable vein- avoid the antecubital fossa and great saphenous vein as may be required for PICC use.  Use transilluminator for difficult access.

      - Wash hands or apply ABHR.

      - Clean trolley and gather procedure equipment and take to infant’s bedside (procedure area)

      - Wash hands or apply ABHR.

      - Position infant, supporting proposed area of insertion.

      - Apply tourniquet (Gauze or staff member), select vein then release tourniquet. Once the tourniquet has been successfully applied, never leave it on for more than one minute at a time. If you're having difficulty finding a vein, remove the tourniquet after one minute and try again on a different limb.

      - Select the most appropriate vein for insertion of the PIVC.

      - Wash hands or apply ABHR.

      - Open dressing pack aseptically and place additional sterile items onto field.  Observe sterility of packaging and use by dates.

      - Don protective eyewear.

      - Wash hand and don sterile gloves

      - Prime extension set with normal saline

      - Place sterile towel under the selected area and reapply tourniquet without contaminating gloves (or have assistant apply)

      - Clean insertion site and surrounding area, applying gentle friction in a circular motion, for 30 seconds using 70% alcohol with 2% chlorhexidine swab or Chloraprep (for blood cultures). Apply antiseptic to cover an area of approximately 3 x 3cm, allow the skin to air-dry for at least 30-60 seconds. Do not wipe, fan or blot dry the area. Do not re-palpate the vein after skin preparation.

      - Insert cannula ensuring vein is punctured. In premature infants you may not get flashback at the hub but may feel the cannula entering the vein. Advance plastic cannula and withdraw stylet.

      - Dispose of sharp immediately into sharps container

      - If the PIVC fails to enter vein or becomes contaminated do not reinsert or re-use. Do not attempt to reintroduce the stylet into the insitu PIVC. Remove entire device and commence again with a new PIVC.  If contaminated use a new dressing pack/sterile gloves.

      - Take any blood samples required using syringe and drawing up needle following the order of the draw.

      - Release tourniquet, attach extension set and flush cannula with 0.9% Sodium Chloride to confirm placement.

      - Remove any blood spills near the insertion site with sterile gauze before strapping.

      - Without touching the insertion site secure the cannula with the stabilisation strips (Figure 1) and clear dressing covering the hub of the cannula (figure 2).  Cut the end of dressing near teddies if needed.  The insertion site should always remain visible.  Apply an arm board with Elastoplast (not completely circumnavigating the limb- Figure 3).

Figure 1						Figure 2

Figure 3

      - Remove Gloves and perform Hand hygiene

      - As soon as possible after the insertion of the PIVC, document in the infant’s clinical records with using canula insertion sticker and nursing care plan, the date, time, site and size of cannula

      - Ensure the extension tubing attached to the cannula is secure to minimise the risk of the cannula being accidentally dislodged.

## 7.2 - Flushing Of The IV Cannula

Equipment

- Chorhexidine 2% and 70% Alcohol prep swab

- Sterile Sodium Chloride 0.9% or Posiflush

- 2.5 mL Luer Lock syringe

- Drawing up needle

Procedure

- Perform HH

- Observe the site for signs of swelling or redness, disconnection of tubing or loose connection, blanching, or mottling

- Insert syringe gently into bung

- Slowly inject the Sodium Chloride 0.9% into the IV Cannula (at least 0.5 mL) and continue to observe the site for any swelling, redness or blanching

- Perform HH

- Document in baby’s progress notes and medication chart

- Dispose of used equipment as per WH&S guidelines when procedure is completed

- Check the baby is settled and the IV cannula is securely taped and positioned.

## 7.3 - Removal Of PIVC

Equipment

- Clean trolley

- Dressing pack

- Gloves

- Gauze squares

Procedure

- Confirm with Medical Officer (MO) the cannula is for removal

- Perform HH

- Collect equipment

- Attend hand hygiene before touching the patient by either hand washing or using ABHR

- Set up equipment as aseptic procedure

- Position baby supine and restrain as necessary

- Carefully remove majority of strapping securing line

- Wash hands and apply gloves

- Clean site

- Remove cannula - apply pressure with gauze until bleeding stops

- Reposition and make baby comfortable

- Dispose of equipment in appropriate receptacles

- Perform HH

- Document cannula removal.

Back to Table of Contents

# Section 8: Intravenous Line Changes (Total Parenteral Nutrition and Lipids with Drug Infusions)

Background

Total parenteral nutrition (TPN) is the supplementation of enteral nutrition with an intravenous solution containing all the nutritional requirements to achieve optimal growth and development for neonates admitted in the NICU and SCN. The purpose of this procedure is to optimise the sterile field and to prevent the risk of Central Line-Associated Bloodstream Infections (CLABSI) in relation to TPN and Lipid Line Changes.

Note:

- An inline filter is used to protect babies from infection by removing particulate contamination, precipitates, bacteria, fungi, and toxins.

- The prescription TPN will be changed daily or according to the baby’s electrolyte results.

- The premixed TPN and lipids will be changed every second day.

- For babies < 32 weeks gestation, TPN and lipids are to be commenced on day 1.

- For babies > 32 weeks gestation, commence 10% Dextrose +/- feeds in the first 24hrs. Ongoing TPN and lipid requirements will be dictated by the patient’s condition.

Equipment

- TPN order chart

- IV fluid orders chart

- Sterile drape

- Dressing Pack

- Chlorhexidine /Alcohol solution

- Giving sets and 3 way taps

- Sodium Chloride 0.9%

- 2 mL syringes

- TPN solution and lipid solution (as ordered)

- Inline TPN and lipid filters

- Sterile gown and gloves

- Head cap and face mask (for central lines)

Procedure

- For peripheral lines-solution checked by 2 nurses and lines changed every 48 hours

- Assess insertion site for signs of infection and dressing integrity

- With a 2nd Registered Midwife/Nurse (RM/RN) check:

  - Baby’s identification

  - The TPN order against the MO’s prescription

  - The correct date and time for administration

  - Any changes in fluid volume, including lipids must be checked by 2 Registered Nurses (RN)

- Place ‘STOP – sterile procedure’ sign outside door

- All individuals working within a 1 metre radius must don face mask and head cap (only for central lines)

- Perform HH

- Prepare the aseptic field

- Done sterile gown and gloves

- Perform hand scrub

- Obtain assistance of a 2nd nurse for the line change

- Check there is a 3-way tap proximal to the catheter site that is left in situ and not changed

- Prime all main intravenous lines, attach filter and prime ensuring no air bubbles

- Separately prime lipid line, lipid filter and a 3 way tap

- Attach lipid infusion and the 3 way tap distal to main line filter (closest to the baby)

- Turn the 3-way tap closest to the baby off

- Open side door of isolette and provide a sterile field beneath the site for reconnection of new line.

- Thoroughly clean the reconnection site with alcohol/chlorhex swab and allow to dry

- Disconnect the existing line

- Connect the newly primed lines

- Check all taps are secure

- Change lines to the correct infusion pumps and check solution and rates with 2 RNs.

- Open all taps to the infusion and baby

- Position baby according to developmental guidelines

- Label and date infusion lines and filters

- Dispose of all used equipment as per WH&S guidelines

- Perform HH

- Document and sign IV sheets

- Fill out Daily Checklist for Central Line Maintenance. See Attachment 5.

Back to Table of Contents

# Section 9 – Inotrope Infusion & Clearance

## 9.1 - Inotrope Infusion

The aim of inotrope therapy is to improve tissue blood flow and circulating blood pressure. Inotropes that can be used in infants include dopamine, dobutamine, adrenaline, noradrenalin, milrinone and isoprenaline.

Equipment

- ABHR

- Prepared inotrope infusion or medication to be prepared

- Infusion Pump

- Central venous access

- Sterile field

- Fluid order sheet

- Syringes 1ml + 50ml/30ml

- 1 filter needle

- 1 drawing up needle

- 1 additive label

- 1 IV syringe giving set (IV pump)

- 1 extension set (syringe driver)

- 1 micro filter

- 1 syringe driver

- Cardiorespiratory monitoring

- Head cap

- Face mask

- Sterile gloves

Procedure

- Perform HH

- Collect equipment

- All inotropes should be ordered by the Registrar/Neonatologist on the IV fluid order and prepared as per unit drug protocol

- Infusions should be reordered and changed every 24 hours

- Infusions should be given via central or Percutaneous Intravenous Central Catheter (PICC) line as they can cause extensive tissue sloughing if extravasation occurs (infusion may commence in a peripheral line until the blood pressure improves to facilitate insertion of a central line and should be changed to the central line as soon as access is available)

- Ensure compliance with Central Line Bundle protocol when preparing and administering inotropes

- Central line infusions should be changed daily with a 2nd RN check: the baby’s identification, the infusion order and MO’s signature, infusion label and expiry date and the dose, baby’s weight and rate on the infusion pump.

- Check that the prescription is correct according to the unit drug policy

  - Date and time for commencement of infusion

  - Dosage and rate of infusion on the infusion pump

- When changing infusions they should be primed and running at the required rate prior to attachment as it reduces the risk of high/low levels of inotrope being infused

- Inotropes should be given in a separate line and the line should never be flushed – if this is not possible compatibilities with other fluids must be considered- refer to the Department of Neonatology drug manual

- Monitor vital signs continuously-blood pressure, heart rate, respiratory rate and O2 saturations

- To decrease the potential harms of inotrope therapy, strategies such as minimal handling and decreased light and noise must be employed

- Inotropes are weaned at the discretion of the Consultant Neonatologist/Fellow in relation to the patients’ condition and their individual tolerance

## 9.2 - Inotrope Clearance

#### Alert

Inotropes are powerful catecholamines affecting cardiac output and heart rate. Both heart rate and blood pressure can be affected at very low infusion volumes. Great care must be exercised when starting, changing or flushing an infusion.

Equipment

- Prepared inotrope infusion

- Infusion Pump

- Fluid order

## Procedure

- Confirm with the MO that the infusion is no longer required

- Obtain a written order from the MO for a Sodium Chloride 0.9% flush

- Perform HH

- Obtain assistance to check and prepare the Sodium Chloride 0.9% flush

- Ensure compliance with Central Line Bundle protocol when accessing central line

- Swab IV line connection port with alcohol and allow to dry

- Disconnect inotrope infusion, connect the Sodium Chloride 0.9% flush and place in syringe driver

- Commence the flush at half the terminal rate of the inotrope infusion and infuse at least twice the displacement volume of the lumen (minimum of 0.5ml infused in total)

- Perform HH

- Closely monitor the blood pressure and heart rate throughout the flush

- Immediately stop the flush if any adverse reactions such as hypertension or tachycardia are noticed and seek the advice of the MO

- At the completion of the flush remove the extension set and dispose of appropriately

- Record the procedure in the progress notes

Back to Table of Contents

# Section 10 – Narcotic Infusion & Weaning

## 10.1 - Narcotic Infusion

Equipment

- Fluid order sheet

- Required medication

- Syringes 1ml + 50ml/30ml

- 1 filter needle

- 1 drawing up needle

- 1 additive label

- 1 micro filter

- 1 syringe driver

- Cardiorespiratory monitoring

Procedure

- Calculate correct drug dosage

- Check drug order with a second RN for correct patient, date, drug, dosage and route

- Surgical scrub (don gown, hat, mask and glove) if being administered by UVC or PICC line

- Draw up required narcotic from ampoule into syringe using a filter needle and check with a second RN

- Draw up diluting fluid as ordered into 50ml syringe/30ml syringe

- Add prescribed amount of narcotic into the 50ml syringe/30ml syringe with drawing up needle

- Both RN’s check and sign additive label and adhere to syringe

- Prime the giving set with narcotic solution, removing all air from the line

- Connect to patient’s intravascular connection

- Connect line to pump or syringe driver

- Set the correct dose/rate

- The 2nd RN is to check the rate and commence the infusion using the drug library

- Ensure the  IV is patent and infusing correctly

- Both RN’s are to sign the fluid order form

- Check respiratory status is monitored continually

- Dispose of equipment as per WH&S guidelines

## 10.2 - Narcotic Weaning

Weaning a continuous narcotic infusion aims to prevent symptoms of opioid withdrawal known as Neonatal Abstinence Syndrome (NAS). The prevalence of NAS is greater in infants who have received fentanyl as opposed to morphine. Similarly, infants who receive higher total doses or longer duration of opoid infusion are significantly more likely to experience NAS. All infants who have received a continuous morphine infusion for 6 days or a fentanyl infusion for 4 days must be weaned from the infusion gradually according to their individual tolerance.

- Maintain constant observation

- Wean 0.1ml hourly or as tolerated

- Withdrawal symptoms include

  - Neurologic excitability

  - Gastrointestinal dysfunction

  - Other signs such as poor weight gain

- If the withdrawal is prolonged the Neonatal Abstinence Syndrome scale (Finnegan’s) may guide the rate of opioid withdrawal

Back to Table of Contents

# Section 11 – Venous Extravasation Injury

Epidemiology:

Venous extravasation is reported to occur in up to 70% of newborns treated in neonatal units, although is Extravasation Injury is less common. The rate of IV-line extravasation injury (EI) varies among NICUs. A 1985 [4] study of 100 NICU survivors 16–29 months following discharge identified 61% as having scars consistent with an EI. A more recent study from the United Kingdom found that 38/1000 neonates undergoing neonatal intensive care have extravasation injuries.

Definitions:

- Extravasation injuries - are caused by unintended leakages of fluids or medications from IV lines in which a fluid deviates from its planned pathway.

- Irritant agents – have the potential to cause pain, aching, tightness, and phlebitis in the vein or surrounding tissues. Can have an associated inflammatory response, with or without erythema at the site.

- Vesicant agents – fluids capable of causing tissue damage after leakage into the tissues and may cause progressive damage over time. Peripheral extravasation leads to pain, erythema, soft tissues damage, with or without necrosis. Centrally may cause inflammation, damage to surrounding tissues, erythema, tissue damage with or without necrosis.

Possible consequences:

- Pain, infection, and ulceration to site of injury

- Scarring to anatomical structures, Tendons, nerves, joints and soft tissue

- Contractures of limbs

- Amputation of digits or limbs

Key Risk factors:

Any infant with intravenous access

Increasing prematurity. Those <27weeks are at the greatest risk

Continuous infusions or frequent cannulations

The site of cannulation

- Dorsum of the hand

- Antecubital fossa

- Near or across joints

- Scalp

Prevention strategies:

The best evidence shows that prevention of extravasation injury is the best practise. The following steps will minimise the potential for injury.

Antecubital veins should not be used for hazardous and/or vesicant solutions

If a peripheral cannula is used to infuse vesicant the cannula should not be >24hrs old

Vesicant agents should only be administered by accredited nursing or medical staff

Ensure vascular access is patent prior to administration of any fluid with a flush peripherally and ensure flashback centrally.

Clinician administering medication should have knowledge of:

- Access device and infusion pump

- Drug or infusion to be administered

- The risk of infusing fluids or drugs in high volume or high rates

If prolonged intravenous access will be required, then early insertion of a central line should be considered

Follow all the medication guidelines as outlined in the NeoMed folders (found by the bedsides)

When taping a vascular access, the insertion site must always be visible

Perform hourly visual checks of the venous access site.

Regular 6 hourly flushing of capped peripheral intravenous cannula

Recognise signs of extravasation injury (see below)

Cease infusion or administration of infusion if there is difficulty flushing, apparent pain or swelling

Document with all infusions – grade of venous access site, skin integrity, infusion pump pressures, fluids/drugs infused, and the volume infused

In the case of extravasation and observation of injury, document all neurovascular observations in Neurvascular Observation Chart. See Attachment 6.

It is essential to recongize the signs of extravasation, to provide first aid, then to grade the type of injury in the management of an extravasation injury

Recognition and grading of extravasation injury:

Blanched skin that may be cool to touch

Pressure, swelling or tightness

Discomfort, pain, or tenderness

Insertion site oedema

Alteration of the IV flow

Leakage of infused fluid at the insertion site

First Aid and Management Plan:

- Follow first aid and management plan in relation to grade of injury

- Refer to Pain Management section on Neonatal Routine Care policy for non-pharmacological and pharmacological pain relief strategies

- For Grade 3-4 Injuries and where photographic evidence is required, use the Consent for Photographs, Videos, or Voice Recordings form.

Assessment and First Aid Management Guideline (Grading of injury: Grade is based on the worst sign)

| Grade | Assessment | First aid and management plan |
| --- | --- | --- |
| Grade 1 | - Difficulty flushing cannula, may have leakage at site - Minimal swelling, less than 2cm from site of insertion OR only 1 joint involved - Pain at infusion site - Nil redness, capillary refill distal to the injury, Distal pulses normal | - Stop infusion and contact neonatal registrar and inform the team leader - Assess if access device should be removed - Remove cannula and tapes - Elevate limb - Arrange for new intravenous access if necessary - Inform parents and carers - Document the incident and complete a RISKMAN report - Hourly observations for 12hrs of the site |
| Grade 2 | - Difficulty/inability to flush cannula and may have leakage at the site - MODERATE swelling, greater than 2cm from site or two joints involved - Pain at infusion site - Skin integrity intact, minimal redness - Slightly prolonged distal capillary refill time, 2-3 seconds | - Stop the infusion and contact neonatal registrar and inform the team leader - Do not remove the line immediately. - Consult tissue viability team for further management and treatment advice - Assess for pain and give adequate analgesia - Elevate the limb - Document the incident and complete a RISKMAN report - Inform parents and carers - 15min observations for 2hours then hourly observations of site until clinically indicated |
| Grade 3 | - Difficulty/inability to flush cannula - Moderate swelling above and/or below the site - Pain at infusion site - Skin blanching +/- redness at the site - Sluggish capillary refill time, greater than 4 second capillary return below the site. | • Stop infusion, contact neonatal registrar and inform the team leader - Arrange urgent medical review - Tissue viability team review • Do not remove the line immediately. • Give appropriate pain relief • Consider infiltration of the injury site (see below). • Inform parents and carers - Written consent required for any photographs taken - Document the incident and complete a RISKMAN report - 15min observations for 2hours then hourly observations of site until clinically indicated |
| Grade 4 | - Difficulty/inability to flush cannula - Severe swelling above and/or below the site - Skin blanching redness and/or discolouration which may be purple or black, - +/- Arterial occlusion - +/- Blister - Pain at infusion site may be absent due to reduced sensation - Skin temperature is cool or cold to touch - Weak or absent palpable pulses on affected limb, | • Stop infusion, contact neonatal registrar and inform the team leader - Arrange urgent medical review - Tissue viability team review • Leave cannula insitu until reviewed by a doctor (treating team) •Give appropriate pain relief • Consider infiltration of the injury site (see below). - Inform parents and carers - Written consent required for any photographs taken • Document the incident and complete a RISKMAN report • 15min observations for 2hours then hourly observations of site until clinically indicated |

## 11.1 Infiltration of severe injuries:

The evidence for infiltration of severe injury in NICU is not conclusive. The decision will sit with the Neonatologist on service.

Below is suggestion for chemicals that could be used for infiltration:

Phentolamine

Hyaluronidase 1500 IU vials

Further information if required regarding recommended advice for infiltration for specific medications can be found in the SCHN iv extravasation management practice guidelines.

Hyaluronidase

Hyaluronidase is an enzyme that temporarily decreases the viscosity of hyaluronic acid, the ground substance or intracellular cement of the tissues. This facilitates absorption and dilution in tissue fluids.

Optimum use is within the hour but can be effective if used within the 1st 24hrs

Follow instructions as per NEOMED guidelines

Suggested directions

- Without normal saline irrigation

- Stop infusion and leave cannula in-situ

- Try to aspirate cannula

- Administer 1mL of hyaluronidase (15IU/mL) through existing cannula and/or

- Inject a total of 5 lots of 0.2 mL aliquots of hyaluronidase (at concentration of 300IU/mL) into the periphery of the injury

- With normal saline irrigation

- Under aseptic technique, the discoloured area and surrounding skin are cleaned and infiltrated with local anaesthetic

- Administer 1mL of hyaluronidase (15IU/mL) through the existing intravenous cannula

- Inject around and through the extravasation injury a total of 5 lots of 0.2mL aliquots of hyaluronidase (1000IU/mL)

- Make 4 small punctures using a 19G needle around the edge of the injury

- Irrigate with normal saline through these punctures with a 19G needle. The limb may become swollen but the saline should be massaged out gently through the holes with gentle manipulation. Volume of irrigation ranges from 20mL to 500mL

- After irrigation leave puncture wounds open and apply an atraumatic wound dressing.

Phentolamine

Use for extravasation injuries due to dopamine or other vasoconstricting agents.

Best to used within 12hrs of infiltration injury.

Suggested direction of use (Currently not in NEOMED guidelines)

  - Phentolamine is injected into the IV cannula and or subcutaneously encircling the infiltrated site with 4-5 injection sites

  - A total of 1mL/kg or a 1mg/mL solution is injected

Potential side effects

  - Hypotension

## 11.2 -  Irrigation

Procedure

- Administer analgesia and wait 10 minutes before commending procedure

- Perform HH

- Do not rupture formed blisters during the procedure

- Clean the affected limb with antiseptic solution

- Infiltrate the affected area in four quadrants with subcutaneous 1% lignocaine (max 0.15mL/kg)

- Hyaluronidase irrigation (followed by Saline 0.9% irrigation): Inject around and through the extravasation injury a total of 5

- lots of 0.2mL aliquots of hyaluronidase 1000units/mL

- Saline Irrigation: Irrigate the area using the four puncture marks already made from the hyaluronidase using 0.9% saline in 10-

- 20mL aliquots

- If the cannula is still insitu, infiltrate 3-5mL 0.9% saline and then remove the cannula

- Massage out any oedema that develops in the direction of the puncture marks

- If the extravasation fluid includes lipid, irrigate the area until the effluent runs clear

- Large areas of extravasation may require additional infiltration of local anaesthetic during the procedure

- Once complete Apply a non-occlusive dressing to the area as advised by the treating medical team or plastics team

- Elevate the affected limb

- Do not apply hot or cold packs to the affected limb

- Administer antibiotics if signs of infection occur

- Nursing staff to continue to observe the site hourly for the first 24 hours to monitor for adverse effects

- Medical staff should review the site 1-2 hours post irrigation procedure to assess effectiveness. This should then be reviewed again in 24hours by medical staff.

Back to Table of Contents

# Evaluation

Outcome

Reduction in clinical incidences (as reported in RiskMan) particularly venous extravasation related to venous and arterial access, devices, and management

Provide staff with direct information on clinical procedures related to venous and arterial access and management

Measures

Track incident data via RiskMan in relation to venous and arterial access, devices, and management specifically extravasations.

Monitor patient database (NICUS database) for central line associated blood stream infection (CLABSI) for quality and safety

Back to Table of Contents

# Related Policies, Procedures, Guidelines and Legislation

Policies

- Health Directorate Nursing and Midwifery Continuing Competence Policy

- Patient identification and procedure matching

- IV Extravasation Management Practice Guideline (infants, children and adolescents)

- Informed Consent (Clinical)

Manuals

Neonatal Intensive Care Drug Manual

Procedures

- Infection Prevention and Control -  Healthcare Associated Infections Clinical Procedure

- Patient Identification and Procedure Matching Procedure\

- Central Venous Access Device (CVAD) Management – Children, Adolescents and Adults (NOT Neonates)

Guidelines

Developmental Care in the Neonatal Intensive Care and Special Care Nursery

Neonatal Routine Care

Legislation

- Health Records (Privacy and Access) Act 1997

- Human Rights Act 2004

- Work Health and Safety Act 2011

Forms

- Consent for Photographs, Videos, or Voice Recordings

- Daily Checklist for Central Line Maintenance

- Checklist for Insertion of PICC

- Checklist for Insertion of Umbilical Line(s)

- Neonatal arterial line hourly observation chart

- Neurovascular observations chart

Back to Table of Contents

# References

- Cloherty, J., Eicherwald, E.C. & Stark, A.R. (2008). Manual of Neonatal Intensive Care. 6th Ed Philadelphia Lippincott, Williams & Wilkins.

- Verklan, M.T. & Waldren, M  (2010) Core Curriculum for Neonatal Intensive Care Nursing 4th Ed St Louis, Saunder

- Barrington, K.J. (2003).  Umbilical artery catheters in the newborn: effects of heparin.  The Cochrane Library.

- Barrington, K.J. (2003).  Umbilical artery catheters in the newborn: effects of position of the catheter tip.  The Cochrane Library.

- Bredemeyer, S. ( 2001).  Management of arterial lines. Department of Neonatal Handbook.  Royal Prince Alfred Hospital.

- Klaus, M.H. & Fanaroff, A.A.  (2001). Care of the High- Risk Baby. (5th ed). Philadelphia  :W.B.Saunders Company.

- MacDonald, M.G. & Ramasethu, J. (2002).  Atlas of Procedures in Neonatology.  (3rd ed). Philadelphia :  Lippincott Williams & Wilkins.

- Ainsworth SB. Clerihew L. McGuire W. Percutaneous central venous catheters versus peripheral cannulae for delivery of parenteral nutrition in babys. The Cochrane Library. 2006;(1):1-14

- Osborn, D (2005) Treatment of preterm transitional circulatory compromise. Early Human Development 81:413-422.

- Paradisis, M., Jiang, X., McLauchlan, A., Evans, N., Kluckow, M. & Osborn, D. (2006)  Population pharmokinetics and dosing regimen design in preterm babys. Archives of Diseases in Childhood Fetal and Neonatal Edition Published online 11 May 2006 doi:10.1136/adc2005.092817

- Arino, M., Barrington, J.P., Morrison, A.L. & Gillies, D. (2004) Management of the changeover of inotrope infusions in children. Intensive Critical Care 20(5)275-280

- Taeusch H.W. et al. (2012) Avery’s Diseases of the Newborn 9th Edition, Elsevier Saunders Philadelphia

- Lemons, A, Blackmon, L.R, Kanto, W.P., et al. (2000) Prevention and management of pain and stress in the baby. Pediatrics  70(2) 454-461

- Anand, K.J.S., WhitHall, R., Desai, N., et al (2004) Effects of Morphine Analgesia in Ventilated Preterm Babys: Primary outcomes from the NEOPAIN randomised trial. The Lancet 363(5) 1673-82

- Simons, S.H.P., Van Dijk, M., Van Lingen, R.A., et al. (2003) Routine Morphine Infusion in Preterm Newborns Who Received Ventilatory Support. JAMA 290(18) 2419-2427

- Gardner, S., Hagedorn, M. & Dickey, L. (2006) Pain and Pain Relief In Merenstein, G. & Gardner, S. Handbook of Neonatal Care Mosby, St Louis.

- Dominguez, Lomako, &Katz (2003) Withdrawal from Lorazepam in Critically Ill Children. “The Annuals of Pharmacotherapy” 40(6)1035-1039

- Sadat U, Hayes PD, Varty K. Acute Limb Ischemia in Pediatric Population Secondary to Peripheral Vascular Cannulation: Literature Review and Recommendations. Vasc Endovascular Surg. 2015;49(5-6):142-7.

- Bhat R, Kumar R, Kwon S, Murthy K, Liem RI. Risk Factors for Neonatal Venous and Arterial Thromboembolism in the Neonatal Intensive Care Unit-A Case Control Study. J Pediatr. 2018;195:28-32.

- Schindler E, Kowald B, Suess H, Niehaus-Borquez B, Tausch B, Brecher A. Catheterization of the radial or brachial artery in neonates and infants. Paediatr Anaesth. 2005;15(8):677-82.

- Kahler AC, Mirza F. Alternative arterial catheterization site using the ulnar artery in critically ill pediatric patients. Pediatr Crit Care Med. 2002;3(4):370-4.

- Monagle P, Chan AKC, Goldenberg NA, Ichord RN, Journeycake JM, Nowak-Gottl U, et al. Antithrombotic therapy in neonates and children: Antithrombotic Therapy and Prevention of Thrombosis, 9th ed: American College of Chest Physicians Evidence-Based Clinical Practice Guidelines. Chest. 2012;141(2 Suppl):e737S-e801S.

- Mosalli R, Elbaz M, Paes B. Topical Nitroglycerine for Neonatal Arterial Associated Peripheral Ischemia following Cannulation: A Case Report and Comprehensive Literature Review. Case Rep Pediatr. 2013;2013:608516.

- Bontadelli J, Moeller A, Schmugge M, Schraner T, Kretschmar O, Bauersfeld U, et al. Enoxaparin therapy for arterial thrombosis in infants with congenital heart disease. Intensive Care Med. 2007;33(11):1978-84.

- Goldsmith R, Chan AK, Paes BA, Bhatt MD, Thrombosis, Hemostasis in Newborns G. Feasibility and safety of enoxaparin whole milligram dosing in premature and term neonates. J Perinatol. 2015;35(10):852-4.

- Wilkins C, Emmerson A. Extravasation injuries on regional neonatal units. Arch Dis Child Fetal Neonatal Ed 2004, 89(3):F274–F275.

- Irving V. Managing extravasation injuries in preterm neonates. Nursing Times 2001; 97:40, 43–46.

- Phelps SJ, Helms RA. Risk factors affecting infiltration of peripheral venous lines in infants. J Pediatr 1987; 111:384–389.

- Fonzo-Christe C, Parron A, Combescure C, Rimensberger PC, Pfister RE, Bonnabry P. Younger age and in situ duration of peripheral intravenous catheters were risk factors for extravasation in a retrospective paediatric study. Acta Paediatr. 2018;107(7):1240–6.

- Wilkins CE, Emmerson AJ. Extravasation injuries on regional neonatal units. Arch Dis Child Fetal Neonatal Ed. 2004;89(3): F274–5.

- Millan D: Managing complications of IV therapy. Nursing 1988, 18(3):34–43

- Restieaux et al. BMC Pediatrics 2013, 13:34 http://www.biomedcentral.com/1471-2431/13/34

- Coombs C, Richardson P, Dowling G, Johnstone B, Monagle P. Brachial Artery Thrombosis in Infants: An Algorithm for Limb Salvage. Plastic and Reconstructive Surgery. 2006;117(5):1481-1488.

Back to Table of Contents

# Search Terms

Central Venous Catheter, Heparin Lock, Intravenous Cannula, Neonatal Intensive Care, Maternity, Baby, newborn, baby, Umbilical Lines, Umbilical Arterial Catheter, Umbilical Venous Catheter, Vascular Access Devices, Narcotic, Infusion, Extravasation, Injury, Infiltration, neonatal

Back to Table of Contents

# Attachments

Attachment 1 – Management of Peripheral Arterial Lines

Attachment 2 – Neonatal Arterial Line Hourly Observation Chart

Attachment 3 – Checklist For Insertion of PICC Line

Attachment 4 – Checklist For Insertion of Umbilical Line

Attachment 5 – Daily Checklist for Central Line Management

Attachment 6 – Neurovascular Observations Chart

Back to Table of Contents

Disclaimer: This document has been developed by Canberra Health Services specifically for its own use.  Use of this document and any reliance on the information contained therein by any third party is at his or her own risk and Canberra Health Services assumes no responsibility whatsoever.

Policy Team ONLY to complete the following:

| Date Amended | Section Amended | Divisional Approval | Final Approval |
| --- | --- | --- | --- |
| 12 May 2021 | Complete Review | Boom Lim, ED, WYC | CHS Policy Committee |

This document supersedes the following:

| Document Number | Document Name |
| --- | --- |
| CHHS18/077 | Venous & Arterial Access & Management in Neonatal Intensive Care |

## Attachment 1 - Management Of Peripheral Arterial Lines

## Attachment 2 – Neonatal Arterial Line Hourly Observation Chart

## Attachment 3 - Checklist For Insertion Of PICC Line

## Attachment 4 - Checklist For Insertion Of Umbilical Line

## Attachment 5 -  Daily Checklist For Central Line Management

## Attachment 6 – Neurovascular Observations Chart