# Procedure | Canberra Health Services

## Bowel Assessment and Management (Adults and Children)

CHS25/168

Contents

Purpose	2

Scope	2

Section 1 – Bowel Assessment and Management	2

Section 2 – Constipation	3

Section 3 – Functional Diarrhoea	5

Section 4 – Administration of rectal suppository	6

Section 5 – Administration of enema - Adults	7

Section 6 – Bowel washout - Adults	8

Section 7 – Flatus tube insertion - Adults	10

Section 8 – Manual evacuation of faeces	11

Section 9 – Bowel management for patients in the community	13

Section 10 – Stool Management System – Intensive Care Unit	14

Section 11 – Bowel assessment and management for palliative or end of life care	19

Evaluation	21

Related policies, procedures, guidelines and legislation	21

References	22

Definition of terms	24

Search terms	24

Attachments	24

Attachment 1 – Bristol Stool Chart	26

Attachment 2 – Stool Management System troubleshooting guide	27

#### Purpose

The purpose of this procedure is to provide clinicians with information on the safe and effective bowel management of patients in the hospital and in the community setting.

Back to Contents

#### Scope

This document applies to adults and children under the care of Canberra Health Services (CHS) Network, both in hospital and in the community setting.

This document applies to the following CHS Network staff working within their scope of practice:

Medical Officers

Nurses and Midwives

Allied Health Clinicians

Students under direct supervision

Assistants in Nursing.

This procedure covers aspects of care pertaining to both constipation and functional diarrhoea.

Back to Contents

#### Section 1 – Bowel Assessment and Management

Bowel assessment in the acute or the community setting may include:

patient history and contributing factors to bowel dysfunction

physical examinations - abdominal and rectal

bowel record chart (for 14-28 days).

- Bowel assessment tools can be found on the Clinical Record Forms Register including:

Paediatric Bowel Assessment (36065)

Continence Assessment (35724)

Bowel diary (children’s diary available on Continence Health Australia [formerly the Continence Foundation of Australia] website www.continence.org.au)

- Bowel management is multidimensional and requires a multidisciplinary approach.

Consider referral (which includes current bowel management plan) to:

a dietitian – for patients who have poor nutritional status, sudden changes in bowel function or chronic constipation

a musculoskeletal physiotherapist – for patients with changes in activity or mobility levels

an occupational therapist – for patients with altered activity levels, requiring equipment to access the bathroom safely or maintain safety in the home. This can include pressure relieving devices.

a General Practitioner (GP) – for patients in the community

the Community Care Program (CCP) Continence Service – for patients with constipation, faecal incontinence and other bowel issues. The Continence Clinical Nurse Consultant can see patients 16 years of age or older, while the Pelvic Health Physiotherapist can assess both adults and children. Refer through Central Health Intake (CHI) via the Digital Health Record (DHR). A referral from CCP to a Medical Officer (MO) will occur in the context of deterioration or poor response to treatment.

My Aged Care (MAC) – for patients 65 years and over, or Aboriginal and Torres Strait Islander 50 years and over via www.myagedcare.gov.au or 1800200422.

Back to Contents

#### Section 2 – Constipation

Constipation refers to difficulty or straining with bowel movements, and infrequent bowel movements over an extended period of time. Symptoms associated with constipation include hard/dry stool, bloating and abdominal pain accompanied with a sense of incomplete evacuation.

A diagnosis of constipation by a MO or Nurse Practitioner (NP) is made through thorough history taking and physical assessment. A digital rectal examination (DRE) will commonly be performed as part of this diagnostic process. In addition, investigations such as abdominal x-ray and pathology may be indicated.

##### Conservative management of constipation

###### Diet, fluid and exercise

- Adults (19 years and over):

Diet should contain 25-30 grams (g) of fibre from a variety of sources. A gradual increase in fibre is recommended.

As fibre is increased, fluid intake must also be increased. Total fluid intake should be between 2.1 litres (L) (female) to 2.6L (male) per day, unless otherwise specified by the patient’s MO. Encourage patients to take regular amounts of fluid throughout the day. Extra fluid is recommended in summer.

Dietitians can provide individualised advice on the role of a low fermentable oligosaccharides, disaccharides, monosaccharides, and polyols (FODMAP) diet and probiotics for the management of constipation.

- Children (4 years - 18 years):

Adequate intake of dietary fibre for infants, children and adolescents can be found on the National Health and Medical Research Council website http://www.nrv.gov.au/nutrients

Recommended daily fluid requirements (water, milk and other drinks) are approximately 50-60 millilitres per kilogram per day (mL/kg/day) plus fluids from other sources. Guidelines are available on the National Health and Medical Research Council Website https://www.nrv.gov.au/nutrients/water

Also see Royal Children’s Hospital Melbourne clinical practice guideline for Constipation website: https://www.rch.org.au/clinicalguide/guideline_index/Constipation/

- Children and Adults

Encourage regular exercise. Patients with a mobility impairment may benefit from exercises such as pelvic tilt, low trunk rotation and single leg lifts.

Note

For patients at end-of-life, increasing dietary fibre for the treatment of constipation can compound the problem. Use of softeners and/or stimulants should be considered.

- Note

For patients with spinal cord injury, the amount of fluid needed to promote optimal stool consistency must be balanced with the amount needed for bladder management. Adult patients with urinary catheters may drink a maximum of 2-3L maximum per day. Adult patients who do intermittent self-catheterisation may require less fluid to fit with their individual program, normally around 2-2.5L per day.

###### Toileting Strategies

Encourage a prompt response to pass faeces and going to the toilet at a regular time each day.

Encourage eating or drinking approximately 30 minutes prior to toileting to stimulate the gastrocolic reflex.

An upright position is recommended during defaecation. Advise patients:

  - to sit with both feet supported on a footstool so knees are slightly higher than hips, lean forward with straight back and rest elbows on knees

  - to relax and widen the back passage without straining

  - not to hold their breath, and relax the abdominal wall

  - to contract their pelvic floor muscles when finished.

Where a patient is unable to sit, a left side-lying position while bending the knees and moving the legs towards the abdomen is recommended.

Recommend patients with mobility impairments (and those at risk of pressure injuries) to have a padded toilet seat or commode, with a backrest, footrest and side rails.

Pharmacological interventions

Laxatives/aperients are useful for short-term treatment of acute constipation. These may only be recommended for long-term management of constipation by medical staff.

If organic disease is not the cause of constipation, pharmacological treatment is appropriate on a short-term basis. It should be considered only after non-pharmacological interventions have been unsuccessful.

Surgery

Usually reserved for severe, intractable disease resulting from a slow colonic transit.

The most common procedure is a subtotal colectomy and ileo-rectal anastomosis or colectomy resulting in the formation of a permanent stoma. Refer to the Stoma Management – Adults, Adolescents, Children, Infants and Neonates Procedure located on the Policy and Guidance Documents Register.

Patient /carer education

Educate patients/carers about the wide range of normal bowel routines and symptoms related to abnormal bowel evacuation. The patient should be encouraged to report significant or prolonged change in their bowel habit to their GP.

Back to Contents

#### Section 3 – Functional Diarrhoea

Functional diarrhoea is defined as liquid or semiliquid stools (not associated with pain or bothersome bloating) in 25% or more episodes of defecation. It occurs in a subset of patients with chronic diarrhoea. Chronic diarrhoea is commonly defined as diarrhoea persisting for longer than four weeks.

There are many potential causes of functional diarrhoea. The focus needs to be on treating the underlying cause, improving stool consistency and managing any complications associated with the diarrhoea.

The MO or NP may make a diagnosis of functional diarrhoea following taking a thorough history, completing a physical assessment and excluding other causes of diarrhoea (e.g. bowel cancer, chronic infections and malabsorption syndromes). A digital rectal examination (DRE) may be performed as part of this diagnostic process to rule out constipation with overflow. In addition, investigations such as abdominal x-ray, colonoscopy and pathology may be indicated, including stool microscopy, culture and sensitivity (MCS) / breath tests. Gastroenterology review should be considered if symptoms are reported as chronic in nature.

Conservative management of diarrhoea may include:

ensuring adequate hydration and the use of electrolytes to assist in replacing lost salts and minerals

education on which foods/beverages to avoid (as they can irritate the gastrointestinal tract) e.g. spicy/fatty foods, carbonated and caffeinated drinks, alcohol

dietitian review to assess need for dietary modifications e.g. adjust fibre intake, low FODMAP, avoidance of foods or drinks, help identify possible food allergy or absorption issue

pelvic health physiotherapy to assess and improve pelvic floor strength

checking how the patient accesses, sits and uses the toilet. To help facilitate a complete bowel motion, the patient should be sitting on the toilet with the knees bent up a little higher than their hips, resting their forearms on their thighs. Occupational Therapy review may be indicated to improve patient safety or accessibility in the bathroom. This could include rails, commodes, or bidet.

assessment and education on self-management strategies to prevent incontinence associated dermatitis (see Section 18 of the Wound Assessment, Prevention and Treatment Procedure located on the Policy and Guidance Documents Register).

maintaining a bowel diary over a two to four week period. A bowel diary can highlight the pattern of bowel function, including any effects of foods that might be causing problems.

##### Product Management

Nurses can provide support and advice regarding possible product management solutions. These can allow patients to reduce the impact of bowel symptoms and provide them with the confidence to access the community.

Examples of products to support social continence include pads and anal plugs. Faecal containment devices and transanal irrigation might be recommended by the MO

Funding for products may be available depending upon the diagnosis and specialist medical input.

Pharmacological interventions

If certain medications are suspected to be the potential cause of the diarrhoea, an MO or NP may elect to cease these medications if they deem it safe to do so.

Medication management options can be discussed and considered with an MO if conservative strategies are unsuccessful.

Back to Contents

#### Section 4 – Administration of rectal suppository - Adults

Suppositories assist in the evacuation of faeces from the rectum or are used to administer medication for absorption through the rectal wall. A suppository is inserted into the rectum and dissolves at body temperature.

Equipment

suppository

water-soluble lubricant (e.g. KY gel, or water for glycerine suppository. If the patient is at risk of autonomic dysreflexia use lignocaine 2% gel five minutes prior to procedure. See Autonomic Dysreflexia Procedure located on the Policy and Guidance Documents Register.)

bedpan, commode or toilet

disposable protective pad - blue sheet

personal protective equipment (PPE) including disposable gloves, gown and safety eyewear.

Procedure

Check the authorised prescriber order (MO or NP).

Inform the patient of the procedure, obtain informed consent and ensure privacy.

Ensure patient has emptied bladder to prevent discomfort.

Perform hand hygiene by either hand washing or using alcohol-based hand rub (ABHR). Don PPE and assemble equipment.

Assist the patient to adopt the left lateral position (to facilitate contact with rectal mucosa for effective bowel action) with knees flexed and blue sheet in place.

Perform hand hygiene, don clean gloves and use generous amount of lubricant.

Remove wrapping, lubricate suppository and insert beyond the anal sphincter and against the rectal mucosa.

Encourage patient to retain suppository for 15-20 minutes, lying in the left lateral position.

Assist patient onto bedpan, commode or toilet if necessary.

Observe the amount and form of the bowel motions, using the Bristol Stool Chart as a guide (see Attachment 1).

Undertake DRE to assess outcome if in doubt.

Discard waste appropriately.

Remove gloves and other PPE, then perform hand hygiene.

Document in clinical record.

Back to Contents

#### Section 5 – Administration of enema - Adults

An enema is introduced into the rectum or lower colon with the purpose of producing a bowel action or instilling a medication.

There are two main types of enemas:

Evacuant – used to evacuate the bowel, they may be small or large volume and are usually commercially prepared.

Retention – a solution used primarily for local effects, to be retained for a specific period.

Equipment

enema at room temperature

water-soluble lubricant (e.g. KY gel, or if at risk of autonomic dysreflexia use lignocaine 2% gel five minutes prior to procedure)

bedpan, commode or toilet

disposable protective pad - blue sheet

PPE.

Procedure

- Check the authorised prescriber order (MO or NP).

- Inform patient of the procedure, obtain informed consent, and ensure privacy.

- Ensure patient has emptied bladder, to prevent discomfort.

- Perform hand hygiene, don PPE, and assemble equipment.

- Assist the patient to adopt the left lateral position (to facilitate contact with rectal mucosa for an effective bowel action) with flexed knees and blue sheet in place.

- Drape the patient with a sheet or blanket and withdraw sheet to expose the anal area.

- Perform hand hygiene, don clean gloves use a generous amount of lubricant.

- Remove cap from enema and lubricate nozzle.

- Encourage patient to relax and take deep breaths.

- Part the buttocks. On patient’s exhalation, gently insert the enema tip five centimetres (5cm) into rectum and slowly squeeze the content into rectum.

- Maintain pressure on the enema tube while removing nozzle from rectum. This is to prevent flow back of liquid returning to the tube.

- Encourage patient to retain enema for 15-20 minutes, lying in the left lateral position.

- Assist the patient onto a bedpan, commode or toilet if necessary.

- Observe the amount and form of the bowel motions, use Bristol Stool Chart as a guide (see Attachment 1).

- Undertake DRE to assess the outcome of the enema if in doubt.

- Discard waste appropriately.

- Remove gloves and other PPE and perform hand hygiene.

- Document in the clinical record.

Back to Contents

#### Section 6 – Bowel washout - Adults

Bowel washouts are performed with the purpose of:

stimulating peristalsis and removal of faeces or flatus

cleansing the colon and rectum in preparation for an examination or a surgical procedure

removing toxins from the large intestine

softening faeces and lubricating the rectum and colon.

Equipment

bowel washout solution as ordered

irrigation set (can, rubber tubing, and clamp) or Coloplast irrigation set

medium tube adaptor

disposable rectal catheter or short length female Foley’s catheter

lubricant

PPE

absorbent under pad

clinical waste receptacle

general waste receptacle

bedpan or commode

intravenous (IV) pole/stand

Procedure

- Check authorised prescriber order (MO or NP).

- Explain the procedure, obtain consent and ensure privacy.

- Perform hand hygiene by either hand washing or using ABHR, don PPE and assemble equipment.

- Assist the patient to assume the left lateral position and cover the patient with a sheet.

- Ensure the solution is at body temperature.

- Perform hand hygiene by either hand washing or using ABHR, and don PPE.

- Connect the can, rubber tubing and rectal catheter or Coloplast irrigation set.

- Suspend the can from the IV pole for priming.

- Perform hand hygiene by either washing hands or using ABHR.

- Don clean gloves.

- Inspect the anus for the presence of haemorrhoids, bleeding or irritation. If any of these are present, review the procedure with the treating MO, or GP for community patients.

- Pour approximately 240mL of solution into the can.

- Expel air from the tubing, then clamp.

- Liberally apply lubricant to the catheter.

- Ask the patient to breathe deeply.

- Part the buttocks and gently introduce the rectal catheter approximately seven to ten centimetres (7-10cm) into the rectum.

- Allow the solution to flow into the rectum, holding the can 30-45cm above the level of the patient’s buttocks.

Note

If the patient complains of pain, exhaustion or great discomfort during the procedure, cease the flow of solution for a few minutes then slowly recommence. Hold the irrigation can no higher than 44cm above the level of the patient’s buttocks.

- Clamp the tube when the solution has been instilled into the rectum.

- Disconnect the can and hold the tube over the bedpan. Unclamp the tube.

- Clamp the tubing when the solution flow ceases.

- Reattach the can and repeat the procedure with a further 240mL of solution.

- Continue the procedure until the return is clear.

- Remove the catheter when the last of the solution has flowed from the rectum.

- Clean the anal area.

- The patient may sit on a bed pan.

- Disassemble the equipment, discard disposable equipment and gloves.

- Perform hand hygiene.

- Remove safety glasses or goggles and gown.

- Perform hand hygiene.

- Observe amount and nature of return.

- Document on the patient’s medication chart.

- Document in clinical record:

  - amount of solution instilled

  - patient’s reaction to the procedure

  - amount and nature of return.

Back to Contents

#### Section 7 – Flatus tube insertion - Adults

A flatus tube is inserted to relieve abdominal distension caused by flatus. The insertion of a flatus tube will be prescribed by a MO.

Assess the patient’s heart rate before, during and after the procedure, as rectal stimulation can cause bradycardia due to vagal nerve stimulation.

Equipment

rectal tube

lubricant

disposable dish and water

disposable protective pad - blue sheet

draw sheet

PPE

tape measure

Procedure

- Check MO order.

- Discuss the procedure with the patient, obtain informed consent and ensure privacy.

- Perform hand hygiene, don PPE, and assemble equipment.

- Measure abdominal girth.

- Assist the patient to assume the left lateral position, with under pad in place. Cover the patient with a drawsheet.

- Attend hand hygiene.

- Assess the patient’s pulse before examination.

- Don gloves and protective glasses.

- Expose the anal area and inspect for haemorrhoids, bleeding or irritation. Contact MO if concerned and document.

- Lubricate the tip of the rectal tube.

- Place the distal end of the tube underwater.

- Position the dish near the anal area.

- Encourage the patient to breathe deeply.

- Part the buttocks and gently insert the rectal tube approximately five to eight (5-8cm) into the rectum, leave the rectal catheter in place for the prescribed time.

- Observe for air bubbling and reduction in abdominal distension.

Alert

Cease the procedure if the patient experiences pain. The rectal catheter can be left in place for a maximum of 20 minutes only.

Remove the rectal catheter once the air bubbles cease.

Clean the anal area.

Discard equipment, remove gloves, and attend hand hygiene.

Measure abdominal girth.

Assess the patient’s pulse after examination.

Document in clinical record:

  - results of flatus tube insertion

  - the patient’s level of comfort/discomfort post procedure

  - decrease in abdominal distension.

Back to Contents

#### Section 8 – Manual evacuation of faeces

Manual evacuation may be used for patients with lower motor neurone bowel dysfunction (e.g. spinal cord injury (SCI) below T12) as destruction of the sacral reflex defecation centre results in loss of defecation reflex. In patients with lower motor neurone bowel dysfunction (areflexic bowel) the main goal is to encourage a firm, formed stool that can be retained between bowel care sessions and easily evacuated.

In those patients with a spinal cord injury above T6 manual evacuation may need to be attended if the patient is experiencing an episode of autonomic dysreflexia and the identified cause is an overextended rectum/full lower bowel. Extreme caution and specific interventions are required as per the CHS Autonomic Dysreflexia Procedure located on the Policy and Guidance Documents Register.

Manual evacuation may need to be attended when impacted stool in the rectum is unable to be removed in any other way. This is sometimes required for patients with neurogenic bowel changes associated with diseases such as Multiple Sclerosis and Parkinson’s Disease.

In other patients without neurogenic bowel dysfunction, manual evacuation of faeces is seen as a last resort management where all other methods of bowel evacuation have failed.

Manual evacuation may be needed to remove stool prior to the insertion of a suppository or enema for the medication to be effective.

Equipment

water-soluble lubricant (for patients with spinal cord injury at or above T6 use lignocaine 2% gel, five minutes prior to procedure)

PPE including disposable gloves, gown and safety eyewear

disposable protective pad - blue sheet

bedpan or collection container.

Procedure

- In consultation with the MO, establish that there are no contraindications that may place patients ‘at risk’.  Examples include, but are not limited to:

  - cardiac conditions with arrhythmias (as stimulation of the vagus nerve in the rectal wall can slow the patient’s heart rate)

  - bowel perforation, rectal bleeding or anal fissures

  - distress, pain, discomfort, bleeding or anti-clotting medication

  - recent rectal/anal surgery or trauma.

- Discuss the procedure with the patient, obtain informed consent and ensure privacy.

- Ensure that patient has emptied bladder.

- Perform hand hygiene and don PPE.

- Assist the patient to adopt the left lateral position with knees flexed, and blue sheet in place. Drape the patient with a sheet or blanket and withdraw sheet to expose the anal area.

- Lubricate gloved index finger and anus generously with lubricating gel.

- Encourage patient to relax and breathe regularly.

- Part buttocks and insert the gloved finger into the rectum slowly and gently.

- If stool is solid mass, push finger into the centre, split it and remove small sections until none remains. If small hard stool, remove a lump at a time.

- Patients may assist by performing Valsalva manoeuvre. Patients with areflexic bowel or lower motor neurone bowel dysfunction may respond to the Valsalva manoeuvre during manual removal to assist with bowel emptying.

- Document the amount and the nature of the return in the clinical record.

Note:

Valsalva manoeuvre should not be performed on a patient with a full bladder due to risk of vesico-ureteric reflux. It is also contraindicated for individuals with cardiac problems and hypertension. With prolonged straining, Valsalva can also predispose to haemorrhoids and rectal prolapse over time.

Back to Contents

#### Section 9 – Bowel management for patients in the community

The CCP Community Nurses offer assessment, advice and review of bowel regimens. They can also administer short-term rectal medication if a medical order is in place and medical follow-up of treatment has been arranged. For patients with a spinal cord injury above T6, the CCP nurses will ensure the patient’s carers are guided by an emergency autonomic dysreflexia plan developed by the private provider. Where the CCP are the primary service providers for these patients, we will be governed by the CHS Autonomic Dysreflexia Procedure located on the Policy and Guidance Documents Register.

The left lateral position is recommended for most bowel interventions. Where there is a clinical reason why the left lateral position can’t be adopted by the patient, an alternate, safe, ergonomic recommendation is to be implemented following CCP nurse manager approval. The recommended procedure is to be clearly documented in the care plan and progress notes.

The CCP nurses do not perform routine bowel care. For patients who require bowel care (including manual faecal evacuation), it is generally attended to by their private care provider as part of a personal care package. It should also be noted that digital rectal examinations (DRE) are not routinely performed by community nurses. Some clinicians, with extra training, may perform DRE where clinically indicated.

Alert

In cases of suspected autonomic dysreflexia, not triggered by a urinary catheter change, it is recommended that the patient be transferred to an emergency department via ambulance. This will allow the patient to be thoroughly assessed and closely monitored for at least four hours post removal of noxious stimuli (as per Autonomic Dysreflexia Procedure).

Back to Contents

#### Section 10 – Stool Management System – Intensive Care Unit

Note:

A stool management system is only to be used in Intensive Care Unit (ICU) unless directed by the treating consultant.

A stool management system (SMS), also referred to as a bowel or faecal management system (BMS/FMS), is used in the ICU for management of patients with persistent episodes of liquid or semi-liquid stool.

An SMS aims to:

reduce excoriation from faecal incontinence

prevent risk of infecting wounds (e.g. pressure ulcers, burns, grafts)

reduce environmental contamination and/or risk of transmission to other patients, visitors and health care workers

Canberra Hospital ICU currently stocks the Bard DigniShield® SMS, but due to occasional sourcing issues, may use the Convatec Flexiseal®.  Unless noted otherwise, the following section is applicable to both systems.

Manufacturer guidance for insertion, outlining the step-by-step process, can be accessed through the following links:

DigniShield® (www.henryschein.com/assets/Medical/1241307.pdf)

Flexiseal®. (flexi-seal.convatec.com/media/kamnwofw/flex-seal-protect-plus-luer_directions-for-use-poster.pdf)

A Registered Nurse or MO must perform an initial assessment to determine if the patient meets criteria for use of an SMS.

Note

The use of an SMS must be documented by a MO within the DHR.

Indications

patients requiring faecal diversion for the protection of wounds, burns, flaps or grafts

patients with semi-liquid or liquid stools with confirmed infectious cause/element (e.g. VRE, MRSA, C. difficile)

minimising risk of excoriation from faecal incontinence in diarrhoea not controlled by medical therapy.

Contraindications

paediatric patients – no SMS used in TCH ICU is currently approved for non-adult use

patients who have had previous colorectal surgery involving an anastomosis, or who have had any rectal surgery or recent anal or sphincter reconstruction in the past year

haemorrhoids of significant size and/or symptoms

patients with impacted stool

distal rectum cannot accommodate the inflated volume of the retention cuff

distal rectum/anal stricture/tumour

inflammatory condition causing suspected or confirmed rectal mucosal impairment e.g. proctitis, ulcerations, radiation injury or scarring to anus/rectum

patients who have a known sensitivity or allergy to the materials used in the device

presence of other indwelling anal/rectal device

use of any SMS for more than 29 consecutive days

Before using the SMS

Obtain informed consent from the patient. If this is not possible, clearly document in DHR. Refer to Consent for Healthcare Treatment Guideline located on the Policy and Guidance Documents Register.

A digital rectal exam should be performed prior to opening the SMS kit to confirm rectum is clear of solid stool and that patient’s anal tone is sufficient to retain the SMS inflatable cuff.

The colon and rectum should be clear of all stool/faecal matter prior to insertion of the bowel management system.

Note: A stool management protocol should be in place for patients who have had insertion of the SMS for skin/wound protection. This is to ensure that the stool remains soft enough to ensure flow and prevent blockage until such time that contamination is no longer a risk. The protocol will be ordered by the medical team and reviewed daily.

Precautions during use

Patients who have a coagulopathy or who are receiving anti-platelet / anti-coagulant therapy should be monitored for signs of bleeding.

If patients develop rectal bleeding, assess for pressure necrosis from the catheter, inform MO and discontinue use. Consider correcting coagulopathies prior to removal.

Patients with weak sphincter function may expel the device or may have increased leakage of stool.

Do not insert anything into the anal canal with the catheter such as suppositories or thermometers.

Do not allow ointments that contain petroleum (e.g. Vaseline®) to come into contact with the catheter as they may damage it.

Patients with spinal cord injuries should be closely monitored for signs of autonomic dysreflexia when an SMS is in use.

The following adverse events may be associated with the use of any rectal device:

  - infection

  - leakage of faecal content

  - perforation

  - pressure necrosis

  - obstruction or loss of sphincter tone.

Equipment

SMS kit (Catheter kit which includes silicone catheter, collection bag, inflation syringe, and lubricant)

PPE including gown, gloves, goggles (additional protective equipment may be required for patients with infective faeces)

additional water-soluble lubricant

yellow contamination waste bag

- Note

SMS kit may contain odour elimination spray. This is not to be used directly on the device or patient.

Insertion Procedure

- Explain the procedure to the patient, where plausible obtain informed consent, and provide analgesia or sedation as necessary.

- Prior to use, examine SMS catheter to confirm integrity, verify proper inflation and deflation of catheter cuff using air and check patency of the irrigation lumen. Fully deflate cuff.

- Connect end of catheter drain tube to collection bag

  - For Dignishield – Pull back on green trigger switch on catheter, push collection bag port into piston valve, release trigger. Green ring of collection bag socket should not be visible.

  - For Flexiseal – Position catheter connector at 90 degree angle to bag connector and gently insert. Locate two locking pins on bag connector and align with slots on catheter connector. Gently push catheter connector into bag connector and then rotate clockwise to secure the parts.

- Attach 60mL Luer syringe with 45mL of water to inflation port but do not inflate.

- Attend hand hygiene, don PPE. It is advisable to double glove for the rectal examination.

- Place patient in left lateral position, knees to chest if practically possible.

- Examine the rectum for faecal impaction and clear any stool present. Feel for any mass, lesion or stricture which may preclude the use of the device.

- Preparation

  - For Dignishield – flatten, fold and lubricate cuff

  - For Flexiseal – lubricate the end of the catheter well and insert lubricated finger into blue finger pocket on catheter cuff.

- Grasp the lubricated catheter and insert gently through the anal sphincter until the cuff is well inside the rectal vault.

- Fill retention cuff with no more than 45mL of water. Disconnect the syringe.

- Flexiseal Only – Green Dome will pop up when optimal fill achieved. If this occurs below 30mL fluid, deflate and reposition within rectal vault.

- Alert

If Red Dome pops up, cuff is overfilled. DO NOT FILL WITH MORE THAN 45mL OF FLUID.

- Gently pull catheter to ensure cuff is seated on floor of rectal vault. After confirming, release so that catheter is tension free.

- Note position of indicator line on catheter from patient’s anus.

- Hang catheter bag so that the catheter drain is not twisted or kinked.

- If patient’s condition permits, tilt the whole bed slightly upward, as this encourages drainage by gravity.

- If no stool is flowing and catheter appears to be positioned correctly, follow instructions for irrigation.

Irrigating SMS

- Fill appropriate 60mL syringe with 45mL water.

- Attach filled syringe to port marked ‘IRRIG’.

- Alert

Do not use inflation port.

- Infuse water by gently depressing the plunger.

- Observe for flow of fluid down the catheter tubing and for any leakage.

- Dignishield Only – After completing steps 1-4, a second 45mL of water can be administered via the ‘FLUSH’ port to irrigate the catheter tubing.

- If leakage occurs or if no flow is observed, ensure catheter tubing is free from kinks or   obstructions. Ensure cuff is not overinflated (exceeding 45mL cuff fill will deform cuff and obstruct flow)

Medication Administration

- Fill Luer syringe with 10mL water and attach to port marked ‘IRRIG’, slowly depress plunger to flush line.

- Prepare a new syringe with prescribed medication.

- Clamp SMS catheter tubing as close as possible to patient buttocks.

- Attach medication syringe to port marked ‘IRRIG’ and slowly depress plunger to administer medication.

- Prepare new syringe with 10-40mL water, attach to port marked ‘IRRIG’ and flush line to ensure delivery of medication.

- Keep clamp insitu for desired amount of time as directed by prescribing physician.

Faecal Sampling

- Don appropriate PPE, including eye protection.

- Uncap sample port.

- Gently kink catheter tubing between the sample port and the collection bag, just below the port.

- Tilt or milk catheter to accumulate sufficient sample material in port area.

- Insert a slip-tip syringe into the port and withdraw appropriate sample.

- Remove syringe and replace cap.

Ongoing Maintenance

- Strictly adhere to stool modification plan.

- Irrigate SMS daily or as required to maintain patency.

- Ensure there is no excessive prolonged traction on the catheter or that the catheter is not occluded due to twisting or patient lying on the tube.

- Inspect the catheter near the anus to ensure that stool or irrigation fluids are not sitting in the catheter. If present milk the drainage tube.

- Assess patient’s perineal region for mucous or stool leakage, and clean if present.

- Excessive leakage may be secondary to catheter occlusion with stool or overinflation of cuff.

- Document observations in DHR to ensure continuity of care.

- Remove catheter after 29 days as per manufacturer recommendations. Note that if replacement is indicated, this may not be inserted for at least 24hrs.

- Use of the catheter greater than seven days should prompt medical review targeted at addressing cause of ongoing diarrhoea.

- Regularly review the ongoing need for the bowel management system and discontinue as soon as there is no further need for it.

- Please see Attachment 2 for troubleshooting ideas if there are any concerns.

Catheter Removal

- Explain the procedure to the patient.

- Apply gloves, goggles and gown.

- If tolerated, place the patient in a left lateral knee-chest position. Pain relief may be required prior to position change. As there may be some spillage during removal it is advisable to place disposable pads over the bed linen for this procedure.

- Deflate catheter retention cuff by connecting syringe to (labelled CUFF) and aspirating all water from retention cuff. Disconnect syringe. Verify deflated state of retention cuff by confirming pilot balloon collapse.

- Grasp the catheter as close as possible to the patient’s anus and slowly remove the catheter. If it does not slide out easily, stop and apply water soluble to lubricant to the anus and then remove the catheter.

- Perform a visual inspection of the rectum post removal.

Back to Contents

#### Section 11 – Bowel assessment and management for palliative or end of life care

Patients receiving palliative or end of life care can be in the hospital or in the community setting. Bowel care at end of life is a common cause of major discomfort and distress for the patient and family. All patients receiving palliative or end of life care require bowel management strategies to be included in their care plan.

History:

level of discomfort or distress caused by bowel symptoms (constipation or diarrhoea)

level of consciousness

level of pain

fluid and food intake

comfort requirements.

The Bristol Stool Chart and Palliative Care Outcomes Collaboration (PCOC – found on DHR) tool may be useful as part of the history taking process.

Continence management in end-of-life care includes:

conversation and assessment regarding bowel symptoms and distress caused by bowels

incontinence associated dermatitis prevention and management

escalation plan if bowel symptoms increase

review of products and medications, while considering the patient’s level of mobility, tolerance and symptoms. Carers and family may contribute to this assessment.

providing the patient with options regarding bowel management

identification of patient specific bladder and bowel management strategies.

Key documentation such as advance care plans, medication management orders, and ‘not for resuscitation orders’ (NFR) should be included to identify patient treatment options.

Alert:

Consider including/discussing or referring to the Palliative Care CNC / Clare Holland House/Clinical Development Nurse / Continence CNC as part of the clinical decision-making process regarding the patient.

Considerations to optimise bowel management can include:

PCOC and bowel assessment performed each visit. Bowel assessment to include:

  - questions around frequency of bowel movements, incidence of incontinence/soiling of clothing, pain with bowel movements, and degree of assistance required with toileting

  - perineal skin review – education can be provided around care of this region

  - mobility assessment

  - incidence of incontinence

review if a fluid restriction is in place

assess the ability of the patient to tolerate any prescribed bowel medication

assessment of suitability/appropriateness of products/equipment e.g. bed pads/touch dries, urinary bottles, bed pans, pads (correct size and absorbance, suitable for level of mobility (pullup vs wrap), ability to control odours.

aim to optimise bowel function and create a tailored bowel management plan that considers fluid tolerance, stage of disease progression and patient preferences.

Early input into the development of a bowel management plan from an occupational therapist may prevent problems arising. Medical intervention may be required in some cases, e.g. for pharmacological intervention. In a community setting, the GP will often provide medical oversight (or if a current Home-Based Palliative Care [HBPC] patient, the clinician can contact the HBPC MO).

Back to Contents

#### Evaluation

Outcome

Safe and effective bowel management of patients in the hospital and in the community setting.

Measures

Review of incident reports relating to bowel management.

10 clinical records audited 12 monthly to ensure procedural compliance (audits to be managed by each division).

- Back to Contents

#### Related policies, procedures, guidelines and legislation

##### Policies

Waste Management

Medication Handling

##### Procedures

Autonomic Dysreflexia

Stoma Management – Adults, Adolescents, Children, Infants and Neonates

Infection Prevention and Control

Infection Prevention and Control – North Canberra Hospital (NCH)

Patient Identification and Health Care Activity Matching

Intimate Body Care and/or Examination of Patients/Clients by Health Care Workers

Medication Management in Home Based Palliative Care – North Canberra Hospital (NCH)

Wound Assessment, Prevention and Treatment

Clinical Handover

Clinical Handover – North Canberra Hospital (NCH)

##### Guidelines

Fasting Guidelines for Patients Undergoing Procedures Requiring Sedation or Anaesthesia

Consent for Healthcare Treatment

Continence Assessment and Management – Adults

Goals of Patient Care Plan (Adult)

Comfort Care Pathway (Adults only)

##### Legislation

Health Records (Privacy and Access) Act 1997

Human Rights Act 2004

Work Health and Safety Act 2011

##### Other

Australian Charter of Healthcare Rights

Waste Management Plan

Back to Contents

#### References

- Bonis, PAL & Lamont, JT. Approach to the adult with chronic diarrhea in resource-abundant settings. 2024. UpToDate.

- Consortium for Spinal Cord Medicine Clinical Practice Guidelines. Management of neurogenic bowel dysfunction in adults after spinal cord injury: Paralysed Veterans of America. 2020.

- Emmanuel, A. Review of the efficacy and safety of transanal irrigation for neurogenic bowel dysfunction. International Spinal Cord Society. 48, 664-673. 2010.

- eTG 2022, Functional constipation in adults. Accessed 28/10/24.

- eTG 2022, Irritable bowel syndrome in adults. Accessed 31/01/25.

- eTG 2022, Management of functional diarrhoea. Accessed 28/10/24.

- Treatment Algorithm for Autonomic Dysreflexia (Hypersensitive crisis) in Spinal Cord Injury. 2024. http://www.aci.health.nsw.gov.au/__data/assets/pdf_file/0019/155143/algorithm.pdf#zoom=100

- Krassioukov, A. Eng, J. and Claxton, G. Neurogenic bowel management after spinal cord injury. International Spinal Cord Society 48 (10): 718-33. 2010.

- Lippincott procedures. Digital rectal examination (Advanced practice), ambulatory care. 2024. Retrieved from Lippincott® Solutions 30/10/24.

- Lippincott procedures. Rectal suppository administration. 2024. Retrieved from Lippincott® Solutions 30/10/24

- Musa, MK, Vinsnes, AG, Blekken, LE, Harris, RG, Goodman, C, Boyers, D, and Norton, C. Interventions for treating or managing faecal incontinence in older people living in care homes. 2018. Cochrane Database Systematic Review.

- National Health and Medical Research Council – Nutrient Reference Values for Australia and New Zealand.  Accessed October 31st, 2024: Nutrient Reference Values | Eat For Health

- National Institute for Health and Care Excellence. Clinical Knowledge Summary - Constipation. 2024

- Royal College of Nursing. Bowel care: Management of Lower Bowel Dysfunction, including digital rectal examination and digital removal of faeces. 2019. NMC.

- Satish, SCR. Constipation in the older adult. 2022. UpToDate.

- Sood, MR. Chronic functional constipation and fecal incontinence in infants, children, and adolescents: Treatment. 2024. UpToDate.

- Wald, A. Management of chronic constipation in adults. 2024. UpToDate.

- Zassi, Bowel Management System (2003) Instructions for Use, Fernandina Beach, USA.

- The Royal Children’s Hospital Melbourne Clinical Guidelines: Bowel washout rectal. Nursing guidelines : Bowel washout rectal Accessed 1/11/24.

- Back to Contents

#### Definition of terms

Valsalva manoeuvre: Holding the breath and forcibly trying to exhale against a closed glottis, thereby creating raised intra-abdominal pressure and a bearing-down effect.

Back to Contents

#### Search terms

Bowel, Bowel washout, Rectal administration, Enema, Suppository, Flatus tube, Manual evacuation, Bowel protocol, Intensive Care Unit, Dignishield, Digital Rectal Examination, DRE, Bowel care, Bowel management plan

- Back to Contents

#### Attachments

Attachment 1: Bristol Stool Chart

Attachment 2: Stool Management System troubleshooting guide

- Back to Contents

For Policy Team to complete:

| Date amended | Section amended | Divisional approval | Final approval |
| --- | --- | --- | --- |
| 01/05/2025 | Complete review | Jo Morris, ED RACS | CHS Policy Document Review Panel |

This document supersedes the following:

| Document number | Document name |
| --- | --- |
| CHS20/294 | Bowel Assessment and Management (Adults and Children) |

Disclaimer

This document has been developed by Canberra Health Services specifically for its own use.  Use of this document and any reliance on the information contained therein by any third party is at his or her own risk and Canberra Health Services assumes no responsibility whatsoever.

- Back to Contents

| Acknowledgement of Country Canberra Health Services acknowledges the Ngunnawal people as traditional custodians of the ACT and recognises any other people or families with connection to the lands of the ACT and region. We acknowledge and respect their continuing culture and contribution to the life of this region. © Australian Capital Territory, Canberra 2024 | Accessibility call (02) 5124 0000 Interpreter call 131 450 canberrahealthservices.act.gov.au/accessibility |
| --- | --- |

#### Attachment 1 – Bristol Stool Chart

- Back to Contents

#### Attachment 2 – Stool Management System troubleshooting guide

| Problem | Possible causes | Intervention |
| --- | --- | --- |
| Leaking around catheter during irrigation | Poor patient positioning | Position patient such that gravity and colonic anatomy facilitates the flow of faeces out of the patient, (i.e. supine with slight head up) |
|  | Incorrectly inflated retention cuff | Apply gentle traction to “seat” the retention cuff on the rectal floor. Check cuff volume and ensure 30-45mL present. - Pilot balloon should be inflated but not distended (Dignishield). - Green indicator dome should be popped up (Flexiseal). Red indicator dome popped up suggests overinflation. |
| Lack of faecal drainage and/or faecal leakage around catheter | Patient anatomy incompatible with SMS. | Manage small volume perianal mucous or faeces leakage with routine hygiene and absorbent pads. If large leaks persist, consider removing SMS. |
|  | Normal bowel function has returned. | Remove SMS. |
|  | Stool is occluding catheter or cuff. | Irrigate catheter (IRRIG port) and flush tubing (FLUSH port, Dignishield only) Check stool consistently. More aggressive stool modification plan/irrigation protocol or catheter removal may be required. Ensure catheter tubing is straight and unobstructed. |
| Odour | Stool may be accumulating in catheter too long. | Increase frequency of irrigation. Use air freshener or odour neutralising sprays. |
| Expulsion of catheter | Application of too much traction (tube is pulled out of patient). | Verify no external traction is being applied to catheter (e.g. unsupported weight of collection bag, catheter caught) |
|  | Little or no sphincter tone. | Reinsert SMS, if issue recurs consider discontinuing use. DO NOT HYPERINFLATE CUFF |
|  | Volume of stool in rectum trigger defecatory response resulting in relaxation of sphincters, rectal contraction and catheter expulsion. | Perform rectal exam to verify no impaction or stool is present in the distal rectum. Check stool consistency. More aggressive stool modification plan and irrigation may be required. Reconsider need for SMS. |

- Back to Contents