Guideline | Canberra Health Services

Renal Vascular Access for Renal Replacement Therapy in Adults 
CHS24/383

Contents

Guideline statement	3

Key Objective	3

Alerts	3

Scope	3

Section 1 – Arteriovenous Fistula Graft	3

1.1 Pre-Operative Management	4

1.2 Post-Operative Management	4

1.3 Ongoing Management	5

1.4 Patient Education	5

1.5 Cannulation Guidelines for AVF and AVG	5

Section 2 – Arteriovenous Fistula (AVF) and Graft (AVG) Surveillance	7

2.1 First Aid for Ruptured Fistula or Uncontrolled Dialysis Access Bleeding.	7

2.2 Monitoring Haemodialysis Access	11

2.3 Assessment of a New Vascular Access	11

2.4 Assessment of an Established Vascular Access	12

Section 3 – Vascular Access Complications	13

3.1 Access Flow Dysfunction	13

3.2 Vascular Access Thrombosis	14

3.3 Vascular Access Stenosis	15

3.4 Dialysis Access Steal Syndrome	16

Section 4 – Central Venous Catheters	17

4.1 Non-Tunnelled CVC	17

4.2 Insertion of Tunnelled CVC	17

4.3 Tunnelled CVC Suture Removal	18

4.4 Tunnelled CVC Dressing	18

4.5 Tunnelled CVC Complication	20

4.6 Troubleshooting CVC Complications (non - flow issues)	24

4.7 Removal of Tunnelled CVC	26

4.8 Removal of Tunnelled CVC for End of Life (EOL) management	28

Evaluation	28

Outcome	28

Measures	28

Related policies, procedures, guidelines and legislation	29

Policies	29

Procedures	29

Guidelines	29

Legislation	29

Other	29

References	30

Definition of terms	30

Search terms	31

## Guideline statement

This clinical guideline directs the care of adult patients with impaired kidney function who need a temporary or permanent vascular access for renal replacement therapy (RRT). This guideline addresses issues relevant to the insertion of central venous catheters (CVC), arteriovenous fistulae (AVF) and arteriovenous grafts (AVG) and management and surveillance of dialysis access.

#### Key Objective

To guide the care of patients requiring vascular access procedures for renal replacement therapy.

To ensure that patients with chronic kidney disease (CKD) approaching dialysis or already on dialysis, with an AVF, AVG, or CVC, undergo routine surveillance to identify access problems or other complications.  Refer to the Modified Vascular Access Risk Assessment and Escalation tool known as the PYE Chart (See page 9 of this Guideline).  To ensure that all communication between the Dialysis Access Nurse (DAN) and the Renal Network is undertaken in the Digital Health Record (DHR).

Alerts 
The arm selected for the AVF or AVG should not be used for venepuncture, blood pressure measurements or peripheral cannula insertion.

Back to Contents

## Scope

This clinical guideline applies to nurses and medical staff working within their scope of practice nursing and medical staff under the clinical governance of the Canberra Health Services (CHS) Renal Network and the CHS Vascular Surgeons. Students are out of scope for this document.

For the purposes of this document, the term vascular access refers to any device or arteriovenous formation that may be used for haemodialysis (HD) and includes AVF, AVG, or CVC (tunnelled or non-tunnelled).

Back to Contents

## Section 1 – Arteriovenous Fistula Graft

Whenever possible it is suggested that a native AVF is created and used for haemodialysis, as it is superior to an AVG and to a CVC. When a native AVF is not possible, an artificial AVG should be used in preference to a CVC.

Preoperative ultrasound is to be performed on all patients requiring a vascular access. Bilateral arm ultrasound is to be considered initially and lower limb ultrasound if requested by the Renal Specialist or Vascular Surgeon.

Venipuncture and peripheral cannula insertion should be avoided in the arm selected for future AVF or AVG.  If no other safe site for cannulation/venipuncture can be found, then the back of the hand on the proposed fistula arm may be used.

#### 1.1 Pre-Operative Management

- The arm selected for the AVF or AVG should not be used for venepuncture, blood pressure measurements or peripheral cannula insertion.

- A ‘No venepuncture or Blood Pressure (BP) on specific area’ alert is to be placed above the patient’s bed on admission.

- Patient identification (ID) band to be placed on opposite arm of proposed limb for AVF or AVG.

- Base line vital signs recorded and documented.

- Prepare patient for theatre as per CHS Guideline - Fasting Guidelines for Patients Undergoing Procedures Requiring Sedation or Anaesthesia.

#### 1.2 Post-Operative Management

- On return to the ward:

- Check the operation report regarding specific post-operative instructions.

- Assess surgical wound for:

  - Bleeding or hematoma formation

  - Pain

  - Swelling

- Circulation of limb extremity

  - Observe for any pallor (unhealthy pale appearance), cyanosis (blue tinged fingernails), coldness or numbness

- Patency

- Palpate anastomosis to check thrill (vibration)

- Auscultate for bruit (whooshing sound)

- Repeat observations:

  - Every 15 minutes for one hour (usually completed whilst in Post Anaesthetic Care Unit)

  - Then every hour for 24 hours

  - Then every eight hours until discharge (usually one to two days keep limb warm, extended and elevated on a pillow for up 24 hours or until swelling subsides.

- Alert: The AVF arm should not be used for observations.

IMPORTANT: Contact admitting team if there is:

- Diminished or weak bruit

- Patient has severe pain and/or oedema

- The limb has pallor and/or cyanosis

- Patient reports coldness, numbness or pins and needles in extremity

- Patient is hypotensive

- Any signs of paralysis in access arm.

#### 1.3 Ongoing Management

- Continue to assess AVF/AVG for pain, circulation, and patency every four hours until discharge.

- Assess dressing and wound and change dressing as required.

Note: It is normal for an AVG to sometimes cause significant swelling in arm/leg. Please assess as per note above and contact admitting team if concerned.

#### 1.4 Patient Education

- The DAN will arrange follow-up review of AVF/AVG post discharge for education.

- Ward nursing staff to provide patient with the appropriate handouts (located on Clinical Forms register):

  - “All you need to know about your Dialysis Fistula”

  - “All you need to know about your Dialysis Loop”

  - “Exercises for your arterio-venous fistula: before and after surgery”

#### 1.5 Cannulation Guidelines for AVF and AVG

Alert: AV Fistula and loop cannulation require expertise and should NOT be attempted by inexperienced staff unless the patient is in a life-threatening situation with no other suitable access.

###### 1.5.1 When to Cannulate New Accesses for Haemodialysis AVFs

- Newly created Native AVFs should be allowed to develop for at least 8-12 weeks prior to cannulation.

- Follow up review with vascular surgeon and ultrasound performed 5-6weeks post-op.

- AVF Fistulas shall not be cannulated earlier than 8 weeks Unless approved by renal physician/ vascular surgeon.

- Ready for Use will be documented on the DHR Record AVARTAR and can be documented by doctors, skilled dialysis nurses  or the Dialysis Access Nurse from renal outpatients.

###### 1.5.2 Who will Cannulate New Access for Haemodialysis

- Skilled dialysis nurses can commence cannulation if greater than 8 weeks post-surgery without written authorisation from vascular surgeon.

- Staff to complete Renal Vascular Access Cannulation package to be accredited. Only skilled dialysis access staff should cannulate newly developing fistulas.

- Recommendation is to assess AVF with ultrasound guidance for first cannulation.

- Always use a tourniquet with an AVF, even with well-developed fistulas.

- Recommended to cannulate at least 2.5cm to 5cm from the anastomosis.

- All staff to complete “Stop the Bleed” Training (either face to face or online),  to be able to educate patient.

- Provide emergency pack (including gauze and dots) and education to patients after first cannulation in prevention of slow rebleeding after discharge.

Note: Button-hole technique is no longer recommended due to infection risk and side effects. Specific cases where the technique may be appropriate need to be discussed with the Renal Specialist before it is used.

AVGs

- Initial cannulation of an AVG may occur two (2) weeks post-surgical creation and when there is evidence of complete wound healing. If concerned about wound healing, the vascular surgeon is to be contacted, and initial cannulation postponed until deemed suitable for cannulation by the surgeon.

- AVGs shall not be cannulated earlier than these guidelines without authorisation from the vascular surgeon, unless in event of emergency requiring administration of medication during a MET response.

- Cannulate at least 2.5cm to 5cm from the anastomosis.

###### 1.5.3 Cannulation Guideline of a New Access: Two Needles

| Week | 1 | 2 | 3 | 4+ |
| --- | --- | --- | --- | --- |
| Needle Gauge | 17g | 16g | 15g | 15g |
| Maximum pump speed mL/min | 200 | 250 | 300 | Recommended pump speed for gauge of needle |

Note: For flows of 400-450ml/min the dialysate flow should be between 700-800ml/min. If you are aiming for consistent blood pump flows >400 then a 14G needle will be appropriate please discuss with Nurse Unit Manager, Dialysis Access Nurse, or Clinical Nurse Consultant in consultation with Nephrologist.

- The above table refers to recommended needle gauges and blood flow rates (BFR). Each vascular access needs to be individually assessed at each treatment.

- Use the table above to guide on pump speed increase to target pump speed gradually this could be over 2-3 treatments.

- If BFR not tolerated due to high venous and/or low arterial pressures reduce BFR.

- These are minimum recommended gauges for the stated BFR settings. Larger needles, when feasible will reduce (make less negative) arterial pressure and increase delivered blood flow.

###### 1.5.4 CVC Removal

The patient’s CVC is not usually removed, unless directed by the medical team, until the patient has had a minimum of three consecutive successful arterial/venous needle cannulations (without infiltrations) at the prescribed BFR and needle gauge with the new AVF/AVG. Unless otherwise indicated, for example if an infection is suspected, then the CVC should be removed ASAP.

Once cannulation is established, refer to Central Venous Access Device (CVAD) Management Procedure for Removal Guidelines.

Back to Contents

## Section 2 – Arteriovenous Fistula (AVF) and Graft (AVG) Surveillance

#### 2.1 First Aid for Ruptured Fistula or Uncontrolled Dialysis Access Bleeding.

Stop The Bleed - Use a Lid

Emergency Dialysis Access Packs

- On commencement of dialysis, all patients with an AVF / AVG to be provided with an emergency pack and education so they know what to do in the event of a ruptured fistula.

- The Stop the Bleed – Use a Lid Emergency Dialysis Access Pack contains:

  - 5 lids

  - 1-2 Stop the Bleed – Use a Lid magnets

  - Dialysis Access Alert Card

  - STOP the Bleed – Use a Lid information.

- Important points when providing education:

  - Show the patient how to place the lid hollow-side down and press firmly

  - Ask the patient to demonstrate using the lid on their own dialysis access

  - Explain that they can use fingers/thumb or whole hand to hold lid in place. The aim is to exert enough pressure on the lid so that no blood leaks out, and to maintain pressure until ambulance arrives

  - The AVF/AVG site and the size of the patient’s arm

    - Patients with very thin arms may need a smaller diameter lid

    - AVF and AVG on the upper arm are more difficult for patients to exert pressure on

  - Ensure patient/carer understands that they MUST always carry a lid with them

    - The magnet with lid on it is intended to be placed on the fridge at home

    - All dialysis units have extra lids and magnets, and patients are invited to ‘top up’ their supply as needed.

- Alert: When conducting monthly vascular assessment, you must reinforce Stop the Bleed – Use a Lid education. - Ask patient/carer to demonstrate using the lid for an AVF/AVG rupture. - Suggest to patients and carers to always carry a lid with them. - Patients who reside in NSW also required a completed Advanced General Care Plan (Ambulance Plan) to ensure transfer to Canberra Hospital for Vascular Review as soon as possible.

In the event of an uncontrolled AVF / AVG bleed or rupture in a satellite dialysis unit or at Canberra Hospital

Satellite Dialysis Unit

- Place bottle lid HOLLOW SIDE DOWN over bleeding area and press firmly so that no blood leaks out.

- Call for help:

  - Call ambulance - 0-000 from internal phone.

  - Tell ambulance controller that the patient has an uncontrolled dialysis access bleed.

- You must continue to press firmly on the lid.  Note that it is ok for the lid to indent the skin.

- If appropriate you may tape the lid in place – however you must continue to monitor for signs of blood leaking out. DO NOT REMOVE THE LID

- The patient is to be transferred to Canberra Hospital Emergency Department for vascular surgery review.

Alert: If a lid is not readily available, press firmly over the site of bleeding with TWO fingers until lid is available.

DO NOT use gauze, towels, or pads to try to stop bleeding

DO NOT use a tourniquet to stop bleeding

Canberra Hospital

- Place bottle lid HOLLOW SIDE DOWN over bleeding area and press firmly so that no blood leaks out.

- Call for help

- Helper to dial 8 for MET response

- You must continue to press firmly on the lid. Note that it is ok for the lid to indent the skin.

- If appropriate you may tape the lid in place – however you must continue to monitor for signs of blood leaking out. DO NOT REMOVE THE LID

- The patient must have urgent vascular surgery review.

Alert: If a lid is not readily available press firmly over the site of bleeding with TWO fingers until lid is available.

DO NOT use gauze, towels, or pads to try to stop bleeding.

DO NOT use a tourniquet to stop bleeding.

Magnet given to all patients with Haemodialysis Access

Modified Vascular Access Risk Assessment and Escalation

For the Purpose of Surveillance of the AVF and AVG management, the development of the 2022 Modified Vascular Access Risk Assessment and Escalation (PYE Chart) is referred to in this guideline for management. When assessing patients access, please follow the PYE chart. See next page.

#### 2.2 Monitoring Haemodialysis Access

The monitoring of the dialysis access once created should be completed by following ways:

- Until patient is on dialysis, by the Renal Physician in the patients regular Nephrology clinic and can refer to DAN as required.

- The Southern New South Wales Local Health District (SNSWLHD) Renal Outreach Clinical Nurse Specialist (CNS2) or Renal Clinic RN (in the absence of a Renal Outreach CNS2) for patients residing in Southern NSW and attending NSW renal clinics.

- In the absence of Renal Outreach CNS2, the clinic nephrologist should refer the patient to the local dialysis unit for AVF/AVG surveillance and inform the relevant SNSWLHD Nurse Unit Manager (NUM). The NUM will arrange with the patient to attend the Dialysis Unit for regular surveillance if not established on haemodialysis.

- The primary dialysis unit provider for patients on RRT.

- The DAN during Renal Outpatient CHS clinic times and at vascular MDT clinics

For Transplant patients the Transplant Coordinator or the Renal Outreach CNS2 should discuss the following with the patient at their yearly transplant review along with other yearly required tests.

- Check patient has copy of fistula information handout.

- Provide education for Stop the Bleed.

- Check that the patient has supply of lids and fridge magnet available at time of return from transplant hospital.

- Complete Vascular Access assessment on the AVATAR on DHR yearly.

- Let patient know to contact DAN or Transplant co-ordinator if they have any concerns regarding their access.

Note: Please follow PYE Chart (page 9) Escalation process for any of concern, at risk or high-risk dialysis access.

A referral to the DAN through DHR for all vascular access issues identified by criteria in the PYE CHART and include a documented vascular access assessment with images provided where possible with permission from the patient to attach to the DHR

#### 2.3 Assessment of a New Vascular Access

Nursing vascular access assessments in DHR following creation of an AVF, to be completed by the primary renal nursing team or the Renal Physician at regular clinics:

- Six (6) weeks post-op – ultrasound and vascular surgeon review

- Ongoing management appointments as required.

Assessing the Access

Steps to be completed by Physician at clinic, outreach nurses, DAN, or Dialysis Nurses:

- Identify the correct patient with 3 points ID

- Perform hand hygiene

- Gain verbal consent from patient to examine the access

- Assess for evidence of bruising and swelling

- Examine access and incision site for infection/healing (redness, discharge and

- swelling)

- Check for signs of cyanosis of the fingertips and delayed capillary refill of the nail bed.

- Check patency by auscultation using stethoscope, listen for bruit at the arteriovenous anastomosis; note changes in pitch and amplitude of bruit along the vascular access path

- Check calibre of the access by palpating the entire length of the AVF, using fingers to determine width and length: a strong thrill should be palpable at the anastomosis, decreasing as fingers move further away from the anastomosis

- Check calibre of AVF by applying tourniquet enabling for easier palpation (not tight enough to occlude blood flow) and repeat above palpation

- Assess AVF with Onsite ultrasound, for access diameter, depth, and length

- Check for evidence of Steal Syndrome by comparing temperature, colour and sensation of comparative non-access arm and digits

- Document assessment in the DHR.

#### 2.4 Assessment of an Established Vascular Access

- Vascular Access assessments on established accesses should occur in the dialysis clinics at each dialysis session

- A vascular access assessment includes:

  - Physical assessment at each dialysis session e.g., bruit and thrill

  - Arm elevation test if abnormal bruit or thrill.

  - Access flow measurement using a Transonic® ultrasound machine. Refer to Haemodialysis for Adults Clinical Procedure.

- Please refer to the PYE Chart

- A referral to the DAN through phone or DHR depending on the PYE chart criteria is required for all vascular access problems e.g., cannulation problems, concern with aneurysms, lesions on the access arm, symptoms of Steal Syndrome causing pain, infections, and abnormal access flow or recirculation measurements.

###### 2.4.1 At the Start of Each Dialysis Session

- Dialysis Nurse is to perform a physical examination of the access site to look for potential problems/changes such as persistent swelling of the limb, presence of collateral veins, prolonged bleeding after needle withdrawal, or altered characteristics of pulse or thrill in the outflow vein. Refer to PYE chart.

- Assess for coldness or pain distally to the AVF/AVG during dialysis, decreased sensation, weakness, or other reduction in function including skin changes. Refer to PYE Chart

- Review dialysis clearances.

- Observe for clotting of cannula during cannulation.

- Observe for low blood pressure periods which can put the access at risk of clotting.

- Monitor venous and arterial pressures during dialysis. High venous pressures and low arterial pressures indicate a potential access issue.

- Monitor dialysis clearance. Decreased clearance may indicate access stenosis.

- Document and refer to the DAN through DHR for all vascular access problems as described above.

###### 2.4.2 Access Flow Measurements

- Flow based surveillance of a patient’s vascular access identifies patients at risk for inadequate dialysis and thrombolytic events. Access flow is measured using the Transonic® Machine.

- Refer to DAN through DHR in the event of an abnormal transonic measurement.

###### 2.4.3 Transonic Measurement Frequency

- Two (2) weeks after successful cannulation to establish a baseline reading.

- Every Three (3) months for access flow measurements, determining if in within normal range.

- One week post radiological intervention or as directed by DAN, Renal Specialist or Advanced Trainee Registrar (ATR).

- Monthly for problem access as defined by:

  - Greater than three radiological interventions annually

  - Previous stenosis identified

  - As directed by DAN, Renal Specialist or ATR.

Back to Contents

## Section 3 – Vascular Access Complications

#### 3.1 Access Flow Dysfunction

Dialysis unit nursing staff to notify DAN of abnormal access flow measurement as defined by:

- AVF flow < 500 mL/min

- AVG flow < 600 mL/min

- AVG/AVF flow > 1500 mL/min

- 30% decrease in transonic reading from previous reading

- Recirculation measurement > 0% using Transonic®.

Note: Notify all access flow dysfunction to DAN via DHR

###### 3.1.1 Management of Access Flow Dysfunction

DAN will liaise with Renal ATR and/or Renal Specialist to arrange subsequent treatment which may include:

- Fistulogram +/- Percutaneous Transluminal Angioplasty (PTA).

- DAN can refer direct to Vascular Surgeon for intervention and book in directly for already mature accesses. DAN can refer direct to intervention with Vascular team Ultrasound (US) not required and can be performed with Vascular Surgeon at time of procedure.

- Ultrasound of the vascular access, at the discretion of Renal Specialist and DAN or direct straight to Surgeon for Fistulogram

- Vascular Surgeon review.

Patient Education

- Patient education material available to patient include:

  - “What to expect when having a fistulogram”? Locate on the Policy and Guidance Document Register

  - “Stop the Bleed – Use A Lid “

- Once commenced on dialysis, dialysis nurses to provide education and devices for emergency management of bleeding fistula.  See 2.1 First aid for ruptured fistula or uncontrolled dialysis access bleeding.

#### 3.2 Vascular Access Thrombosis

Vascular access thrombosis is characterised by diminished or no blood flow through the AVF or AVG. Vascular access thrombosis is a major cause of access failure and early intervention is recommended to maximize success rate. Refer to PYE Chart.

Note: Radiological Intervention for thrombosed access recommended to occur within 24 hours of thrombosis and before the next haemodialysis session.  Please alert vascular surgeon if declotting is unable to occur within 24 hours through IR.

During Business hours, this intervention will be organised by the DAN in consultation with Renal ATR and/or Renal Specialist or the Vascular Access Surgeon. If outside business hours, need to go through On-Call Nephrologist.

Vascular Surgical Follow up post de-clotting, will be organised by the DAN. The DAN will consult with the Vascular Surgeon regarding follow up plan.

If anticoagulation ongoing therapy be required, please discuss with Nephrologist as Dual Platelet anticoagulation will exclude patients from Transplant Waitlist.

###### 3.2.1 Management of Thrombosed Vascular Access of all CKD and Haemodialysis Patients

Business Hours

Nursing Staff within Dialysis units are to alert DAN and/or Renal ATR of possible thrombosed access via phone not through DHR and:

- Take pre-intervention bloods including:

  - Electrolytes Urea Creatinine (EUC)

  - Calcium Magnesium Phosphate (CMPO4)

  - Full Blood Count (FBC)

  - Full Coagulation Profile (FCP)

- Instruct patient to fast until review by the DAN or Renal / Vascular team, as per Medical Imaging Procedure protocol.

Note: If the patient is an insulin-dependent diabetic – gain instructions from Renal ATR or Diabetic Educator

- Await instructions from DAN and/or Renal ATR

- DAN is to liaise with Renal ATR and/or Renal Specialist to arrange radiological declotting of AVF or AVG.

- After Hours

- Nursing Staff within Dialysis units are to alert the Renal Specialist on call.

- Take pre-intervention bloods including EUC, CMPO4, FBC and FCP if the patient is in the facility. If not in the facility, collection of bloods will be arranged by On-Call Renal Specialist or ATR.

- Instruct the patient to fast, until review of the DAN or Renal / Vascular team and as per Medical Imaging Procedure protocol.

Note: If the patient is an insulin-dependent diabetic – gain instructions form Renal ATR or Diabetic Educator

- Await instructions from Renal Specialist on call.

- Consider referring patient to the Canberra Hospital Emergency Department

#### 3.3 Vascular Access Stenosis

Vascular access stenosis is one of the major causes of dysfunction of an AVF and can lead to thrombosis and access failure. Refer to PYE Chart.

Stenosis of a vascular access is characterised by:

- Prolonged bleeding after removal of dialysis needles

- Increase in venous pressure

- Ongoing difficulties in cannulation

- Pain over fistula

- Aberrant Transonic® measurements

- Decreased dialysis clearance.

- High pitch sound instead of whooshing under stethoscope.

Note: Report all suspected dialysis access stenosis issues to DAN via DHR

###### 3.3.1 Management of Vascular Access Stenosis

- DAN will liaise with Renal ATR and/or Renal Specialist to arrange treatment, which may include:

  - Fistulogram +/- Percutaneous Transluminal Angioplasty (PTA)

- The DAN can refer directly for intervention with Vascular team access if patient hash suspected stenosis. If the patient is not using access for dialysis they will need Ultrasound and review with Surgeon.

- Vascular Surgeon review

#### 3.4 Dialysis Access Steal Syndrome

Patients with Steal Syndrome can present with paraesthesia, pain, ulceration, and tissue loss. Dialysis Access Steal Syndrome (DASS) tends to present earlier in patients with an AVG, compared to those with a native AVF and is more likely in diabetic and older patients.

###### 3.4.1 Dialysis Access Steal Syndrome Assessment

Post – Operative

Patients in high-risk groups (diabetes, elderly, those with multiple access attempts in an extremity) monitor closely for the first 24 hours postoperatively. Monitoring should include:

- Assessment of complaints, including sensations of coldness, numbness, tingling, and impairment of motor function (not limited by postoperative pain)

- Assessment of skin temperature, gross sensation, and movement and distal arterial pulses in comparison to the other limb

- Educating patients to immediately report any coldness, loss of motion, or significant reduction in sensation.

Established Access

Chronic Kidney Disease (CKD) patients with an established fistula to be assessed by the DAN, or the dialysis unit nursing staff if on dialysis.

Dialysis Access Assessment should include:

- Assessing for cold limbs or pain distal to the access during dialysis,

- Decreased sensation, weakness or other reduction in function including paralysis of weakness/clumsiness, or skin changes.

Note: Notify DAN if patient presents with symptoms of DASS and document in DHR.

###### 3.4.2 Management of Dialysis Access Steal Syndrome

- DAN will liaise with the Renal ATR and patient’s Renal Specialist or the Vascular access surgeon, confirming abnormalities by physical examination and duplex ultrasound.

- Patients with findings suggestive of ischemia should be referred to a Vascular Access Surgeon.

- Patient with reduced skin temperature, as an isolated finding, to have follow-up observation as arranged by the DAN.

- Back to Contents

## Section 4 – Central Venous Catheters

Central Venous Catheters (CVC) for haemodialysis may be non-tunnelled (designed for acute episodes and temporary duration) or tunnelled (for chronic use over a longer duration).

At time of insertion, DAN will arrange with Renal Specialist or Renal ATR to consent patient for use of Alteplase in the event the CVC malfunctions and Alteplase is required. This is for all patients referred for CVC insertion. Attach Alteplase Consent copy to DHR.

#### 4.1 Non-Tunnelled CVC

It is recommended Non – tunnelled CVC for haemodialysis be inserted into the jugular or femoral for short term. Only consider Subclavian if there are no other options.

Non-tunnelled CVC should be removed:

- For Femoral CVC after 3 days

- For Internal Jugular or Subclavian: after 2 weeks

- If the CVC shows signs of infection

- A blocked lumen is associated with increased risk of central line associated bloodstream infection (CLABSI) and the CVC should be replaced immediately, as per the CVAD Management – Children, Adolescents and Adults Policy.

Note: Insertion and removal of non-tunnelled CVC – Refer to Central Venous Access Device Management (CVAD)- Children, Adolescents and Adults (Not Neonates) Procedure.

Rewiring of a tunnelled CVC is not supported by the Renal Service

#### 4.2 Insertion of Tunnelled CVC

- Placement of a tunnelled CVC should take in consideration:

- Right internal jugular (RIJ) vein is the preferred site with respect to ease of access and lower rates of short- and long-term complications

- If right Internal jugular unable to be accessed, consideration of left side with longer length catheter as an alternative option

- A post procedural chest X-ray following internal jugular or subclavian catheter insertion must be performed to check placement of the tip where fluoroscopic guidance has not been used. Tip should be below the right atrial/internal jugular junction

- Upload report from outside Intervention Radiology to the DHR by DAN to confirm placement

- Tunnelled CVC must be sutured in place, at hub and wings.

- Document Tunnelled CVC length and diameter in the DHR.

- Patient must not shower for three days (72 hours) post CVC insertion.

Note: For insertion of CVC refer to CHS procedure – Central Venous Access Device (CVAD) Management – Children, Adolescents and Adults (Not Neonates)

Catheter Replacements

Where possible the RIJ catheter to be removed to allow replacement at the right side

#### 4.3 Tunnelled CVC Suture Removal

Post tunnelled CVC insertion, sutures are to be removed by the Dialysis Unit nurse at the time of a CVC dressing change. Removal to occur post CVC insertion at:

- Two weeks – sutures at the tunnel Insertion site

- Six weeks – sutures at the wing/hub site.

#### 4.4 Tunnelled CVC Dressing

CVC insertion sites must be assessed at the start of each dialysis session by nursing staff and dressing changes occur weekly, to minimise the risk of infection. Dressing changes occur at the same time as the weekly TEGO® needle free connector change, unless:

- there is evidence of inflammation at the insertion site

- if there is excessive fluid accumulation under the dressing

- the integrity of the dressing or seal is breached.

Refer to CHS Clinical Procedure – Haemodialysis and Therapeutic Plasma Exchange for Adults for access and management of TEGO® connectors for dialysis and blood collection.

Note: Change of CVC Dressing and Needleless Injection Cap is a Standard Aseptic Non-Touch Technique using sterile gloves

The recommended dressing for a CVC is a:

- Semi-permeable transparent occlusive film dressing for patients having an antimicrobial or anti-bacterial catheter locking solution

- Chlorhexidine impregnated semi permeable transplant occlusive film dressing for patients not having an antimicrobial or anti-bacterial catheter locking solution.

Equipment

- Basic dressing pack

- Dressing Trolley

- Chlorhexidine 2% alcohol 70% swab sticks use as suggested.

Note: DB ChloraPrep (3mL non tinted) can be used in place of swabs. If patient has a known allergy to Chlorhexidine, then Povidone-Iodine antiseptic wipes can be used.

- 30-50mL sodium chloride 0.9% for irrigation or sterile water can be used to clean debris if required

- Extra gauze as necessary

- Appropriate dressing

- Stitch cutter if needed for suture removal

- Personal protective equipment (PPE) including safety glasses, shield, or goggles

- Plastic apron (Optional)

- Non-sterile gloves

- Sterile gloves

Procedure

- Identify the correct patient

- Explain procedure and obtain patient’s consent.

- Assist the patient to a supine or semi-upright position unless contra-indicated.

- Perform hand hygiene or apply Alcohol Based Hand Rub (ABHR).

- Don Personal Protective Equipment (PPE).

- Prepare sterile equipment.

- Perform hand hygiene or apply ABHR.

- Don unsterile gloves.

- Remove old dressing and discard.

- Observe the site for signs of infection. If infection is suspected, swab the site for culture and inform the medical officer.

- Observe for catheter migration by checking the catheter position using catheters centimetre markings. If migration has occurred, immediately notify the Renal ATR and DAN during business hours or on call Renal Specialist after hours.

- It is recommended that at each dressing the CVAD length is measured as well as if there is any suspected catheter dislodgement and comparisons should be documented in the patients DHR Record.  (Infusion Therapy Standards of practice 2021 p.S119)

- Check for splits in catheter. If a split is suspected do not use and immediately notify the Renal ATR and DAN during business hours and On-Call Renal Specialist after hours.

- Remove gloves.

- Perform hand hygiene.

- Don sterile gloves.

- Position sterile dressing towel.

- Cleanse the area around the catheter insertion site with Chlorhexidine 2% alcohol 70% ChloraPrep™ 3mL. ChloraPrep™ applicator is squeezed to break ampoule and release antiseptic solution onto sponge. Solution then applied by gently pressing sponge against skin and then moving back and forth using friction for 30 seconds. The area covered should be allowed to air dry and cover the size of the intended dressing.

- Apply barrier film to prevent Medical Adhesive Related Skin Injuries (MARSI): apply an even coating of Cavilon No Sting Barrier Film to the area that will be covered by the adhesive dressing. Do not apply the film to the skin where the CHG gel pad is placed. Allow Cavilon No Sting Barrier Film to dry completely (approximately 30 seconds).

- Apply appropriate dressing and ensure the dressing seals around the catheter. Ensure CVC is secure.  DO NOT LEAVE THE CVC SITE EXPOSED cover with dressing ASAP

- Check the sutures, if present, to determine stability of the catheter. If sutures are due to be removed, remove sutures

Note: Refer to CHS Clinical Procedure – Haemodialysis and Therapeutic Plasma Exchange for Adults for access and management of TEGO® connectors for dialysis and blood collection

#### 4.5 Tunnelled CVC Complication

In the event of resistance or absence of blood return, check potential positional causes in the first instance. Instruct patient to sit up, turn head, cough, or move arm and consider reversing lumens prior to notifying the Renal ATR or DAN.

CVC complication is defined as:

- Difficulty aspirating and/or infusing.

- Clamp cracked or malfunctioning, replace with alternative clamp and contact DAN.

- Inability to maintain a sustained blood flow rate more than 250 mL/min for two (2) consecutive haemodialysis (HD) sessions.

- Inability to initiate a blood flow rate more than 200 mL/min for one (1) dialysis session.

- Arterial pressure higher than negative 250 mmHg (e.g., negative 300 mmHg)

- and /or venous pressure higher than 250 mmHg (e.g., 300mmHg).

- Maximum pressures should not exceed +/-250mmHg.

###### 4.5.1 Tunnelled CVC Complication Pathway

Immediate: Less than one week post insertion

If tunnelled CVC complication is identified within 1 week patient will require Chest X-Ray (CXR )post insertion CVC to be reviewed by Renal ATR and follow up as below:

- Catheter Tip Malposition:

  - ATR to contact Interventional Radiology to replace/reposition CVC

- Catheter Tip is in position:

  - Treat as Existing CVC > 1 week post CVC insertion

CVC complication pathway

Existing CVC: More than one week post insertion

| Tunnelled CVC Complication Identified |  |  |
| --- | --- | --- |
|  | Occluded/Unable to withdraw lock out or unable to dialyse. Heparin Lock can be pushed in Do Not Push in Alteplase Locks. Refer to DAN or on call Physician. Alteplase Lock or new Line. |  |
| Blood Flow < 200 ml/min |  | Blood Flow 200 – 250 ml/min |
| Refer to DAN |  | Refer to DAN |
| Alteplase Lock |  | Alteplase Lock at end of dialysis |

Note: Alteplase locks are NOT to be used for infected or suspected infected tunnelled CVCs.

###### 4.5.2 Alteplase for Tunnelled CVC (Dwell procedure)

Alteplase is a thrombolytic agent used for the treatment of CVC-related thrombosis. CVC thrombosis should be suspected if there is a decrease in blood flow rate or an impaired ability to withdraw or infuse fluid through the CVC. Once mechanical obstruction has been ruled out through visual inspection, patient re-positioning, and manual irrigation of lumens, Alteplase will be instilled as outlined in this procedure.

Alteplase locks are only to be administered in the event of a malfunctioning CVC as defined in 4.5.1. Existing CVC: > 1 week post insertion. Renal ATR or Renal Specialist to approve administration of Alteplase.

Alteplase should not be ordered for CVCs that have been placed within 1 week, as problems related to the occlusion of CVC during this period are a result of mechanical problem; therefore, line change should be considered.

If mechanical problems are excluded, and CVC is in the correct position. Alteplase could be considered as per medical instruction.

Renal ATR or Renal Specialist to approve administration of Alteplase. A written order is required from a Medical Officer before Alteplase is administered.

Approval from the primary Renal Specialist is required for patients with long-term tunnelled CVC whose lumens are routinely locked with Alteplase.  The Renal Director must be informed of each patient receiving long term Alteplase. Any long-term Alteplase use should be discussed in an MDT meeting with Unit Director, Primary Renal Specialist, DAN, and care team.

Alteplase use should only be alongside a long-term access management strategy.

Patient written consent is required prior to administration of Alteplase. Consent is valid for 12 months, or the time specified on the consent form written by the Renal ATR and/or Renal Specialist. If not specified for 12 months, the consent is only valid for 3 months.

Remote Consent for Alteplase

Alteplase consent can be done over the phone with the patient and dialysis nurse by the Renal ATR or Renal Physician to then document in DHR.

Consent to be uploaded to the patients DHR if not able to be done as consent in person in DHR under consents.

Note: All efforts should be made to limit a maximum of 2 doses of Alteplase within a 2-week time period. If this has occurred, the patient’s primary Renal Specialist should be notified, and CVC viability should be assessed.

Note: Alteplase should be reconstituted immediately before use. Reconstituted solution may be used within 8 hours.

Equipment

- 2 x Vials Alteplase 2mg from medication fridge

- 1 x 10ml water for injection BP

- 4 x 3ml luer-lock syringes

- 2 x blunt fill needles

- 2 x medication additive labels

- 2 x 10mL pre-filled syringes NaCl 0.9%

- Sterile dressing pack

- 2 Chlorhexidine 2% Alcohol 70% swabs. (If patient has a known allergy to Chlorhexidine, then Povidone-Iodine antiseptic wipes can be used)

- 1 protective barrier pad (Bluey)

- Sharps container

- Nonsterile gloves

- Appropriate PPE

Note: Larger volumes are required for longer CVC lumens and may exceed 2ml. In this case, use an extra solvent (water for injection) that equals the lumen volume. No more than 2 mg / lumen

Preparation

- Check each lumen volume either as documented in DHR or via visual inspection of CVC insitu.

- Obtain Alteplase order on DHR and scan or fax the completed SAS form to pharmacy.

- Check medication with 2 staff as per IV protocol.

- Clean table with neutral detergent wipe

- Assemble equipment as listed above.

- Perform hand hygiene.

- Don non-sterile gloves

- Withdraw 2.2ml water for injection into 1 x 3ml syringe.

- Inject the 2.2ml water for injection into one Alteplase vial.

Note: Alteplase may foam slightly, let the vial stand undisturbed to allow large bubbles to dissipate.

- Mix by gently swirling until the contents are completely dissolved. Complete dissolution should occur within 3 minutes. DO NOT SHAKE.

- Repeat the same process for the 2nd Alteplase vial.

- Complete the additive label and attach to each prepared Alteplase syringe.

Note:  Cathflo Activase (Alteplase) contains no antibacterial preservative and should be reconstituted immediately before use. The solution may be used for intra-catheter instillation within 8 hours following reconstitution when stored at 2 – 30 ° C (36 – 86 ° F).

In emergency situations only where Alteplase has dwelled for 1 hour, as per manufacturer recommendations, CVC may be accessed for i.e. hyperkalaemia.

Instillation Procedure

Explain procedure and check patient written consent this should be on the DHR record from date of insertion if not Contact the DAN to complete Consent with Renal ATR.

Confirm Alteplase order with second staff member.

Correctly identify patient with second staff member

Assist the patient to a supine or semi-upright position unless contra-indicated.

Place Bluey under the CVC lumens.

Perform hand hygiene.

Prepare sterile equipment.

Place syringes containing reconstituted Alteplase next to the sterile field.

Perform Hand Hygiene.

Don PPE and non-sterile gloves.

Place drape under lumens.

Using 1 x sterile gauze hold CVC lumen and clean the hub of the TEGO® connector vigorously with chlorohexidine swabs for at least 15 seconds, allow to dry.

Attach an empty 3mL syringe into Tego® connector to both lumens. You can now place syringe onto drape.

Withdraw 3mL of blood from each lumen.

Replace each 3mL syringe with 10ml syringe of NaCL 0.9%. Flush both lumens.

One at a time, remove 10mL syringe form CVC lumen and attached 3ml syringe containing Alteplase. Infuse amount indicated on CVC lumen plus 0.1 to 0.2mls additional volume.

Remove syringes and discard all items appropriately.

Perform hand hygiene.

Document on DHR (dialysis access event).

Sign administration of medication order on DHR

#### 4.6 Troubleshooting CVC Complications (non - flow issues)

###### 4.6.1 CVC Infection

- If a CVC infection is suspected or confirmed, Renal ATR and/or Renal Specialist to manage treatment.

- Catheter removal should be the first consideration in treatment.

- Following CVC removal either delayed placement of a new CVC or replacement of CVC is possible depending on clinical presentations.

###### 4.6.2 Cracked CVC Clamps

- Replacement Rescue clamps can be used in this instance however consideration for CVC replacement is best practice as recommendation from supplier is this is a temporary solution.

- Refer to DAN for CVC line replacement management.

###### 4.6.3 Absent TEGO®

If TEGO® absent on 1 or both lumens:

- Do not use the CVC.

Clean thoroughly with Chlorhexidine 2% Alcohol 70% swabs

Apply TEGO® to lumen/s.

Immediately notify the Renal ATR and DAN during business hours OR on call Renal Specialist after hours.

Antibiotic Cover and consideration of salvage of CVC if appropriate. Must be discussed with Nephrologist or on call Renal Specialist after hours specialist.

###### 4.6.4 Damaged or Split Catheter

- If a damaged or split in a CVC is suspected:

- Do not use the CVC.

Cover the damaged area with sterile gauze and tape.

Clamp and seal a damaged catheter.

  - (e.g., clamp, cover the damaged area with adhesive dressing material, or fold the external segment and secure) between the catheter exit site and the damaged area immediately to prevent air.

  - embolism or bleeding from the device immediately. Label the damaged catheter “Do Not Use.”

Monitor patient for signs of air embolism.

Immediately notify the Renal ATR and DAN during business hours OR on call Renal Specialist after hours.

Arrange immediate removal of split CVC.

Infusion Therapy Standards of Practice 20216also recommend:

- Seal a damaged catheter between the catheter exit site and the damaged area immediately to prevent air embolism or bleeding from the device.(e.g., clamp proximal to the split/fracture and cover the damaged area with adhesive dressing material, or fold the external segment and secure).

- Label the damaged catheter “Do Not Use”.

- Patient will need to be monitored for signs of air embolism.

- In this event, contact Renal ATR or on call Nephrologists. Use Replacement clamps as above if cracked clamp.

- Contact DAN if during business hours to seek replacement if patient not considered urgent risk of replacement. Otherwise refer to ED department.

###### 4.6.5 Cuff Exposure

If the cuff of the CVC edge is exposed, please Refer to the DAN for outpatient management. If the whole cuff is exposed call the DAN or on call Physician for management if out of business hours.

###### 4.6.6 Suspected Infection

If patient has fever or evidence of localised infection at CVC site DO NOT USE CVC for Dialysis.  Consult with ATR, DAN or on call Physician.  Patient will require blood cultures and emergency management.

#### 4.7 Removal of Tunnelled CVC

Refer to Central Venous Access Device (CVAD) Management – Children, Adolescents and Adults clinical guideline (Not Neonates) procedure

- Central venous catheter tips of all central lines must be sent to pathology for culture. Cut the catheter 5cm from the tip with sterile scissors and place in a sterile specimen container.

- Check full coagulation profile (FCP) and full blood count (FBC) within one week prior to procedure.

- Withhold oral anti-coagulants (e.g., warfarin/apixaban) 2-3 days prior to procedure, as per ATR orders.

- International Normalised Ratio (INR) result should be less than 1.5 – check on day of procedure.

- If the CVC has evidence of infection (redness, purulent discharge etc.) then peripheral and central blood cultures (from the infected CVC) must be collected and sent for culture.

- Tunnelled CVCs are removed by the Renal ATR or an approved medical officer.

- Removal of a tunnelled CVC is a surgical aseptic non touch technique.

Equipment

- PPE including safety glasses, shield, or goggles.

- Sterile gown

- Sterile gloves

- Basic dressing pack

- Chlorhexidine 2% alcohol 70% swab sticks x 2 (If patient has a known allergy to Chlorhexidine, then Povidone-Iodine antiseptic wipes can be used).

- Gauze swabs

- Syringes 10mL x 1

- Needles, 19G, 25G x 1 each

- Local anaesthetic (Lignocaine 1%) ampoules x 2

- Suture set

- Scalpel blade, size 11

- Clear occlusive dressing

- Suture material 4/0 Prolene

- Sterile specimen container

- Sterile scissors

- Blunt drawing up needle.

- Steri-strips

- Mosquito forceps

Procedure

- Identify the correct patient

- Explain procedure and obtain patient’s written consent.

- Obtain vital signs and record on DHR.

- Perform hand hygiene or apply ABHR.

- Don protective glasses or goggles.

- Position the patient in a supine position at no greater than 45 degrees.

- Instruct the patient the method of performing a Valsalva manoeuvre:

- The Valsalva Manoeuvre: Ask the patient to take a deep breath and hold it while the catheter is removed with even pressure. Rationale: The Valsalva Manoeuvre will raise intra-thoracic pressures, decrease venous return, and prevent air being drawn into the circulation

Medical Officer to perform hand hygiene and don sterile gloves.

Prepare equipment.

Nursing staff to assist the medical officer as required including preparing equipment and assisting during procedure.

At time of CVC removal medical officer to instruct patient to perform the Valsalva Manoeuvre. Insertion site may require suturing after removal of tunnelled catheter.

Hold pressure over the CVC vein insertion site for 20 to 30minutes (not over the exit site).

Medical officer to cut the tip of the catheter 5cm from the tip with sterile scissors and place in a sterile specimen container.

The medical officer may apply sutures to the wound. The wound sutures can be removed in 7-10 days either at dialysis or with the GP.7-10 days.

Apply 3 steri strips and folded gauze over the site. Cover with clear occlusive dressing. This clear occlusive dressing should remain in situ for 7-10 days.

Remove gloves, perform hand hygiene.

Label the specimen container with patient’s ID label, date, time & nature of specimen. Send to Pathology.

Note: For suspected or confirmed infected CVCs – mark Pathology Form “Prolonged Incubation”

Observe site for ooze after 30 minutes and vital signs every 15 minutes for 1 hour. Patient may sit up if nil ooze.

Record the procedure in the patient's DHR and update on Avatar.

Advise patient to attend their nearest Emergency Department if site has obvious bleeding that does not stop if pressure applied and/or a haematoma (swelling under skin) at vein puncture site.

Check vital signs and postural BP on discharge.

If nil ooze at site and vital signs stable, patient may leave.

Follow-up pathology catheter tip result and document on DHR– advise ATR or renal specialist of a positive result.

Provide patient with education regarding care and information handout on CVC Removal.

Document access removal on DHR AVATAR

#### 4.8 Removal of Tunnelled CVC for End of Life (EOL) management

- This should be discussed with patient, their family and consulting team

CVC should be removed once patient has withdrawn from dialysis should the team and patient wish this to occur for patient comfort and safety during the EOL period

Removal should be considered in transferring to hospice.

If the CVC is not at risk of discomfort or safety the CVC can remain insitu

Note: If the patient is expected to pass away within 24 hours, it may be respectful to leave insitu unless causing discomfort to patient. If the patient is transferred for end-of-life care at another centre and has not died after 14 days, arrangements should be made for redressing by appropriately trained staff.

Catheters can remain in situ at time of death. Rarely will any religions have an issue. If there is an issue (i.e. Islam require everything off the body), the mortician and/or the ritual washing teams will remove it. Otherwise, if the nurse preparing the body of the deceased deems necessary, they could remove it, noting the funeral directors will consult with family and remove it if it’s in situ when the deceased comes into their care 11.

Back to Contents

## Evaluation

- Outcome

- Aim to increase awareness of procedures around dialysis access

- Improve patient outcome in events associated with prevention and management of malfunctioning dialysis access both AVF’s AVG’s and Central Venous Catheters

- Improve referrals to vascular and Interventional radiology are processed in a timely matter

- Improve number patients using access created and ready for use at time of commencing dialysis

- Improve management strategies of patients with thrombosed fistulas native and grafts.

- Improve management of patients with access spontaneous ruptures.

- Measures

- Regular reviews and reporting at Renal Quality and Quarterly Strategy Meetings

- Review and Report on referrals, access readiness and thrombosed access management at Renal Vascular MDT Meetings

- Clinical and quality outcomes are evaluated through patient experience, reporting at Morbidity and Mortality and Feedback through Renal Advisory Group Meetings.

Back to Contents

## Related policies, procedures, guidelines and legislation

#### Policies

- Nursing and Midwifery Continuing Competence Policy

- Medication Handling

#### Procedures

- Health Care Associated Infections Clinical Procedure

- Patient Identification and Procedure Matching Policy

- Surgical Safety Checklist Procedure

- Peritoneal Dialysis

- Central Venous Access Device (CVAD) Management- children, Adolescents, and adults (not neonates)

- Aseptic Technique

- Patient Identification - Pathology Specimen Labelling

- Haemodialysis and Therapeutic Plasma Exchange for Adults

- Aseptic Technique

- Vital Signs and Early Warning Scores the Canberra Hospital Inpatients

- University of Canberra Hospital (UCH) – Vital Signs and Early Warning Scores

#### Guidelines

- Intermittent Haemodialysis Operational Guideline

- Fasting Guidelines for Patients requiring Sedation or Anaesthesia

- Consent for Healthcare Treatment

- Renal Vascular Multidisciplinary Model of Care Collaboration of Renal Medicine and Vascular Surgery 2022

#### Legislation

- Health Records (Privacy and Access) Act 1997

- Human Rights Act 2004

- Work Health and Safety Act 2011

- Carers Recognition Act 2021

#### Other

- Australian Charter of Healthcare Rights

- Back to Contents

## References

- Kidney Health Australia –CARI Guidelines. Vascular Access. Treatment of Dialysis Vascular Steal Syndrome. August 2011

- Kidney Health Australia –CARI Guidelines. Vascular Access. Treatment of the thrombosed AVF/AVG: Surgical vs radiological therapy. November 2011

- KHA-CARI Guideline: Vascular access – central venous catheters, arteriovenous fistulae, and arteriovenous grafts. Polkinghorne KR, Chin GK, MacGinley RJ, Owen AR, Russell C, Talaulikar G, Vale E, Lopez-Vargas PA. Nephrology 2013; 18(11): 701-5.

- National kidney Foundation – KDOQI Guidelines. Clinical Practice Guidelines for Vascular Access. 2006

- Gorski, L.A. Hadaway, L. Hagle, M.E. Broadhurst, D. et. al, 2021, Infusion Therapy Standards of Practice, 8th Edition, Infusion Nurses Society

- https://www.vasbi.org.uk/media/resources/needling_guidelines2018.pdf

- http://www.bcrenal.ca/resource-gallery/Documents/Rope%20Ladder%20Cannulation%20of%20Fistulas%20and%20Grafts%20Guideline_0.pdf

- Central Venous Access Device (CVAD) Management – Children, Adolescents and Adults (NOT Neonates).docx (sharepoint.com)

- care-of-needling-sites-after-hemodialysis-pdf (stjoes.ca)

- Manager Spiritual Support Services CHS Feb 2024

- Back to Contents

## Definition of terms

Anastomosis – In an AVF, the point where a vein and an artery are connected. In an AVG, the location where the graft is connected to the patients’ vein and artery. An AVG has 2 anastomosis and an AVF has 1 anastomosis.

Arteriovenous fistulae (AVF) - The connection of a vein and an artery, usually in the forearm, to allow access to the vascular system usually for renal replacement therapy, a procedure that performs the functions of the kidneys in people whose kidneys have failed. Connecting the vein and artery is a surgical procedure. The fistula develops over a period of months after the surgery.

Arteriovenous Graft (AVG) - arteriovenous connection consisting of a venous autograft or xenograft or a synthetic tube grafted onto the artery and vein.

Bruit – an audible vascular sound associated with turbulent blood flow. Often described as a ‘whooshing’ sound. Usually heard with a stethoscope near the fistula incision site.

Central Venous Catheter (CVC) – Dual lumen catheter tubing placed into the jugular, femoral or subclavian veins. These catheters may be tunnelled or non-tunnelled and used specifically to deliver high blood flow for haemodialysis.

Thrill – the vibration caused by blood flowing through a fistula. Can be palpated with fingers just above incision site.

Tunnelled Central Venous Catheter (CVC) - A catheter that is inserted into a vein at one location (neck, chest, or groin), and tunnelled under the skin to a separate exit site. Designed to specifically to deliver high blood flow for haemodialysis.

Steal Syndrome - A condition where limb ischemia occurs due to the shunting of blood through the fistula or graft, resulting in an inadequate supply of blood being delivered to the distal extremity causing the following symptoms in the affected limb – pale skin, pain, weak or absence of pulse, coldness, and numbness in extremity. If suspected – requires urgent assessment and possible surgical intervention.

Back to Contents

## Search terms

CVC, Haemodialysis, Dialysis, Vascular Access, AVF, AVG, tunnelled CVC, steal syndrome.

- Back to Contents

##### For Policy Team to complete:

| Date amended | Section amended | Divisional approval | Final approval |
| --- | --- | --- | --- |
| 27/08/2024 | Complete Review | Andrew Slattery, ED, Medicine | OOS - PDRP |

This document supersedes the following:

| Document number | Document name |
| --- | --- |
| CHS20/100 | Renal Vascular Access For Renal Replacement Therapy in Adults |

##### Disclaimer

This document has been developed by Canberra Health Services specifically for its own use.  Use of this document and any reliance on the information contained therein by any third party is at his or her own risk and Canberra Health Services assumes no responsibility whatsoever.

- Back to Contents

| Acknowledgement of Country Canberra Health Services acknowledges the Ngunnawal people as traditional custodians of the ACT and recognises any other people or families with connection to the lands of the ACT and region. We acknowledge and respect their continuing culture and contribution to the life of this region. © Australian Capital Territory, Canberra 2024 | Accessibility call (02) 5124 0000 Interpreter call 131 450 canberrahealthservices.act.gov.au/accessibility |
| --- | --- |