# Canberra Health Services

Procedure

Plaster and Polyester Cast Management (Adults and Children)

# Contents

Contents	1

Purpose	2

Alerts	2

Scope	2

Section 1 – Overarching Principles	3

Section 2 – Casting Materials	4

Section 3 – Cast Application Principles	5

Section 4 – Cast Application Procedure	6

Section 5 – Back Slab Procedure	14

Section 6 – In Hospital Care	17

Section 7 – At Home Care Instructions	18

Section 8 – Cast splitting	20

Section 9 – Cast Removal	21

Evaluation	23

Related Policies, Procedures, Guidelines and Legislation	23

References	24

Search Terms	24

# Purpose

The purpose of this procedure is to provide guidance for the safe and effective application and management of casts at Canberra Health Services (CHS) outpatient and community-based service settings for both admitted and non-admitted patients. Local pathways and business rules apply in each setting.

Back to Table of Contents

# Alerts

Check for patient allergy status before commencing any procedure

Assess neurovascular status of affected limb pre and post procedure

Assess for oedema and swelling

Remove constricting clothing/rings/jewellery on affected limb

Circumferential casts should not be applied in the presence of significant swelling and oedema or within the first 72 hrs after an acute injury

Check skin integrity prior to treatment and do not apply a circumferential cast over a wound that requires monitoring or dressings. In serial casting for deformity circumferential casting may be required to continue with appropriate wound review/dressing.

Waterproof underpadding should not be applied to patients with eczema, psoriasis or other significant dermatological conditions.

Assess patient capacity to understand and comply with cast management instructions.

Back to Table of Contents

# Scope

This document pertains to all admitted and non-admitted patients across the CHS Network including the inpatient facilities at Canberra Hospital, Clare Holland House, North Canberra Hospital, and University of Canberra and community based services, requiring plaster or polyester casts including back slabs.

# This document applies to CHS staff working within their scope of practice with the appropriate training/competencies, including:

Medical Officers (MO)

Nurses and Midwives

Physiotherapists

Students under direct supervision.

- Note:

- Staff within scope should follow local pathways and business rules in each area.

Back to Table of Contents

# Section 1 – Overarching Principles

Casts are applied to:

- Provide immobilisation and maintain the required position of a limb in the presence of a fracture, suspected fracture,  soft tissue injury or underlying structural damages.

- Provide immobilisation and maintain required positioning of the affected limb following an operative procedure.

- Prevent or correct deformity.

Type of Cast:

The clinical decision made by Medical Officer (MO), Advanced Practice Physiotherapist or Physiotherapist with Extended Practice Scope , will determine the type of cast and materials used within the cast. The position of the limb in the cast is determined by:

- Time from injury/operative procedure

- Location and type of fracture, soft tissue injury, operative procedure or deformity requiring correction.

To decrease post cast stiffness and promote early return to function, casts should immobilise the minimum number of joints needed to reduce and support the fracture/injury/operative procedure site.

The specific type of cast and limb position must be documented by the MO, Nurse Practitioner, Advanced Practice Physiotherapist or Physiotherapist with Extended Practice Scope,  prior to application.

Casting Procedure Principles:

Application of a cast may cause pain or discomfort to the patient and analgesic needs should be assessed prior to commencing the procedure

During the procedure, patients should be positioned to ensure:

comfort and safety whilst also maintaining fracture/operative site stability

the ergonomic safety of the health professional applying the cast

All casts (backslabs and complete casts) have the potential to cause neurovascular compromise, pressure injury and skin breakdown. All care should be taken during the application of these devices, to minimise these risks

It is the responsibility of the health professional to provide both verbal and written follow up instructions  (refer to section 7 – At home care instructions) regarding the care of their cast and limb. Instructions should include but are not limited to the signs of neurovascular compromise and when to seek urgent medical attention.

Special Considerations

Wounds

If a surgical incision is observed with 100% unionisation of wound edges, further reinforcement of wound edges with Steri Strips TM can be considered. No dressing should be applied under a cast as this can cause discomfort and result in wound breakdown.

If a wound is present and requires a dressing, then a circumferential  cast should NOT be applied. Alternatively, a back slab can be applied to monitor wound healing progression.

Skin Protection

Protection of the skin from the overlying polyester or Plaster of Paris is essential to prevent skin breakdown, pressure injuries and related complications

Waterproof casts should not be used for an above elbow cast or a long leg cast as these casts cannot sufficently drain at the elbow and ankle causing  skin irritatation  and macerattion

The appropriate amount of padding, especially over bony prominences, which are susceptible to pressure and skin breakdown from the cast, should be used. Extra padding may be needed in such areas (e.g. lateral epicondyle, ulnar styloid, medial and lateral malleolus). This should be assessed for each patient taking account of their age, skin integrity  and body weight

Excess padding, especially around the fracture site, should be avoided as it can lead to a loose cast that provides inadequate immobilisation.

All care should be  provided in accordance with the following Canberra Health Services Clinical policies and procedures:

- Infection prevention and control - healthcare associated infections

- Patient identification and procedure matching

- Informed Consent - Clinical

- Work Health and Safety

- Orthopaedic surgery – pre- and post-operative management in adults

- Pressure injury prevention and management – adults, children and neonates

Back to Table of Contents

# Section 2 – Casting Materials

Polyester and Plaster of Paris are the most widely used materials.

Plaster of Paris (POP)

POP is a cotton/synthetic blend bandage roll impregnated with Plaster of Paris (Gyspsona). Water is used to initiate an exothermic reaction which results in hardening of the material. POP will generally start to harden (set) in 3 - 15 minutes, reaching full hardness in 24 hours, but takes 24 - 48 hours to fully dry . Setting and drying time vary due to the thickness of plaster applied.

POP may be cut into rectangular strips and layered to produce sufficient strength to create a back slab or rolled directly onto the patient’s limb.

Polyester Casting bandage e.g. Delta-Cast® Elite ; Delta-Cast® Prints

A knitted polyester bandage impregnated with polyurethane. Water is used to initiate an exothermic reaction which will generally start to harden in minutes and be fully set in approximately 30 minutes.

Underpadding

- Non-waterproof skin protection is provided by using an appropriately sized stockinette, e.g. Protouch® Stockinette,  combined with a secondary layer of undercast padding such as Softban Natural or Velband.

- Waterproof skin protection is provided by using product such as Delta Dry®

Back to Table of Contents

# Section 3 – Cast Application Principles

- Polyester Casting bandage or POP should not come in to contact with patient’s skin.

Note: Positioning of all casts must be confirmed with Medical officer, Nurse Practitioner, Advanced practice physiotherapist or physiotherapist with extended practice scope prior to application.

- Skin protection can be provided by using either a combination of appropriate size stockingette e.g. Protouch® Stockinette and bandage type padding e.g. Softban Natural® or waterproof bandage type padding e.g. Delta Dry®

- Stockingette should be firm against the skin, but not tight, and free of wrinkles

- Under padding should be applied flat to the skin without creases or lumps, using a 50/50 overlap technique which must not be applied too tightly

- Underpadding should extend sufficiently to protect the skin from the edge of the cast approximately 1-2cm past the casting material

- Cast application according to the written instructions of the MO and in a position of safe immobilisation which maximises return to function

- Casts should be applied to immobilise the minimum number of joints whilst still supporting the fracture/injury/operation site

- POP or polyester casting bandage should be applied in the minimum number of layers needed to ensure a robust cast that meets the clinical requirements but does not impede the patient’s ability to move non-involved joints or complicate removal

- POP or polyester casting bandage  should be applied with minimal tension and should be smooth and wrinkle free to protect skin integrity and minimise risk of pressure injuries and circulatory compromise

- The cast should feel firm, supportive and comfortable. It should also conform to the limb.

Back to Table of Contents

# Section 4 – Cast Application Procedure

Equipment for Plaster of Paris application

- Disposable scissors

- Non-sterile disposable gloves

- Apron

- Bowl of water

- Plastic sheet or towel

- Support pillow or bolster if applying a lower limb cast

- Stockinette – Protouch® (Size appropriate)

- Underpadding e.g. Softban Natural® (width dependent on limb size)

As a guide only:

- 5cm for infant/paediatric upper limb casts

- 7.5cm for adolescent/adult upper limb and paediatric lower limb casts

- 10cm for Adult lower limb casts.

Plaster of Paris (width dependent on limb size)

As a guide only:

- 5cm for infant/paediatric upper limb casts

- 7.5cm for adolescent/adult upper limb and paediatric lower limb casts

- 10-15cm for adult lower limb casts.

Equipment for waterproof cast

- Non-sterile disposable gloves

- Disposable scissors

- Bowl of water

- Plastic sheet or towel

- Support pillow if applying lower limb cast

- Waterproof underpadding e.g. DeltaDry® (width dependant on limb size).

As a guide only:

- 5cm for infant/paediatric upper limb casts

- 7.5cm for adolescent/adult upper limb and paediatric lower limb casts

- 10-12cm for adult lower limb casts.

Polyester casting bandage (width dependant on limb size).

As a guide only:

- 2 inch for infant/paediatric upper limb casts

- 3 inch  for adolescent/adult upper limb and paediatric lower limb casts

- 4 inch  for adult lower limb casts.

Equipment for non- waterproof cast

- Non-sterile disposable gloves

- Disposable scissors

- Bowl of water

- Plastic sheet or towel

- Support pillow if applying lower limb cast

- Stockinette for underlay e.g. Protouch® Stockinette

- Bandage type padding e.g. Velband®

As a guide only:

- 5cm for infant/paediatric upper limb casts

- 7.5cm for adolescent/adult upper limb and paediatric lower limb casts

- 10-15cm for adult lower limb casts

Polyester casting bandage (width dependant on limb size)

As a guide only:

- 5cm for infant/paediatric upper limb casts

- 7.5cm for adolescent/adult upper limb and paediatric lower limb casts

- 10-15cm for adult lower limb casts

4.1 Procedural process for cast types

- Confirm MO instructions

- Confirm patient identification as per Patient Identification and procedure matching procedure

- Perform hand hygiene

- Assess analgesic requirement

- Assess skin condition and pressure injury risk

- Assess patient capacity to assist and comply with instructions and need for additional staff.

- Offer patient skin wipes or the opportunity to wash own limb

- Position patient for safety and comfort

- Ensure manual handling safety of health professional

- Short arm cast- position patient seated with elbow resting comfortably on bed or table with hand pointing up towards ceiling with thumb out and in line with shoulder. Ensure arm is in neutral position (mid-pronation), not extended or hyper-extended

- Scaphoid cast- position patient seated with elbow resting comfortably on bed or table with  fingers  pointing up to the ceiling and  thumb in position of function (e.g. holding a can), wrist extended to 20-25 degrees and forearm in neutral position

- Long arm cast-position patient seated with arm bent at a right angle (90 degree) at the elbow and forearm parallel to chest, thumb pointing the to the ceiling

Note:

If the MO requests that the arm is to be positioned in pronation or supination, then this position will change.

- Short leg cast- Position patient supine or prone on bed with bolster under knee and ankle dorsiflexedto plantargrade (90 degrees) so toes are pointing to the ceiling

- Long leg cast-Position patient supine on bed with bolster under thigh, knee flexed to 30 degrees and ankle dorsiflexed to plantargrade so toes are pointing to the ceiling. A hip spica box with appropriate sized paddles can be used

- Apply skin protection according to cast type and location

- Apply casting material according to cast type and location

- Check neurovascular observations post application of cast

- Provide patient with written and verbal instructions for cast care. Written instructions are summarised on the following CHS consumer handouts:

- Caring for your waterproof cast

- Caring for your non-waterproof cast

- Backslab Care.

- Document procedure. All interventions must be documented in the Clinical Record and should include:

- Neurovascular observations and pain score before and after application of cast

- Analgesia used

- Type of cast applied (including side Left/Right)

- Follow up arrangements e.g. outpatient department, GP

- Confirm education and advice given.

4.2 Procedures for Specific Cast Types

4.2.1 Short arm cast

- Non-waterproof

As per section 4.1, complete procedural process to step 8

Measure limb with measuring tape or left-over bandage padding to  cut appropriate sized stockinette

Stockinette should be firm against the skin, wrinkle free and not tight

Cut a small hole in the stockingette at the level of the thumb to allow the thumb to poke through

Make two parallel cuts at the edge of the stockinette next to the index and little fingers to assist with folding over the stockinette and padding layer onto the polyester casting to form a protective edge

Apply underpadding bandage roll e.g.Softban Natural®,commencing with one turn around wrist to provide an anchor point and angling up across the palm to provide padding to the hand. Ensure underpadding sits approximately 0.5cm below edge of stockinette

Cut bottom of underpadding when approaching thumb to conform padding between webspace and allow thumb and the thenar eminence to move freely. Apply two layers around hand using this method

Spiral down in a 50% overlap over wrist and down to 1 cm before the cubital fossa

Ensure the under padding is flat to the skin without creases or lumps and not too tight. Making small cuts with scissors can assist with flattening padding

An extra layer may be applied to protect bony prominence at ulna styloid if patient is at risk of pressure injury

Apply appropriate size POP or polyester casting bandage as per section 4.2.2 or 4.2.3 respectively.

- Waterproof underpadding

As per section 4.1, complete procedural process to step 8.

Waterproof underpadding e.g. Delta Dry® may have an adhesive on one side. Apply with adhesive side away from skin as it may cause irritation if applied directly to the skin. Follow manufacturer’s instructions when applying.

Apply waterproof underpadding commencing with one turn around wrist to provide an anchor point and angling up across the palm to provide padding to the hand.

Cut bottom of underpadding when approaching thumb to conform padding between webspace and allow thumb to move freely. Apply two layers around hand using this method.

Continue along arm with 50% overlap to 1cm below cubital fossa.

Ensure the under padding is flat to the skin without creases or lumps and not too tight. Making small cuts with scissors can assist with flattening padding.

Apply appropriate size polyester casting bandage  as per section 4.2.3.

4.2.2 POP

Select appropriate size POP

Submerge POP in water until the roll bubbles are out. Gently tap POP on edge of bowl to remove excess water; squeezing the plaster once only.  DO NOT squeeze water out

Roll wet plaster on to prepared limb ensuring application without wrinkles

Apply POP to level of proximal palmar crease and below metacarpal phalangeal joints (MCPJ), ensure thumb movement is not impeded

Smooth with gloved hands, ensuring no plaster comes into  contact with the patient’s skin

Fold padding back over plaster edge

Avoid using fingers tips when handling a wet cast as this can increase pressure injury risk.

Mould the plaster (into the valleys) so it conforms to shape of the limb. You should feel the plaster give under your hands. Use the palm and the flexor aspect of the fingers (not tips) to do this.  Do not apply pressure with hands over bony prominences when holding plastered limb

Inspect for rough edges or any restrictions of movement and rectify

Cast can be moulded (i.e. reduced the position of the fracture) by MO if required

Position limb on pillow until plaster is set

Apply sling as directed by MO

Apply skin protection according to cast type and location.

4.2.3 Polyester casting bandage

Follow manufacturer’s instructions for product use

Select appropriate size casting bandage

Remove casting bandage from package and submerge in water for a few seconds

Shake off, or squeeze out excess water

Wrap twice at level of wrist to stabilise wrist fracture before taking casting bandage up and around hand

Make cuts from lower end  of casting bandage to easily pass through the thumb and index finger’s webspace to the opposite side. Ensure casting bandage sits on the middle aspects of the under bandage, so it does not come in to contact with patient’s skin. Edges may be trimmed or softened with your finger to make a smoother edge if required

Ensure casting bandage on the palmer side, comes to proximal palmer crease but no higher, as this will impede patient hand movement if too high; ensure on dorsal side of hand casting bandage is approximately 1cm below knuckles (MCPJ) to ensure plaster does not rub on bony prominences once cast is set

Roll casting bandage flat against prepared limb with no tension. Application must be smooth without wrinkles or creases as this may cause discomfort  and contribute to the development of a pressure injury once the cast is set

If applying a non-waterproof cast, the stockingette can be folded down over the casting tape after the first layer of casting bandage has been applied, then secure with a further two  layers, with a total of three layers for stability

Continue applying casting bandage with a 50% overlap down the forearm

Bring casting bandage down to 2cm below the cubital fossa and allow for 1-2 cm of underpadding to still be visible

If applying over waterproof underpadding, ensure at least 2cm of padding extends from cast edge

Apply extra water to hands and smooth over casting bandage to assist with setting and achieving a smooth finish

Inspect for rough edges or any restrictions to movement and rectify

Apply skin protection according to cast type and location.

Note: Ensure casting bandage is placed gently with minimal tension, to reduce the risk of neurovascualur compromise and/or skin breakdown.

4.2.4 Scaphoid cast

- As per section 4.1, complete procedural process to step 8

- Scaphoid casts include the thumb but allow flexion of the Distal Interphalangeal Joint (DIPJ) unless indicated by MO

- Apply underpadding, either waterproof or non-waterproof to include thumb

- If applying a non-waterproof cast, stockinette should be firm against the skin, wrinkle free and not tight

- Ensure that two layers of underpadding cover the webspace between the thumb and index finger

- Follow instructions for activating POP or polyester casting bandage as for short arm cast procedure

- Apply POP or polyester casting bandage at the wrist to secure, then taken up behind the thumb and wrap around the thumb

- Cut casting material to allow it to sit smoothly between the thumb and index finger webspace. Wrap around the thumb two more times, allowing flexion of the (DIPJ)

- Wrap casting material three times around the hand, ensuring that the casting material sits approximately 1cm below the underpadding , along the proximal palmar crease and distal to the IPJ of the thumb thumb, ensuring there is no gap (in the bandage) between thumb and index finger

- Complete as for short arm cast

- Check neurovascular observations post application of cast.

4.2.5 Long arm cast

- As outlined in section 4.1, complete procedural process to step 7

- Arm should be cast with wrist in neutral position and elbow at 900 unless otherwise ordered by MO

- Apply stockinette as for short arm cast, extending to 3cm below axilla

- Ensure that stockinette is smooth, wrinkle free and not too tight

- Apply bandage underpadding as for short arm cast, extending up arm, ensuring elbow is covered without a build-up of padding around  the cubital fossa. This can be achieved by cutting underpadding halfway through to allow padding to sit flatter

- Additional padding can be placed along the outer aspect of the elbow to decrease risk of pressure injury

- Casting bandage is applied as for short arm cast but extends past elbow to aprox.. the deltoid tuberosity (the bottom of the deltoid) , allowing for 1cm of stockinette and underpadding to still be visible

- Stockinette and underpadding bandage can be folded over cast edge. Ensure three layers of casting bandage is applied around proximal and distal ends of the cast for stability

- Elbow should not rest on hard surfaces until fully set

- Check neurovascular observations post application of cast.

4.2.6 Short leg cast

- As per section 4.1, Complete procedural process to step 8

- Patients are positioned supine on bed with folded pillow or bolster under knee

- Apply either a waterproof or non-waterproof underpadding

- If applying a non-waterproof cast, measure stockinette from tips of toes to the popliteal region of the knee

- Stockinette should be firm against the skin, wrinkle free and not tight

- Apply underpadding starting at, and covering the 5th phalangeal bone, wrapping  across and around the foot, up towards the knee

- Ensure that padding completely covers the heel

- Apply casting material starting at the 5th metatarsal phalangeal joint, wrapping around the foot twice. Ensure that underpadding extends at least 1cm below casting material.

- Unless indicated by MO, cast should leave metatarsal phalangeal joints free and ankle should be in plantargrade at (900)

- Continue with 50 % overlap up leg stopping at the level of the tibial tuberosity, ensuring a 3cm gap between casting bandage and the popliteal region of the knee. This helps to avoid rubbing or pinching of the skin behind the knee when flexed and ensures at least 1cm of underpadding extends past the casting material

- Ensure three a three layer wrap of the polyester casting bandage around this end of the cast

- Continue rolling the casting bandage back down towards the foot so that the foot and ankle have 3 layers of casting material

- Ensure leg is relaxed on bolster through the knee (making sure lower leg is parallel to bed), foot is positioned at a right angle (plantargrade) ) and in alignment or as per doctor’s orders before cast sets

- Confirm MO orders regarding weight bearing status

- Assess need for mobility aides and refer to physiotherapist

- Check neurovascular observations post application of cast.

4.2.7 Long leg cast

- As outlined in section 4.1, complete procedure to step 8

- Apply stockinette and underpadding as for non-waterproof short leg cast but extend past the knee to mid-thigh, unless otherwise directed by MO

- Patients are positioned on bed with leg positioned at 90 degree ankle flexion and 30 degree knee flexion (or as per  MO’s instructions)

- Apply polyester casting material as for short leg cast but extend past knee to Proximal 1/3-mid-thigh

- 3-5 rolls of casting tape may be necessary to ensure effective coverage

- Ensure foot is positioned at a right angle (plantargrade) and in alignment or as per MO orders prior to cast setting

- Confirm MO orders regarding weight bearing status

- Assess need for mobility aides and refer to physiotherapist

- Check neurovascular observations post application of cast.

4.2.8 Walking Cast

- A walking cast allows patients to put weight through their leg.  Weight bearing (WB) status is determined by MO orders

- As outlined in section 4.1, complete procedural process to step .

- This cast always requires two staff to apply

- Complete procedure for short leg cast in addition of the following:

- Do not use waterproof underpadding. Non-waterproof padding is required to provide suitable skin protection.

- Stockingette should come past toes to commence, to allow the extended padding and plaster at base of foot.

- Make a slab that goes from the proximal leg to the toes. POP slabs should be 8 layers and synthetic slabs can be 4 layers

- Alternatively, a section of Prelude® can be cut to size from toes to back of heel to form a slab, ensuring a crescent is cut out at the heel to allow smooth application around this area. Remove the prelude from the padding

- Commence with first layer of POP or polyester casting bandage, then sit slab in place

before continuing with another twolayers of casting material to hold

- Reinforce casting material with additional layers of POP or polyester casting bandage at the foot and heel and continue as per a short leg cast. Cast should extend to end of toes with appropriate skin protection

- Once you have brought the casting material past the ankle and up the calf, cut away casting material and padding from over the toes to expose the toes and ensure no areas of rubbing or pinching (especially the little toe) before the casting material starts to set

- Roll back the stockinette to ensure a soft edge.  apply casting bandage to secure in place

- Continue casting as you would for a short leg cast ensuring ankle is dorsiflexed to plantargrade  (90 degrees) and the base of the foot is flat (i.e not inverted or everted) Foot and ankle position is critical to the ability to WB

- As you spiral down with casting material, cover the edge at toes so no areas of stockinette edges are exposed, and cast neatly sealed

- A wooden board may be used to assist in making sure the base is flat on completion

- Supply patient with an orthopaedic shoe e.g.  Darco Body Armor TM cast shoe to wear over cast to prevent slipping and wearing of cast. Confirm MO orders regarding weight bearing status

- Assess the need for mobility aides and refer to the physiotherapist

- Check neurovascular observations post application of cast

- The cast must be given 48 hours to fully set if POP has been used. If synthethetic casting tape is used, the patient can walk on the cast in 24 hours.

4.3 Serial Cast

Special considerations in applying a serial cast

Serial casting is the technique of applying a cast to a limb such that a target muscle group and/or joint is held at its maximum length or excursion. Serial casting is managed by the physiotherapist, in collaboration with a specialist depending on individual patient circumstances.

The duration of the cast should allow for the physiological adaptation and lengthening process to occur. The cast is then removed, and if clinically indicated another cast is applied in a new position to achieve further muscle lengthening.

The clinical decision to implement casting and the timing of application should be made in conjunction with the patient’s individual circumstances, outcome measurements, and goals.

Considerations regarding timing of application should include sensation, cognition, skin condition, and whether a serial cast has been applied previously. Serial casting is applied by suitably trained health professionals.

Serial casting can be used in conjunction with a rehabilitation program to improve strength, function and maintain or increase muscle length. It is ineffective if used alone as the sole treatment modality. Additional considerations for community patients include:

- The availability of a carer to monitor and aid with activities of daily living if required

- Application of initial serial casts in the morning rather than the afternoon is preferable for inpatients, and consideration of public holidays and leave cover must also be made when applying the first cast for any patient.

Procedure

- The first cast should be applied at the limit of available range (with only a minimal stretch applied) and removed after a few days to ensure patient tolerance with casting and skin integrity. Do not use excessive force when casting and take into considerations the principals outlined in this document

- Serial casts should not be on for more than 5 days. Muscle adaptation to a lengthened position occurs within 3-5 days, and casting for a longer duration may lead to loss of strength without the benefit of increase in length; additionally, regular monitoring of skin condition should occur

- Serial casting can be part of the physiotherapy management plan. Clinical decisions regarding duration should be made in association with regular measurement.

Emergency removal of serial casting – possible indications:

- Heightened, localised, intense and persistent pain, not relieved by elevation

- Rubbing or pressure areas described as specific points of tenderness under the cast

- Circulatory compromise

- Cast becomes wet/heavily soilded with bodily fluids

- Cast slips out of position

- Agitation/behaviour change

- Malodour from cast

- Recent onset of sensation changes to toes or fingers

- Recent changes to the amount of movement in toes or fingers

Alert:

If in any doubt, remove serial cast

Appropriate outcome measures for serial casting include the Tardieu scale and the use of goniometry.

Back to Table of Contents

# Section 5 – Back Slab Procedure

Back slabs are applied to:

- Reduce pain

- Immobilise the injured limb but allow for tissue swelling

- Provide support to the affected limb

- Prevent complications to the site of an injury.

Back slabs can be made from POP or acute synthetic splinting materials e.g. Dynacast® Prelude.

Note:

In the Emergency Department and the Walk in Centre (WIC), all acute fractures with or without swelling will have a POP back slab applied. Under the direction of the medical officer, a full POP may be applied to injuries that are > 72hrs with little or no swelling. Prelude is only to be applied if the patient requires a lighter back slab and/or is not being admitted. (Exception – ED Musculoskeletal  Physiotherapists).

POP equipment

- Apron (plastic)

- Gloves (clean, non-sterile)

- Bucket of cold water lined with plastic bag

- 1 - 2 plastic sheets

- Plastic covered pillow

- Crutches or Sling /fastening device

- Crepe Bandages

- Scissors and LeukoplastTM tape.

Procedure

- Confirm MO instructions

- Confirm patient identification as per Patient Identification and Procedure Matching procedure

- Perform hand hygiene

- Assess analgesic requirement

- Assess skin conditions, skin integrity and pressure injury risk

- Assess patient capacity to assist  and comply with instructions and need for additional staff

- Position patient for safety and comfort and manual handling safety of health professional. Measure out length of plaster desired and then fold roll back on self-8 times for correct thickness of POP to be achieved

- Roll out underpadding to exceed POP borders by several centimetres to promote comfort and protect POP coming in to contact with patient’s skin on application. There must be 2 layers of padding to ensure comfort and safety, ensuring  underpadding  is flat with no folds

- In case of upper limb being plastered you can also roll underpadding directly onto the limb if pain and stability of fracture allows

- Submerge POP in water until wet through

- Pull the slab out to full length and then place your index and middle fingers on either side of the slab. Run your fingers down the length of the slab ONCE to remove excess water. Do not scrunch the slab up as it will introduce the possibility of wrinkles in the slab

- Smooth POP layers and lay on top of underpadding, fold borders back over and place on injured limb supporting fracture site in suitable position and mould as required as directed by MO. Apply crepe bandages to hold POP securely in position. Apply Leukoplast TM to prevent bandages unravelling

- If applying full POP, roll on wet plaster to prepared limb ensuring no wrinkles or folds to thickness required and smooth surface and edges well.

Note:

Uneven application can cause discomfort for patient and increase the risk of pressure injury developing.

- Do not apply pressure with hands over bony prominences when holding plastered limb.

- Position limb on pillow until plaster is set

- Handle wet plaster with palms of hands only. Indentations from fingers can increase the risk of pressure injury developing

- Frequently observe limb and distal extremities after plaster has been applied (in accordance with neurovascular observation procedure)

- Re assess patient comfort, explain potential complications to look out for and cast care

- Provide verbal and written plaster care advice.

Back slab to forearm and hand

- Patients are seated with their elbow resting on the bed or table and their fingers pointing up towards the ceiling. Alternatively, the patient can rest their arm flat on the bed/table  depending on pain and location of fracture.

- Volar (palm side)

  - Slabs are applied with the wrist in neutral position (mid pronation)with fingers free and wrist at 30-degree extension have wrist in the same position as for volar wrist slab but the  metacarpophalangeal joints (MCP) at 70-90 degrees flexion and the IPJs are in extension (or as per MO instruction).

- Dorsal (dorsal side) slabs

  - Are applied to forearm and hand with wrist in 20-30 degrees flexion, the MCPJs in 70-90 degrees flexion and the IPJs fully extended-. The wrist is only flexed if instructed specifically to do so (or as per MO instruction).

- Thumb Spica slabs

- Applied with the wrist at 30 degrees and allowing for thumb and index finger to oppose in a coke can position  (or as per MO instruction)

- To secure, a crepe bandage is applied over the top of the slab in a spiral fashion ensuring each layer overlap the proceeding layer by approximately 50%.  The bandage is then secured with Zinc Oxide/Leukopore TM or similar tape

- Apply the crepe bandage so it covers the edges of the slab. This holds the slab securely to the skin and stops it gaping as the crepe starts to loosen.

Back slab to lower leg

- Patients are positioned supine on bed with limb resting on folded pillow or bolster above the knee or alternatively, positioned prone with the knee bent and the foot at plantargrade The slab is applied from 3cm from the popliteal fossa to the heads of the metatarsals and drapped around the calf ensuring that the slab is not digging in under the knee or rubbing on the malleolus with ankle joint flexed at 90 degrees with toes free

- A stirrup slab also needs to applied as a second slab. This gives strength and ensures the malleoli are immbolised. Place the stirrup from the medial side  of the leg, under the calcaneum and up the lateral aspect of the leg so the malleoli are included in the slab

- Crepe bandages applied starting at toe and wrapping around in a spiral fashion ensuring 50% bandage cross over each time extending beyond the edge of the cast.   Tape entire bandage with Leukopore TM .

Back to Table of Contents

# Section 6 – In Hospital Care

Equipment

- Collect equipment according to cast or back slab you are required to apply.

Procedure

- Neurovascular assessment is important as compression of the nerves and blood vessels may be caused by swelling due to injured tissue, surgery, or due to the restrictive pressure of the cast. Check colour of limb, capillary refill, presence of pulse, temperature of skin, sensation, and movement

- Commence neurovascular observation in accordance with CHS policy and procedure guidelines

- Observe for potential complications such as the presence of a wound. Monitor for levels of wound exudate as this may occur beneath a cast if there is trauma to the skin at the time of injury. Inspect the cast carefully, giving attention to areas over known wounds or incisions

- If you see wound exudate, mark the outer edges of the exudate area with time and date, and then your initials. Continue to monitor, and notify senior staff/doctor if exudate continues, or there is a significant change in the vital signs or the patient’s condition

- Elevate and maintain extremity above the level of the heart

  - For a leg: Support on 2 pillows and raise the foot of the bed.

  - For an arm: Support on 2 to 3 pillows or elevate in a Peter Brown/Brookes sling (using an IV stand and pillow case with safety pin), with elbow supported on pillow.

- Provide analgesia as required.

Nursing Alert:

If a pillow is not used to provide support to the arm in a Peter Brown/Brookes Sling, the sling can cut into the arm and produce a neurovascular deficit.

- Observe for signs of Compartment Syndrome:

  - PAIN – not controlled by analgesia due to ischemia, pain on passive stretching of muscles. Elevation of limb can increase pain further due to further decreasing blood flow

  - PARAESTHESIA – Abnormal numbness or sensation

  - PALLOR – Pale

  - POLAR – Cool

  - PARALYSIS NO PULSE – This is the final sign and means irreversible damage has occurred.

If symptoms appear ensure patient is promptly reviewed

- Record any concerns in the clinical record and report to senior staff

- Provide written and verbal cast care instructions as per section below

- Appropriate allied health review - mobility and equipment sorted for discharge

- On discharge patient to be given:

  - Instruction in the use of crutches/sling

  - Plan for home analgesia (if appropriate)

  - Fracture Clinic appointment if necessary

Note:

When discharging patients consider analgesia that has been administered prior to discharge to ensure patient safety (e.g. Intranasal Fentanyl within ED).

Back to Table of Contents

# Section 7 – At Home Care Instructions

Procedure

Prior to discharge home with a back slab or cast in place, patients are to be provided with the appropriate at home care instructions which should include, but are not limited to the information as detailed below;

- Casts and splints support injured limbs and keep bones from moving while they heal. It is important to care for your cast or splint at home.

Non-Waterproof Cast

- It can take 24-48 hours for cast to fully set if it is made of POP. Do not rest the cast on anything harder than a pillow for the first 24 hours or attempt to hasten drying eg. by using a hair drier

- Do not put weight on your injured limb or apply pressure to the cast until your health care provider gives you permission. Keep the cast or splint dry. Wet casts or splints can lose their ridigity thereby failing to provide adequate immobilisation. A wet cast that has lost its rigidity can also create harmful pressure on your skin when it dries. Skin under the cast may become water logged and break down

- Non- waterproof casts and splints should be covered with a plastic bag when bathing or when out in the rain or snow

- If your cast does become wet, dry it with a towel. If the underpadding is significantly soaked you will need to have the cast replaced

- Keep your cast or splint clean. Soiled casts may be wiped with a moistened cloth

- Do not place any hard or soft foreign objects under your cast or splint, such as cotton, toilet paper, lotion or powder

- Do not get sand or dirt under cast as this will cause skin irritation

- Do not try to scratch the skin under the cast with any object. The object could get stuck inside the cast. Also, scratching can cause break in skin and potential infection. If itching is a problem, tap on outside of cast over the itchy area

- Do not trim or cut your cast or remove any underpadding

- Exercise all joints next to the injury that are not immobilised by the cast or splint. For example, if you have a long leg cast, exercise the hip joint and toes. If you have an arm cast or splint, exercise the shoulder, elbow, thumb, and fingers

- Elevate your injured arm or leg as much as possible for the first 1 to 3 days to decrease swelling and pain. It is best if you can comfortably elevate your cast so it is higher than your heart.

Waterproof Cast

- A polyester cast reaches full strength in less than 1 hour this is dependent on environmental temperatures/humidity and size of cast

- Do not put weight on your injured limb or apply pressure to the cast until your health care provider gives you permission

- Do not place any hard or soft foreign objects under your cast or splint, such as cotton, toilet paper, lotion, or powder

- Do not get sand or dirt under cast as this will cause skin irritation. If you do, flush the cast thoroughly with water

- Do not try to scratch the skin under the cast with any object. The object could get stuck inside the cast. Also, scratching can damage skin integrity leading to an infection. If itching is a problem, tap on outside of cast or trickle water inside cast

- Do not trim or cut your cast or remove padding from inside of it

- Exercise all joints next to the injury that are not immobilized by the cast or splint. For example, if you have a long leg cast, exercise the hip joint and toes. If you have an arm cast or splint, exercise the shoulder, elbow, thumb, and fingers

- In first few days keep cast raised (for example, on pillows) to help reduce swelling. To reduce swelling and pain, cast needs to be raised above the level of the heart

- After bathing rinse cast with soap free water. Keep the cast or splint uncovered during the drying period. Bend your knee so your foot is pointing to the floor to drip dry onto a towel, as water can accumulate around heels of leg causing skin irritation.

Patient advice

Seek medical care if:

- Your cast or splint cracks

- Your cast or splint is too tight or too loose

- You have unbearable itching inside the cast

- Your cast becomes wet (non-waterproof casts) or develops a soft spot or area

- You have a bad smell coming from inside your cast

- You get an object stuck under your cast

- Your skin around the cast becomes red , raw, or painful

- You have new pain or worsening pain after the cast has been applied.

Seek immediate medical care if:

- You have fluid leaking through the cast

- You are unable to move your fingers or toes

- You have discoloured (blue or white), cool, painful, or very swollen fingers or toes

- You have tingling or numbness around the injured area

- You have severe pain or pressure under the cast

- You have any difficulty with your breathing or have shortness of breath

- You have chest pain.

Back to Table of Contents

# Section 8 – Cast splitting

Casts may be altered, split or wedged in response to clinically identified complications. These may include:

- Swelling, requiring the need for inspection

- To manipulate fracture position, or

- To relieve soreness.

Equipment

- Examination bed to rest limb on

- Cast scissors and separators

- Plaster saw

- Disinfectant wipes

- Leukoplast TM tape.

Procedure

- This procedure should be attended under the direction of an orthopaedic consultant or registrar

- Confirm MO instructions

- Confirm patient identification as per Patient Identification and Procedure Matching procedure

- Perform hand hygiene

- Assess analgesic requirement.

- Assess patient capacity to assist and comply with instructions and need for additional staff

- Position patient for safety and comfort and manual handling safety of health professional

- Inform the patient of the risks in using a plaster saw (skin lacerations and/or burns) and gain informed consent

- Identify location cast is to be split

- If splitting the cast, use the  plaster saw cutting the entire  length of the cast and then use plaster separators to open plaster to desired width. You must also cut the padding  as this can be the cause of neurovasuclar compromise

- If wedging the cast, the orthopaedic consultant/registrar will place the appropriate width of cork in to cast making sure it does not press down and cause pressure on skin beneath

- Apply a round of plaster over the area that has been wedged to hold in place, or if a fibreglass cast is being split, you may also need to apply a wedge to keep the cast open. Then apply Leukoplast TM tape if split for airline travel. Patients should be advised to check with specific airline requirements for splitting casts prior to travel. Jetstar often require a medical authorisation for flying. Without it the patient may not be allowed to fly.

Back to Table of Contents

# Section 9 – Cast Removal

Equipment

- Plaster saw

- Plaster shears or electric cast cutters

- Plaster scissors and bandage scissors

- Plaster key - expanding pliers or plaster spreaders

- Plaster breaker benders.

Procedure

- Confirm MO instructions

- Confirm patient identification as per Patient Identification and Procedure Matching procedure

- Perform hand hygiene

- Assess analgesic requirement

- Patient and affected limb placed in a safe position of comfort

- Offer ear protection to patient (as appropriate)

- Support limb as required

- Inform the patient of the risks in using a plaster saw (skin lacerations and/or burns) and gain informed consent

- Assess the layers of padding to determine integrity to avoid undue discomfort to the patient and reduce the risk of abrasions and burns to the underlying skin

- The cast should be cut between the plaster and the padding layer, avoiding contact with the skin and bony prominences.

Note:

The bivalve technique of cutting the cast along its length in two planes, reduces the risk of patient injury during removal of a cast.

Removal Using Plaster Shears (Back Slab)

- Use of plaster shears (scissors with flat bottom edge) for removal of any type of back slab is recommended

- When using shears, ensure they are kept level preventing either the point or heel of the shears from damaging the skin.

Removal Using Electric Cast Cutters/Saw

- An electric cast cutter or saw should only be used when dealing with a padded cast or dry cast, and where condition of skin is good

- When using the saw, use an in-out motion with the blade held at 90 degrees to the cast to avoid the risk of cutting the skin, to avoid the blade from overheating

- Every 15 seconds blade temperature should be assessed, and the blade cooled

Note:

If cooling required, turn saw off and wipe blade with a damp cloth/disinfectant wipe. Allow to cool before continuing removal. Although burn injuries are the most common reported complication of cast removal reported in the literature, the risk of cutting the skin has also been identified. The risk of injury increases if the cutter blade becomes hot.

This may be attributable to

- The blade being pushed or dragged along the cast instead of in/out motion

- The cast absorbing haemoserous exudate and becoming hardened

- The presence of oedema

- When the saw is used for long periods

- When the cast is thick, or the blade is blunt or damaged. Replace or rotate blade if original blade coating is worn off.

- To reduce the risk of injury, the patient should be advised to report any sensation of heat or discomfort. Any complaints should be assessed as they are reported rather than after the cast is completely removed

- If the patient reports any sensation of heat or discomfort, the procedure should be reassessed

- After the cast has been cut, use spreaders or expanding pliers to separate the cast.

- Use spreaders to open the cast once both planes have been cut, use bandage scissors to cut away padding and/or bandaging in contact with the skin

- Take care when lifting limb out of opened plaster cast

- Limb to be assessed for symmetry and neurovascular status

- Document cast removal, skin integrityand seek medical advice if any problems noted in limb assessment

- Wash limb and perform skin assessment

- Educate the patient about appropriate care of limb post cast removal

- Organise Physiotherapy appointment if necessary.

Back to Table of Contents

# Evaluation

Outcome

- All staff who are caring for patients requiring casts are aware of the safe management and application of casts and is performed according to this procedure

- Cast applications for adults and children are conducted safely.

Measures

- Regular assessment and monitoring of all RiskMan clinical incident notifications related to cast applications and with particular attention to adverse events.

Back to Table of Contents

# Related Policies, Procedures, Guidelines and Legislation

Policies

- Nursing and Midwifery Board of Australia (NMBA) Requirements for Practice

- Informed consent-Clinical

- Work Health and Safety

Procedures

- Patient Identification and Procedure Matching Procedure

- Infection Prevention and Control

- Orthopaedic Surgery – Pre and Post-Operative Management in Adults

- Fasting Guidelines for Patients Undergoing Procedures Requiring Sedation or Anaesthesia

Legislation

- Health Records (Privacy and Access) Act 1997

- Human Rights Act 2004

- Work Health and Safety Act 2011

Other

- Australian Charter of Health Care Rights 2019

Back to Table of Contents

# References

- Beutler, A & Titus, S. General principles of definitive fracture management. UpToDate. This topic last updated: Mar 30, 2017.

- The Joanna Briggs Institute. Recommended Practice. Plaster of Paris: Application. The Joanna Briggs Institute EBP Database, JBI@Ovid. 2017; JBI1988.

- Slade, S. Evidence Summary. Plaster of Paris: Clinician Information. The Joanna Briggs Institute EBP Database, JBI@Ovid. 2015; JBI527.

- The Joanna Briggs Institute. Recommended Practice. Plaster of Paris: Removal. The Joanna Briggs Institute EBP Database, JBI@Ovid. 2016; JBI1989.

- Fong, E. Evidence Summary. Plaster Cast: Removal. The Joanna Briggs Institute EBP Database, JBI@Ovid. 2016; JBI121

# Search Terms

Cast, plaster, plaster cast, management, casting, Plaster of Paris, polyester, back slab, serial cast, spasticity, muscle contracture, physiotherapy, POP

Back to Table of Contents

# Attachment

NCH – Fractured Scaphoid flow chart

Disclaimer: This document has been developed by Canberra Health Services specifically for its own use.  Use of this document and any reliance on the information contained therein by any third party is at his or her own risk and Canberra Health Services assumes no responsibility whatsoever.

Policy Team ONLY to complete the following:

| Date Amended | Section Amended | Divisional Approval | Final Approval |
| --- | --- | --- | --- |
| 04/10/2022 | Full review | Melissa O’Brien ED CAS | CHS Policy Committee |

This document supersedes the following:

| Document Number | Document Name |
| --- | --- |

Attachment 1 – NCH – Fractured Scaphoid flow chart