Canberra Health Services

Procedure

Urinary Catheter Insertion and Management for Adults, Children and Infants (Not Neonates)

# Contents

Contents	1

Purpose	3

Alerts	3

Scope	3

Section 1 – Training	4

Section 2 – Urinary Catheter Management for Adult Patients	5

Section 3 – Indwelling Urinary Catheter Management	7

Section 4 – Suprapubic Catheter Procedures for Adult Patients (not Paediatrics)	16

Section 5 – Intermittent Urinary Catheterisation in the Adult or Paediatric Inpatient	24

Section 6 – Clean Intermittent Urinary Catheterisation: Self Catheterisation	25

Section 7 – Urinary Catheter Flushing for Adult patient	27

Section 8 –  Uro-Tainer Catheter Maintenance Solutions (CMS) in the Neurogenic or Suspected Neurogenic Bladder	28

Section 9 – Trial of Void	32

Section 10 – Palliative or End of Life Care for Patients with a Urinary Catheter	35

Evaluation	36

Related Policies, Procedures, Guidelines and Legislation	36

References	37

Definition of Terms	38

Search Terms	40

Attachments	40

Attachment A: Urinary Catheter selection	41

Attachment B: Source of information and/or suppliers for urinary catheter equipment	42

Attachment C: Stat Lock – Foley Stabilisation Device	45

Attachment D: Troubleshooting guide for urinary catheters	46

Attachment E: Quick reference pH monitoring guide (Administration of Solution R and Suby G)	50

Attachment F: Paediatric catheter size selection guideline	51

# Purpose

The purpose of this document is to provide evidence based best practice for the management of urinary catheters in adult and paediatric patients cared for at Canberra Health Services (CHS)Network. This procedure describes practices for educating and supporting patients requiring short and long term urinary catheters which will be performed by registered nurses, enrolled nurses, medical staff, midwives and allied health.

New staff, or students (within their defined scope of practice) will be required to perform these skills under the direct supervision of a credentialed clinican. Clinicians providing assessment and education for clinical procedures must have current theoretical and clinical knowledge in continence management and be credentialled.

Back to Table of Contents

# Alerts

Indications for Urinary Catheter insertion

Clinicians should only consider catheterisation for the following indications:

Management of urinary retention that is confirmed by bladder scan

Clot retention associated with gross haematuria

Monitoring for sepsis, trauma, renal function, electrolyte or fluid balance

Injury or surgery affecting urinary function

Labour or birth management

Urinary incontinence management.

If a patient has any of the clinical condiditons listed below a urinary catheter is contraindicated:

Urethral stricture

Urethral orifice that cannot be identified or accessed

Urethral reconstruction

Known urethral trauma

Fractured pelvis with bleeding from the urethral meatus

Acute prostatitis.

Back to Table of Contents

# Scope

This procedure applies to adult and paediatric patients with a urinary catheter under the care of CHS, both inpatients and those in the community.

CHS Network includes the inpatient facilities at Canberra Hospital, Clare Holland House, North Canberra Hospital, and University of Canberra and community-based services.

This document applies to the following staff working within their scope of practice:

Medical Officers

Nurses and Midwives

Enrolled Nurses

Allied Health

Students under direct supervision.

Note: This document applies to Enrolled Nurses (EN’s) in the Community Care Program who have completed the required credentialling.

Note: for the purpose of this procedure the patient/client/consumer will be referred to as the patient.

Back to Table of Contents

# Section 1 – Training

Clinicians must be credentialed as competent to insert uriniary catheters.

To be credentialed nurses and midwives must:

- Complete the CHS - Indwelling Urinary Catheter (IDC) Insertion and Management eLearning course (access via HRIMS)

- Watch the IDC video demonstrations (links on eLearning course information page in HRIMS) for:

  - Adult Indwelling Catheter Insertion

  - Paediatric Urinary Catheter Insertion (Female)

  - Peaditric Urinary Catheter Insertion (Male)

- Complete supervised practices in clinical area with a staff member who is credentialed as competent to insert urinary catheters

- Complete a final assessment on a patient with an approved assessor (list of assessors available on the Health Hub https://actgovernment.sharepoint.com/sites/Intranet-CHS/SitePages/Assessment-tools.aspx )

To be credentialed Medical Officers and Interns must attend training provided as part of orientation

- All other Medical Officers must have completed training and be credentialled as per their College requirements.

Back to Table of Contents

# Section 2 – Urinary Catheter Management for Adult Patients

Alert

- Seek expert advice from the treating team for patients with artificial heart valves who grow Enterococcus species in the urine prior to the procedure.

- Patients with spinal lesion at or above T6 require monitoring for Autonomic dysreflexia.

- Patients who are taking high dose  anti-coagulants should be monitored for bleeding.

- Patients with a history of recent surgery, cancer or radiotherapy should be monitored as they are at risk of urinary tract damage.

General Information

- Patient assessment should be done prior to catheterisation that includes the exploration of patient’s cultural values and beliefs that may influence healthcare practices and be consistent with Intimate Body Care and or Examination of Patients or Clients by Health Care Workers Procedure.

- Verbal consent should be obtained as per Informed Consent (Clinical) Policy.

- Indwelling catheters and slow bladder decompression are recommended for patients with a large bladder capacity. No more than 600mL (for adults) is to be withdrawn from the bladder unless otherwise indicated by the medical officer as this may induce a syncope episode. For paediatrics, the initial amount of urine to drain should be discussed with the treating team.

Catheters should be appropriate, comfortable, easy to insert and remove and must minimise secondary complications such as tissue inflammation, encrustation and colonisation by micro- organisms (See Attachment A)

The smallest gauge catheter suitable for the patient should be used and balloons should generally be 5 to 10mL in size. Patients with a lesion above T6 should use a size 18 to 20 Fr to avoid blockage and complications of autonomic dysreflexia.

Clinicans will identify patients with spinal lesions at or above T6 and monitor for autonomic dysreflexia during catheterisation. Where applicable first line emergency management should be provided to those patients. Care provided should be consistent with Autonomic Dysreflexia Procedure.

It is recommended to use a two clinican buddy system to carry out the procedure of catheter insertion. In paediatrics, two clinicians must be available to safely carry out the procedure.

- Standard aseptic technique with sterile gloves is essential when inserting a urinary catheter to prevent infection.

Companies who manufacture latex catheters recommend that the catheter be changed every seven days. Silicone catheters are to be changed 6 to 12 weekly or as per manufacturer’s recommendations.

All catheters become colonised with bacteria after a few days whilst in situ. If a catheter specimen of urine (CSU) is required for the purpose of diagnosis of a Urinary Tract Infection (UTI) and the catheter has been in situ for less than two weeks, a urine specimen can be obtained by using the catheter sampling port.  If the catheter has been in situ for greater than two weeks then a new catheter should be inserted before a specimen is obtained. If a CSU is required and a UTI is not suspected the sample can be collected from the catheter sampling port. Refer to Urine Specimen Management Procedure.

Patients and/or carers should be educated on how to care for their catheters and be provided with the consumer handout Caring for your urinary catheter, found on the Policy and Guidance Documents Register

Catheter flushing is a prescribed procedure to maintain patency of a catheter.  Usually undertaken with 10-20 mL of sterile 0.9% sodium chloride.

Community Based Patients

- All urinary catheter’s managed in the community require Medical officer orders for urinary catheter management to be completed in the patient’s clinical record or if required in hardcopy on the Medical Officer’s Orders for Urinary Catheter Management form located on the clinical forms register (form no. 40950). Medical Officers orders for catheter management in the community should be reviewed every three (3) years.

- Community nurses will document the management in the patient’s clinical record or if required in hardcopy on a Urinary Catheter Management Chart form, available from the clinical forms register (form no.60535)

- Manual bladder irrigation or washout involves instilling large amounts of fluid (usually 0.9% sodium chloride) into the bladder withdrawing fluids for the purpose of removing debris and mucus from the bladder. This procedure should be done under medical supervision and is not suitable to be done in the community.

- Patients with long - term catheter requirements are responsible for the provision of ongoing equipment (catheters, leg bags, overnight bags, catheter straps, catheter valves).  These patients may be able to access funding from (see Attachment B):

  - Continence Aids Scheme (CAPS)

  - ACT Equipment Subsidy Scheme (ACTES)

  - Rehabilitation Appliances Program (RAP) of Department of Veterans Affairs (DVA)

  - National Disability Insurance Scheme (NDIS)

- If the patient is not eligible for any of these schemes, they may source equipment from suppliers either locally or interstate (see Attachment B)

- Where possible, liaison should occur with the medical officer or management team who inserted the catheter if there are any concerns regarding catheter management in the community.

- Where possible patients should be encouraged to access one of the Community Health Centres ambulatory clinics for their routine catheter change.

- Where difficulties are experienced or anticipated, contact the continence Clinical Nurse Consultant (CNC), Advance Practice Nurse (APN) Urology or General Practitioner (GP); if the matter is urgent call an ambulance.

- If a catheter requires permanent removal, medical orders should be obtained from the treating doctor and documented in patient’s clinical record (refer to Removal of Catheter section pg 15).

Back to Table of Contents

# Section 3 – Indwelling Urinary Catheter Management

Short term indwelling catheterisation should be used when bladder drainage is required for up to 14 days. However, catheterisation is patient and procedure dependent.

It is recommended to use a two clinican buddy system to carry out the procedure of catheter insertion. In paediatrics, two clinicians must be available to safely carry out the procedure.

Alert

- Staff must be credentialed as competent before inserting catheters, refer to Section 1.

Please see Section 10 regarding catheter management for patients in the community setting identified as palliative/end of life care with a catheter insitu.

- It is recommended that the patient’s genital area should be washed with soap and water prior to catheterisation.

- For patients with an IDC insitu, it is important to remove any obvious signs of encrustations from around the urethral meatus. To achieve this, the catheter must be washed gently with warm soapy water at the start of the procedure and during the patient’s daily wash/shower. Avoid back and forth movement of the catheter at the urethral meatus as this may cause unnecessary trauma or irritation and may increase the risk of infection or pressure injury. Observation for any signs of pressure areas or trauma at the urethral meatus is necessary. Document findings in the patient’s clinical record.

- If unable to insert a catheter after two attempts, seek further assistance from a senior clinician. Ensure each attempt uses a new catheter.

Equipment

- Disposable catheter pack

- Chlorhexidine/Cetrimide 0.015%  2x30ml (PICS Code 80089), use 0.9% sodium chloride 60mL if chlorhexidine is unavailable or contraindicated

- Lubricant sachet (patient with a vulva or infants with a penis < 1 year of age) or 2% Lignocaine gel (patient with a penis or a vulva). Refer to Attachment F for paediatric Lignocaine 2% dosage.

- Latex (Canberra Hospital only for short-term requirments) or Silicone (long-term) catheters x two.  Size is dependant on the patient and setting.  Adult inpatient usually 12 Fr, community patients refer to medical order and refer to Attachment F for paediatric catheter sizes.

- Sterile urinary drainage bag appropriate to patients’ requirements

- Two x 10mL syringes (review balloon size for volume)

- One x 10mL sterile water. Sterile water is used to inflate balloon (0.9% sodium chloride can crystallise and render the balloon porous, causing its deflation and the risk of catheter loss)

- Measuring jug, if required

- Procedural under pad

- Clean gown

- Sterile gloves x 2

- Sterile specimen jar, if required

- Personal Protective Equipment (PPE), including goggles/faceshield/safety glasses

- Inpatient specific: Foleys Statlock device pack including skin preparation

- Community specific: Urinary Retaining Strap

3.1 Insertion of Indwelling Catheter

3.1.1 Insertion Procedure for patients with a vulva

- The medical officer/nurse practitioner/urology APN must document the order for catheter insertion and removal in the patient’s clinical record.

- Perform hand hygiene on entry to patient zone

- Identify the patient and patient’s allergies as per Patient Identification and Procedure Matching Procedure.

- Explain the purpose of the procedure and obtain consent as per Informed Consent (Clinical) Policy). Ensure the patient has their privacy maintained throughout the procedure. Do not expose or position the patient until set up is ready.

- Clean the trolley and work spaces. Perform hand hygiene. Gather equipment and PPE

- Ask the patient to remove their underwear or remove the patient’s underwear/nappy/incontinence pad. Paediatric patient’s should be washed from lower abdomen to thighs with warm water and mild soap/wash (may be done by parent). It is recommended adult patients wash gential area with soapy water

- Perform hand hygiene. Place bed/trolley at appropriate height for procedure. Place procedural pad underneath patient’s buttocks. Position the patient supine with knees flexed drawn up soles of feet together, or knees wide apart.

- Perform hand hygiene and assemble the aseptic field, placing sterile equipment on to the field as required.

- Open first pair of sterile gloves on to a separate cleaned surface

- Don PPE

- Perform hand hygiene for aseptic procedure and don sterile gloves

- Fill syringe with sterile water 5-10mL or as per catheter balloon requirement

- Remove the protective cover from the catheter ensuring to maintain sterility of the catheter at all times. Lubricate the tip of the catheter.

- Place the catheter in to one of the trays ensuring to protect the catheter from contamination. This will be the drainage/insertion tray.

- Into the other tray (Cleaning/preparation tray) soak cleaning guaze with Chlorhexidine/Cetrimide 0.015%  solution (or 0.9% Sodium Chloride if clinically indicated). Place the cleaning/preparation tray between the patient’s legs.

- Using dominant hand cleanse the labia majora as well as symphysis pubis and inner thighs for paediatric patients, use non-dominant hand to expose the labia minora and urethral meatus.

- Using one downward stroke per gauze, clean the labia minora and the meatus at least 3-4 times. Discard gauze after each stroke. On completion of cleaning, discard cleaning tray, forceps and doff (remove) gloves.

- Hand hygiene and open second pair of sterile gloves on to clean surface

- Following hand hygiene for aseptic procedure using either alcohol-based hand rub (note: for a minimum of 30 seconds) or a procedural antimicrobial hand wash for one (1) minute. Don new pair of sterile gloves. Drape patient with fenestrated drape (sheet) to establish sterile area. Drape should cover anus if possible.

- Use dominant hand to pick up catheter ensuring the end is in the drainage/insertion tray, Place tray on fenestrated drape between the patient’s legs

- Separate the labia with non-dominant hand and gauze to identify the urethral meatus, hold labia apart until catheterisation is complete. The urethral meatus is located superiorly to the vagina. Approach from a superior aspect to avoid the vagina.

- Pick up the catheter and run the tip through the lubricant/lignocaine gel.

- Ask the patient to take a deep breath to relax the sphincter then insert the catheter 5-10cm upward at an approximate 30 degree angle.

- If there is an obvious urine flow, advance 2.5-5cm further into the urethra.

- If the catheter is incorrectly placed into the vagina, leave it insitu until the subsequent catheter is placed correctly. Ensure to use a new catheter for subsequent attempt.

- Ensure that the catheter is held steady prior to and during inflation of balloon to ensure balloon portion is in the bladder and to avoid inadvertent balloon inflation whilst in urethra

- Inflate the balloon with the required amount of sterile water (see balloon hub for volume). If the patient experiences pain on inflation of balloon stop and reassess placement of catheter. Gently withdraw the catheter until resistance is met.

- Collect sterile urine specimen or perform urinalysis if required. Refer to Urine Specimen Management Procedure.

- Remove the protective cap from the urinary drainage bag, seal outlet tube and attach to the catheter on the fenestrated drape.

- Remove tray, drape and procedural pad and discard

- Secure catheter to inner thigh avoiding tension on the catheter. Position drainage bag securely ensuring it is below the height of the bladder and not on the floor.

- Drain 600mL only (adults) then clamp the catheter for one (1) hour. For paediatrics, discuss initial amount of urine to drain with treating team.

COMMUNITY SETTING:. Clamp with flip flow valve and check clinical observations. Arrange with patient a plan for review in 1 hour (e.g. 2nd visit/phone call/ LINK visit)

- For paediatrics, wash off the chlorhexidine to reduce skin irritation.

- Ensure the patient is comfortable. For paediatrics, place a clean nappy or underwear if the child wishes.

- Educate the patient/parent on perineal care, refer to section 3.2

- Discard equipment into clinical waste receptacle, doff gloves and perform hand hygiene

- Remove PPE, perform hand hygiene

- Clean trolley and work surfaces with detergent impregnated wipes, perform hand hygiene.

- Record output, clarity, colour and odour on the patient's Fluid Balance Chart (FBC) and patient’s clinical record.

- Document catheter insertion in the patient’s clinical record in the Lines/Drains/Airway (LDA) section of the avatar. Documentaiton should include:

  - Date and time of procedure

  - Type and catheter size

  - Amount of water in the balloon

  - Indication and scheduled date for removal or change

- Community specific: Record the procedure in the patient’s clinical record.  If recording in hardcopy use the ‘Urinary Catheter Management Chart’ form on the clinical forms register (form no.60535)

3.1.2 Insertion Procedure for patients with a penis

- A catheter introducer for the introduction of a catheter for a patient with a penis is only used by a medical officer/nurse practitioner/urology APN.

- In patients with a penis:

- Do not proceed if patient has an erection.

- Slightly increase the traction on the penis and apply steady gentle pressure if resistance is felt at the external sphincter. Ask the patient to attempt to void to relax the sphincter.

- The medical officer/nurse practitioner/urology APN must document the order for catheter insertion and removal in the patient’s clinical record.

- Perform hand hygiene on entry to patient zone

- Identify the patient and the patient’s allergies as per Patient Identification and Procedure Matching Procedure.

- Explain the purpose of the procedure. Obtain consent and provide privacy. Do not expose or position the patient until set up is ready.

- Clean the trolley and work spaces. Perform hand hygiene. Gather equipment and PPE

- Ask the patient to remove their underwear or remove the patient’s underwear/nappy/incontinence pad. Paediatric patient’s should be washed from lower abdomen to thighs with warm water and mild soap/wash (may be done by parent). It is recommended adult patients wash gential area with soapy water

- Perform hand hygiene. Place bed/trolley at appropriate height for procedure. Place procedural pad underneath patient’s buttocks.

- Position the patient supine

- Perform hand hygiene and assemble the aseptic field, placing sterile equipment on to the field as required.

- Open sterile gloves on to a separate cleaned surface

- Don PPE

- Perform hand hygiene for aseptic procedure and don sterile gloves

- Fill syringe with sterile water 5-10mL or as per catheter balloon requirement

- Remove the protective cover from the catheter ensuring to maintain sterility of the catheter at all times. Lubricate the tip of the catheter for infants less than 1 year old.

- Place the catheter in to one of the trays. This will be the drainage/insertion tray.

- In to the other tray (Cleaning/preparation tray) soak cleaning gauze in Chlorhexidine/Cetrimide 0.015%  solution (or 0.9% Sodium Chloride if clinically indicated).

- Attach nozzle to lignocaine syringe

- Place cleaning tray between patient’s legs

- For paediatrics, clean from the penis outwards to the symphysis pubis, scrotum and inner thighs.

- Use non dominant hand to hold the penis. Gently retract foreskin if uncircumcised to reveal urethral opening. Use dominant hand to clean the urethral meatus and glans penis with a circular motion from the tip of the penis radiating outwards. For paediatrics, DO NOT forcefully retract the foreskin. In 60% of males the foreskin is able to be retracted by 6 years of age. If the urethral opening can not be visualised, discuss with treating team.

- On completion of cleaning, discard cleaning tray and doff gloves.

- Perform hand hygiene and open second pair of sterile gloves on to clean surface

- Following hand hygiene for aseptic procedure using either alcohol-based hand rub (note: for a minimum of 30 seconds) or a procedural antimicrobial hand wash for one (1) minute. Don new pair of sterile gloves.

- Drape patient with fenestrated drape (sheet) to establish sterile area around the penis, ensuring the anus is covered.

- Use non dominant hand to hold penis at a right angle (90 degree) to the body.Use dominant hand to gently instil 2% Lignocaine gel into the urethra. Wait 3-5 minutes to allow anaesthetising of urethra.

- Use dominant hand to pick up catheter ensuring the drainage end is in the drainage/insertion tray, Place tray on fenestrated drape between the patient’s legs

- Holding penis at a 90 degree angle, gently insert and advance catheter to the Y hub.

- If resistance is felt at the bladder neck, lower the penis slightly, ask the patient to take a deep breath or cough and bear down, or gently rotate the catheter. If resistance continues, withdraw catheter and insert more anaesthetic gel. Re-insert new sterile catheter after a further three to five minutes. If further resistance is encountered, seek advice from urology APN, Continence CNC or Medical Officer.

- Once at the Y hub if there is an obvious urine flow, inflate the balloon with the required volume as per manufacturer’s instructions. If the patient experiences pain on inflation of the balloon stop inflation and reassess for correct placement of catheter. Gently withdraw the catheter until resistance is met.

- Collect sterile urine specimen or perform urinalysis if required. Refer to Urine Specimen Management Procedure

- Where present, replace foreskin to natural position.

- Remove the protective cap from the urinary drainage bag, seal outlet tube and attach to the catheter on the fenestrated drape.Drain 600mL only (adults) then clamp urine drainage for an hour. For paediatrics, discuss initial amount of urine to drain with treating team.

COMMUNITY SETTING:. Clamp with flip flow valve and check clinical observations. Arrange with patient a plan for review in 1 hour (eg 2nd visit/phone call/ LINK visit)

- Remove tray, drape and procedural pad and discard

- Secure catheter to patient’s thigh ensuring there is no tension on the catheter. For paediatrics, secure to groin or abdomen rather than the inner thigh, to reduce risk of urethral damage. Position drainage bag securely ensuring it is below the height of the bladder and not on the floor.

- For paediatrics, wash off the chlorhexidine to reduce skin irritation.

- Ensure the patient is comfortable. For paediatrics, place a clean nappy or underwear if the child wishes.

- Discard equipment into clinical waste receptacle, doff gloves and perform hand hygiene

- Remove PPE, perform hand hygiene and clean trolley with detergent impregnated wipes, perform hand hygiene.

- Educate patient/parent on penile care, refer to section 3.2.

- Perform hand hygiene when leaving the patients environment as per the 5 moments of hand hygiene

- Record output, clarity, colour and odour on the patient's FBC and clinical record

- Record the procedure in the patient's clinical record in the Lines/Drains/Airway (LDA) section of the avatar.  Documentation should include:

  - Date and time of procedure

  - Type and catheter size

  - Amount of water in the balloon

  - Indication and scheduled date for removal or change

Community specific Record the procedure in the patient’s clinical record.  If recording in hardcopy use the ‘Urinary Catheter Management Chart’ form located on the clinical forms register (form no.60535)

3.2 Perineal/penile care

- Explain procedure to patient and ensure the patient’s privacy is maintained.

- Ensure catheter is securely anchored at all times with a stat lock device (See Attachment C)

- Routine perineal/ penile care is performed daily. The drainage bag must be kept below the patient’s waist to prevent reflux of urine back up the IDC.

- Perform hand hygiene.

- Have soap, wash cloth and basin ready prior to procedure.

- Clean the patient’s genitals from the cleanest area to the less clean area, gently easing back the foreskin (if present, but not for infants or toddlers) for cleaning and replacing once finished.

- Discard equipment into the proper waste disposal.

- Encourage the patient to aim for a two to three litre fluid intake, or as appropriate for paediatrics, unless contraindicated

- Record urine output, including the clarity, colour and odour, and watch out for haematuria in patients with chronic urinary retention.

- Obtain a urine specimen and/or perform urinalysis if required from the clean catch at time of insertion. Refer to Urine Specimen Management Procedure.

- Adjust the patient clinical record to indicate IDC insitu and associated peri-toilets required for hygiene needs.

3.3 Urinary Drainage Bag Management: Inpatient and Community

- Ensure that there are no dependent loops in the tubing to prevent stasis of the urine in the tubing.

- The catheter and the tubing should not be disconnected unless absolutely necessary.

- Urinary drainage bags should be positioned below the level of the bladder to prevent harmful reflux of urine.

- Leg bags can be placed on the thigh or calf and secured to the leg using straps 
provided, to prevent urethral trauma and damage to the bladder wall.

- Urinary drainage bags should be emptied when half to two thirds full and at least once per shift for inpatients.

- Urinary drainage bags should be replaced as per manufacturer's recommendations; every seven days for regular bags or at the time of catheter change for long life leg bags.

- Leg bags are available in a range of capacities: 350mL, 500mL, and 750mL.

- Tubing on leg bags is available in different lengths, (5cm to 40cm) and can be tailored to individual patient's requirements (adjustments can be made with extension tubing and connecting pieces).

- Statlock device are used to secure catheter and must be changed every 7 days (refer to Attachment C).

Instructions for patient/carer regarding changing and cleaning of drainage bags/valves:

- Attend hand hygiene before and after procedure.

- Disconnect old bag/valve and connect new bag/valve to catheter avoid contamination of the connections.

Equipment

- Sterile urinary drainage bag

- Alcohol swab

- Clamp

- Foleys Statlock device

- Safety glasses or goggles

- Clean gown and gloves

- Explain procedure to patient, obtain consent and ensure that privacy is maintained.

- Prepare equipment and the patient.

- Attend hand hygiene and don PPE.

- Ensure the drainage system is closed.

- Remove the protective cap from the drainage tube, clamp the catheter and clean the catheter tubing junction key parts with alcohol swab.

- Disconnect the catheter from the old tubing and connect the catheter to the new tubing without contaminating the end of the catheter.

- Unclamp the catheter and establish drainage by securing the tube.

- Leave patient comfortable and maintain an appropriate level of the drainage bag.

- Discard equipment and perform hand hygiene.

- Document the urinary bag change in the patient’s clinical record, FBC and Patient Accountability and Care Plan.

3.4 Closed Drainage System

- Closed link system is used to facilitate overnight drainage.

- Closed drainage systems are available in drainage bags with a two litre capacity and drainage bottles with a four litre capacity.

- Daily cleaning of the drainage system should be maintained to minimise bacterial growth.

3.5 Open Catheter Drainage (Paediatrics)

Infants who have undergone surgery on the genitourinary system may have their catheter draining into a nappy instead of a drainage bag. The Surgeon may ask for a single nappy or double nappy system. In the double nappy system, the child is placed in two nappies, the first nappy is the child's appropriate size and the second overlapping nappy is one size larger. A hole in the first nappy may be made (and edged with tape) to allow the catheter to be brought through the hole to drain into the second nappy. The catheter must be checked regularly for tension on genitalia or kinks in the catheter. The second nappy may be weighed for fluid balance as required. The nappy that collects the stool (the inner nappy in a double nappy system) needs to be checked regularly (2-3 hourly) to prevent contamination of the catheter or surgical site. Parents/carers should be educated and supported regarding nappy changes and how to manage cleanliness of the catheter

3.6 Catheter Valve System

ALERT: Catheter valve systems or flip flow valves require initiation or approval for suitability of device from Urologist or Urology Registrar or Urology APN or Continence CNC.  
Nurses and patients cannot self initiate the use of catheter valve products without advice from Urology team

- A catheter valve may be used in place of a urinary drainage bag, allowing bladder filling and intermittent drainage (Urologist recommendation should be sought)

- Catheter valves are recommended as single use only items and should not be reused.

- Catheter valves are inappropriate for patients with detrusor instability, lack of bladder sensation, reduced manual dexterity or patients who are confused.

Community nurses should assess the patients ongoing suitability for catheter valve use. Including patients memory to empty flip flow/ sensation of when bladder full, issues with IAD, leaking around catheter site and ability to operate the valve system. If concerned about the patient please contact Urology team, Urology APN, Community Nurse CDN or Continence CNC.

Manufacturer's instruction regarding frequency of change should be observed. Bard catheter valves are changed weekly, Coloplast Simpla catheter valves are changed at the time of catheter change. For patients/ carers to use this system, they need to have:

- The cognitive ability to learn strategies to prevent infection and complications

- An understanding of the principles associated with catheter management

- The awareness of bladder sensation and recognition of bladder fullness, and manual dexterity to manipulate the outlet tap.

Equipment

- Sterile urinary valve (eg Bard flip flow)

- Alcohol swab

- Clamp

- Foleys Statlock device

- Safety glasses or goggles

- Clean gown and gloves

- Explain procedure to patient, obtain consent and ensure that privacy is maintained.

- Prepare equipment and the patient.

- Attend hand hygiene and don PPE.

- Ensure the drainage system is closed.

- Remove the protective cap from the flip flow valve, clamp the catheter and clean the catheter tubing junction key parts with alcohol swab.

- Disconnect the valve from the old tubing and connect the catheter to the new tubing without contaminating the end of the catheter.

- Unclamp the catheter and establish drainage by securing the tube.

- Leave patient comfortable and maintain an appropriate level of the drainage bag.

- Discard equipment and perform hand hygiene.

- Document the urinary valve change in the patient’s clinical record andFBC.

3.7 Removal of Indwelling Urinary Catheter

Clinicians should follow any standing medical order for catheter removal. If no such medical order exists, a clinician should consider daily the following criteria to determine whether it is suitable to remove the catheter:

Is there is a documented reason for the catheter to remain in situ? ∙

Is there is any clinical indication for catheterisation still present?

- Obtain treatment order from appropriately qualified clinical staff member, explain procedure to the patient and ensure privacy.

- Patient identification and allergy band are checked as per Patient Identification and Procedure Matching Procedure.

- Prepare equipment and place patient in supine position.

- Check balloon capacity in the patient’s clinical record and catheter balloon port.

- Adhere to hand hygiene and don appropriate PPE.

- Remove underwear or nappy and place protective sheet under buttocks.

- Detach catheter from Foleys Statlock device, attach syringe to catheter balloon lumen and aspirate fluid slowly to deflate. For paediatrics, do not aspirate, allow the syringe to auto fill with the water for at least 30 seconds. This avoids the balloon ridging and causing pain on removal. It is important to remember that the balloon must be deflated using a syringe to aspirate all the water to avoid trauma to the urethra on removal.  When removing the catheter, do not cut the balloon lumen. The volume of water should be similar to the amount on the balloon port or what has been documented in the clinical record. If there is no water or minimal water withdrawn there may be a blockage, discuss with the treating team before proceding.

- Inform patient to breathe slowly and gently pull the catheter out. If resistance is felt, stop the procedure and reassess.

- Check catheter tip is intact, if not inform medical officer immediately.

- Remove Foleys Statlock device from patient’s body with Alcohol swabs and clean skin area as required (See Attachment C). Document any skin integrity issues from the statlock in the patient’s clinical record.

- Ensure the patient is comfortable. For paediatrics, place a clean nappy or underwear if the child wishes.

- Discard equipment and adhere to hand hygiene.

- Document procedure including patient response in the patient’s clinical record.

Back to Table of Contents

# Section 4 – Suprapubic Catheter Procedures for Adult Patients (not Paediatrics)

The first insertion of suprapubic catheter (SPC) is an invasive medical procedure where the catheter accesses the bladder directly through the abdomen.

Medical Officers must be credentialled to perform insertion of an SPC, this procedure should be performed in a procedural room or single room.

Alert

- The patient will be required to have a full bladder for the initial insertion to reduce risk of perforation of the bowel.

- The insertion of SPC for gynaecology patients on the ward may be performed under ultrasound.

- Once the SPC insertion site is healed, it does not require dressing. The site may be cleaned with warm soapy water. Statlock device must remain insitu to anchor the SPC to avoid dislodgement.

- Maintain a closed drainage system as much as possible to prevent infection. Avoid using talcum powder, creams or strongly scented soaps.

4.1 Insertion

Equipment

- Basic dressing pack

- Sterile dressing towels x two

- Sterile gown and gloves

- PPE

- Sterile water x 20 mL

- 10mL syringes x three

- 21g needle

- 1% Lignocaine x10mL

- Drain sponge dressing

- Foleys Statlock device

- Suture material (as per medical officer’s preference)

- Suture set

- Suprapubic catheter introduction kit available from the operating rooms

- Sterile urinary drainage bag

- 50mL bladder syringe

- 500mL bottle 0.9% Sodium Chloride at room temperature

- Chlorhexidine skin preparation

- Adhesive tape of choice

- Safety goggles or shields

- Procedure underpad

- Clean gown

- Bladder Scanner

Procedure

- The medical officer must document the need for SPC insertion.

- Identify the patient and patients’ allergies as per Patient Identification and Procedure Matching Procedure.

- Explain the purpose of the procedure, gain consent as per Informed Consent (Clinical) Policy.

- Ensure the patient’s privacy is maintained.

- Ensure the patient has adequate analgesic cover prior to procedure if required or requested.

- Assist patient into the supine position, placing procedure underpad beneath the patient’s buttocks.

- Clean trolley and set up equipment on trolley at the patient’s bedside.

- Don PPE and open sterile pack.

- Expose the patient’s suprapubic area.

- Perform hand hygiene.

- Open further equipment required and pour chlorhexidine skin preparation into sterile tray following the Aseptic Technique Procedure

- Provide assistance to the medical officer during the insertion of the SPC.

- Once SPC inserted, attach the urinary drainage bag, ensuring drainage system is closed.

- Place drainage bag below the patient’s waist height.

- Ensure Foleys Statlock device is securely attached to the patient’s skin.

- Apply drain sponge around SPC and secure with tape.

- Discard equipment into clinical waste receptacle and clean trolley with detergent impregnated wipes.

- Ensure patient is comfortable with dressing and understands when the dressing change will be attended.

- Record urine output, clarity, colour and odour on the patient's FBC

- Record the procedure in the patient's clinical record using the Lines/Drains/Airway section of the avatar.  Information to be recorded include:

  - Date of SPC insertion

  - Type and size of catheter

  - Amount of water in the balloon

  - Amount of urine drained

  - Patient’s response to the procedure.

4.2 Dressing Change

Note: SPC site should only have dressing in situ for 24 to 48 hours unless exudate indicates a longer time frame.  Occlusive dressings are not appropriate in the community setting.

Equipemnt

- Basic dressing pack

- clean gloves x2

- PPE

- Sodium chloride x 20 mL

- Drain sponge dressing

- Wound cleansing solution

- Adhesive tape of choice

- Procedure underpad

- Identify the patient and patients’ allergies as per Patient Identification and Procedure Matching Procedure.

- Explain the purpose of the procedure, gain consent as per Informed Consent (Clinical) Policy

- Ensure the patient’s privacy is maintained.

- Clean trolley and set up equipment on trolley at the patient’s bedside.

- Don PPE and open sterile pack.

- Open the basic pack and pour sodium chloride 0.9% on the tray

- Don clean gloves and expose SPC site

- Remove and discard the soiled dressing into the clinical waste receptacle.

- Inspect the SPC site for clinical signs of infection and healing; notify Medical officer if required.

- Discard gloves.

- Perform hand hygiene and don clean gloves as per Aseptic Technique Procedure.

- Use wound cleansing solutions at body temperature. Irrigate with 0.9% sodium chloride solution to remove debris and contaminants

- Swab the site gently in a single direction and let area dry

- Ensure the site is dry before applying new dressing

- Apply new dressing and secure with adhesive tape or bandages

- Statlock device must remain insitu to anchor the SPC to the body to avoid dislodgement

- Discard equipment into clinical waste receptacle and clean trolley

- Ensure patient is comfortable with new dressing change and understands when the next dressing change will be attended

- Change dressing or appliances as frequently as required to effectively remove excessive exudate or infected material

- Document in the patient’s clinical record and wound care chart:

- A description of the wound

- Type of dressing applied

- Any change of dressing

- The reason for the change

4.3 Changing Suprapubic Catheter: Inpatient

SPC should be changed four to six weeks post initial insertion. Medical Officers or credentialed Nurses may perform suprapubic catheter changes, where the catheter is a balloon catheter (Foley) or a Bonanno (Pigtail) utilising aseptic technique unless otherwise specified by the Urologist.

In cases of symptomatic urinary tract infection (UTI) is suspected and patient is not on antimicrobial therapy, consider the need for change of SPC before clarification of infection status. If change is still required, consult the medical team for immediate treatment ensuring a mid-stream urine is obtained once the new catheter is inserted.

Note:

- Latex SPC’s must be changed every two weeks and Silastic SPC’s must be changed every six weeks. First change of a new SPC is to be performed by Urology APN in outpatient’s clinic.

- The patient’s SPC is to be clamped for 30 to 60 minutes prior to SPC change to ensure bladder volume for easier palpation.

- Clamping of SPC is not recommended for patients with spinal cord injury at or above T6 or patients at risk with Autonomic Dysreflexia.

- Changing of a SPC requires 2 staff members. 1 staff member performs the procedure and the other removes the used catheter.

Equipment

- Basic dressing pack

- Sterile dressing towels x two/sterile drape

- Sterile gloves

- PPE

- Sterile water x 20 mL

- 10mL syringe

- Drain sponge dressing (if required)

- Foleys Statlock device

- Suprapubic catheter

- Sterile urinary drainage bag

- 20mL 0.9% Sodium Chloride

- Chlorhexidine skin preparation

- Adhesive tape of choice

- Procedure underpad

Procedure

- Attend steps 1 to 7 of SPC Dressing procedure.

- Don sterile gloves.

- Sterile catheter is placed in the sterile kidney dish.

- Swab around catheter site with chlorhexidine and gauze swab.

- Place sterile towels/drape around SPC site.

- Second person to withdraw fluid using 20mL syringe from catheter balloon insitu.

- Catheter is then gently withdrawn; gentle rotation of the catheter may assist in removal

- Discard into clinical waste receptacle.

- Swab fistula site with 0.9% Sodium Chloride and gauze swab.

- Catheter is inserted through the fistula at a 90 degree angle to the abdominal wall.

- Insert the catheter approximately 8 to 10cm or until there is an obvious backflow of urine.

- Inflate the balloon with the sterile water and 10mL syringe following manufacturer’s instructions (5 to 10mL).

- If a clean catch of urine is required for testing, collect specimen

- Connect the drainage bag to the catheter ensuring closed system.

- Apply drainage tube dressing if required and secure the catheter to the abdomen with Foleys Statlock device.

- Discard equipment into clinical waste receptacle and clean trolley with detergent impregnated wipes.

- Patient education should be done including the next due SPC change and to report any significant changes in the site.

- Record the procedure in the patient's clinical record including:

  - Date of SPC change

  - Type of catheter and size

  - The amount of water in the balloon

  - The condition of the fistula

  - The patient’s response to the procedure.

4.4 Removal Suprapubic Catheter

Prior to the removal of the SPC ascertain if the patient can void by clamping the catheter for two hours prior to the removal procedure. Check the urine residual using a bladder scanner. The tip of the SPC is sent to pathology for analysis following removal when ordered by a Medical Officer.

Note:It is not unusual for a small amount of leakage at the fistula site on removal of SPC. Regularly change the dry dressing and reassure the patient that this may continue for a few days, however, no medical intervention is required.

Equipment

- Basic dressing pack

- PPE

- 0.9% sodium chloride x 10 mL

- Syringe to deflate balloon

- Suture cutter if required

- Sterile scissors

- Skin cleansing solution

- Procedure underpad

- Dressing

- Adhesive tape of choice

Procedure

- Attend steps 1-5 of SPC Dressing Change

- Don sterile gloves

- Remove the suture (if present) holding the catheter in place

- If the SPC has a balloon, deflate using the relevant size syringe

- Gently withdraw the catheter in a steady continuous motion

- Using sterile scissors cut the tip off the catheter into a sterile specimen jar and send to pathology for analysis if required , refers to Pathology Specimen Handling Procedure

- Use cleansing solutions at body temperature to clean the wound and irrigate the area with 0.9% sodium chloride solution, to remove debris and contaminates

- Swab gently in one direction and allow site to dry before applying new dressing.

- Apply new dressing and secure with adhesive tape or bandage

- Discard equipment into clinical waste receptacle and clean trolley with detergent impregnated wipes

- Ensure patient is comfortable with dressing and understands when the next dressing change will be attended

- Document procedure in patient’s clinical record including:

  - Date and time of the SPC removed

  - Condition of stoma or insertion site

  - If the catheter tip is sent for Microscopy, culture and sensitivity (MC&S)

  - Patient’s reaction to the procedure.

4.5 Management of Supra Pubic Catheter: Community Based Patient

General Information

- Following initial insertion, the tract will take 10 days to four weeks to become established.  If the catheter becomes blocked or dislodged within this initial phase, expert medical advice should be sought as soon as possible. The patient should return to the treating hospital for management.

- Prior to first change of a suprapubic catheter a medical officer must document the management of the SPC in the patient’s clinical record.  If required in hardcopy the medical officer completes the ‘Medical Officer’s Orders for Urinary Catheter Management’ form on the clinical forms register (form no. 40950).

- Community nurses may perform the first and subsequent suprapubic catheter changes, where the catheter is a balloon catheter (Foley) and NOT a Bonanno (Pigtail).

- First change of suprapubic catheters can be performed in the ambulatory clinic or in the patient’s own home unless otherwise documented by specialist or GP.

- The size of the catheter should be no smaller than 16Fr in adults with a 10mL balloon.

- Ensure patient has had adequate fluid intake prior to procedure.

- Catheters should not be clamped prior to removal.

- Always endeavour to re-insert same size catheter where possible.

- If unable to re-insert a catheter, insert a Nelaton catheter to keep stoma open and arrange prompt transport to treating hospital for catheter reinsertion.

- Urinary catheters need to be changed at intervals that meet each patient’s specific needs and comply with manufacturers’ recommendations (usually 6 to 12 weeks).  Careful evaluation of each catheter change will enable the nurse to establish each patient’s individual catheter change routine.  Use information in the patient’s clinical record or on the hardcopy Urinary Catheter Management Chart on the clinical forms register (form no: 60535) to assist with this process.

- Stabilising the catheter to the abdomen as well as to the upper thigh with a securement device is vital to reduce adverse events such as dislodgement, tissue trauma, hyper-granulation, inflammation and infection.

- SPC stoma sites do not routinely require a dressing after the first 24 - 48 hours of initial insertion. If the site has a discharge a temporary sterile gauze dressing should be applied.

- Ensure the patient is informed of the procedure should the catheter become dislodged and that contact numbers are in place for Community Nursing team leader, the LINK after hours service and the treating hospital.

- Where difficulties are experienced or anticipated seek medical assistance.

- Where a catheter is required to be removed permanently, medical orders should be obtained from the treating doctor and documented in the patient’s clinical record.

- Medical Officer’s Orders for Urinary Catheter Management should be reviewed every 3 years.

- If the Supra pubic catheter becomes dislodged an attempt to replace it should occur within 30 - 45 minutes to prevent the stoma closing over.

Patient with spinal lesions at or above T6

Patients with spinal lesions above T6 require monitoring for Autonomic Dysreflexia (do not clamp catheter prior to change).

The following conditions do not preclude catheterisation but extra care should be taken when:

- The patient is taking high dose anticoagulants as these increases the risk of haemorrhage.

- There is a history of recent surgery, cancer or radiotherapy to the lower urinary tract.

Consult with medical officer if in doubt.

Equipment:

- Sterile catheter pack

- 10mL of sterile water to inflate the balloon

- Urinary catheter to meet patient’s specific needs (size 16 or above)

- Sterile 0.9% sodium chloride (cleansing solution)

- Sterile gloves

- Non-sterile gloves

- Water soluble lubricating gel. (Lignocaine 2% gel for patient with SCI and/ or bladder spasms)

- 2 x 10 mL syringe

- Drainage equipment to meet patient’s specific needs

- Safety goggles

- Disposable Gown

- Antimicrobial hand gel

- Small sterile dry dressing may be required

Procedure:

- Read medical order, identify correct patient for catheter removal and re-insertion, explain procedure and obtain consent from patient

- Position patient appropriately for their comfort, condition and delivery of care: clinic/home

- Attend to hand hygiene and don non-sterile gloves and safety eyewear and gown.

- Deflate balloon, do not remove catheter (allow balloon to passively deflate without drawing back on syringe to prevent balloon distortion)

- Hand hygiene and don sterile gloves.  Drape with sterile towel.

- Lubricate tip of catheter. (Lignocaine 2% gel for patient with SCI and/ or history of bladder spasms)

- Clean around catheter insitu with sterile 0.9% sodium chloride

- Place sterile fenestrated drape over area

- Grasp the catheter with non dominant hand under the drape and remove catheter from bladder.

Note:

Position, angle and length of the catheter from the stoma exit to the catheter hub

- Insert new catheter immediately using your dominant hand at the angle and length of catheter previously removed

- Advance the catheter into the tract a further 3 cm to prevent the catheter tip irritating the bladder wall.

- If no urine drains gently apply pressure over the symphysis pubis area. If no result, follow Attachment E Troubleshooting guide for urinary catheters – No Drainage After Catheter Insertion.  For community patients do not leave the patients house until Urine drains or if ACC patient, patient should not leave health centre until urine is draining.

- Once urine drains, slowly inflate balloon with required volume of sterile water (according to manufacturer’s instructions), check patient for any ongoing discomfort or pain

- Withdraw the catheter slightly and attach sterile drainage bag

- Secure catheter to patient’s top of the thigh with securement device then secure the drainage bag to the leg with leg straps. Discard equipment and attend hand hygiene

- Document the procedure in the patient’s clinical and if using hardcopy file on the Urinary Catheter Management Form

Care of the Suprapubic Catheter:

- See Troubleshooting guide for urinary catheters (Attachment D)

- The SPC emerges at a right angle to the abdomen and needs to be supported in this position

- It is not necessary to rotate the catheter at the insertion site between catheter changes

- Observe the SPC site for signs of infection and/ or over granulation

- Dressings should not be routinely used. If a dressing is required, it must be sterile and applied using an aseptic technique

- Hygiene is important and once healed the site should be washed with warm soapy water, preferably twice daily. Cleaning should be directed away from the insertion site

- Talcum powder, creams and strongly perfumed soaps should be avoided.

- Patients should be made aware of the importance of hand washing both before and after handling the catheter drainage system

Supply of catheter equipment:

- The treating nurse will educate the patient on how to access the necessary supplies. (See Attachment B)

Back to Table of Contents

# Section 5 – Intermittent Urinary Catheterisation in the Adult or Paediatric Inpatient

Intermittent ‘in/out’ catheterisation should be considered when a urinary catheter is required to be inserted and removed immediately after the completion of drainage. Intermittent ‘in/out’ catheterisation is appropriate for the alleviation of urinary retention or obstruction (e.g. neurogenic bladder) or for certain investigations (e.g. collection of a catheter urine specimen).

Alert

- Specific Spinal Cord considerations: Do not clamp the catheter for patients who have spinal cord injury at or above T6. Ascertain if patient is on anticoagulants prior to procedure. Seek medical advice for patients with artificial heart valves. Be cautious in inflating the catheter balloon and monitor for haematoma, haemorrhage, rupture or necrosis.

- Repeated intermittent catheterisation may be undertaken, however repeated insertions may increase the risk of trauma to the insertion site and urethra and may increase the risk of introducing microorganisms into the bladder. Ensure that the catheter is well lubricated to minimise insertion trauma.

- Intermittent catheterisation is an aseptic procedure and is different to clean intermittent ‘in/out’ self-catheterisation as this is performed by CHS staff.

Equipment

- Disposable catheter pack

- Short term Nelaton catheter of correct size (short 12-14 Fr/long 14-16Fr, or as per Attachment G for Paediatrics) i.e. smallest size suitable

- Chlorhexidine/Cetrimide 0.015%  2x30ml (PICS Code 80089) or 0.9% Sodium Chloride 60mL

- Lubricant sachet

- Measuring jug

- Procedural under pad

- Clean gown

- Sterile gloves

- PPE

- Sterile specimen jar, if required.

Procedure

- Follow the insertion procedure as noted for either patients with a vulva or penis catheterisation, however, you do not require anchoring device, urinary drainage bag or syringe and water for injection.

- If there is an obvious urine flow, hold the catheter in place until the urine ceases to flow.  Withdraw the catheter gently until urine recommences flowing.  Once urine flow ceases gently withdraw catheter completely.

- Leave the patient comfortable and lower the height of the bed.

- Discard equipment and perform hand hygiene.

- Document findings and record the procedure in the patient's clinical record:

  - Date and time of procedure

  - Type and catheter size

  - Reason for insertion

- Perform urinalysis of obtained specimen if necessary.

Back to Table of Contents

# Section 6 – Clean Intermittent Urinary Catheterisation: Self Catheterisation

Registered Nurses who educate patients in the procedure for Clean Intermittent Self Catheterisation (CISC) must have current theoretical knowledge and be credentialed in the procedure. A student nurse may undertake the procedure under the direct supervision of a credentialed clinician.

Equipment

- Intermittent (Nelaton) catheter, recommended sizes 8 to 10Fr children, 12 to 16Fr adults. Patient with a penis 400mm length and patient with a vulva 160mm length

- Warm water and a clean face washer (or moist towelettes)

- Water soluble lubricant or anaesthetic gel

- Container to collect and measure urine (e.g. measuring jug, kidney dish, slipper pan)

- Appropriate light source

- Hand held mirror (ideally a mirror on a stand that can be pre positioned for patients with a vulva (initial use only)

- Cotton tip (initial use only)

- Protective sheet (initial use only)

Procedure

- A Medical Officer or Nurse Practitioner must order intermittent catheterisation

- The patient’s ability to perform catheterisation and adhere to a schedule is essential to the success of the CISC program. They must have adequate hand dexterity, mobility and cognition to learn the procedure and understand the principles of management. Age is not a barrier to learning self-catheterisation where the above points are noted

- Nurses must utilise a clean technique when teaching and performing intermittent catheterisation

- Both nurse and patient must comply with hand hygiene before and after the procedure.

- Utilise clean working surfaces for the procedure

- Patient should be placed in comfortably sitting position.

Patient with a vulva:

- Instruct patient to separate the labia majora with the non-dominant hand to expose the urethral opening, and with the dominant hand, wash this area with warm water or moist towelettes.  Start at the top and work downwards

- With the labia still separated by the non-dominant hand, using the first and third fingers, the nurse uses the cotton bud and mirror to point out the anatomy of the clitoris, urethral opening and the vagina

- Patient then palpates the urethra with the second finger (feels like a small hole or donut) and leaves it over the urethral meatus.  The patient then takes the catheter in the dominant hand, holding it two to three cm away from the tip, and gently inserts into the urethra, sliding it under the palpating finger in a gentle upwards and backwards motion.

Patient with a penis:

- Instruct patient to grasp the penis at the sides (so as not to compress the urethra) with the non-dominant hand

- If the patient is not circumcised, instruct to gently retract foreskin

- Wash the end of the penis gently with a clean sponge or moist towelettes

- Hold the penis upright at 45/90o angle from abdomen, grasp the catheter about 7 cm from the tip and gently insert the catheter into the urethra until urine starts to flow.

- Allow urine to drain into container and apply gentle pressure over the suprapubic area when flow ceases.  This will ensure the patient’s bladder is empty

- Gently withdraw the catheter

- Measure amount and consistency of urine

- Document the procedure

- Patient education will include anatomy and function of the urinary system, infection control, fluid balance, bowel management and the management of complications.

- Once the technique is mastered, the patient may work towards performing the procedure without a mirror and in any position that suits the patient.  Assistance in determining this routine may be obtained from Urology APN, Continence Advisors, Continence CNC, Medical Officer or Urologist.

Catheter types

- Catheters for self-catheterisation do not require a retention balloon and comprise of a plastic (PVC) tube with two eyes at the tip and a funnel at the other end

- Generally, the types of PVC catheters used are either coated or non-coated catheters

- Uncoated catheters require separate lubrication to enter the urethra easily and prevent soreness and discomfort.  Most of these catheters are single use only, though the ‘CLINY’ brand can be cleaned and reused

- Coated catheters feature a special coating that means lubrication is not required for insertion, check manufacturers’ instructions as may need water to activate lubricant They are generally well tolerated and more comfortable than non-coated catheters, but also more expensive and single use only

- Catheters are available in paediatric, short and long lengths.

Catheter supplies

Catheters can be obtained via:

- Continence Aids Payment Scheme (CAPS)

- ACT Equipment Scheme (ACTES)

- Department of Veteran Affairs Rehabilitation Appliance Program (RAP)

- Medical and Surgical wholesalers

- Some pharmacies

Catheter care

- Catheters should be used according to manufacturer’s instructions, as many catheters are labelled for ‘single use only’. The symbol for single use only is

- Where catheters are labelled single use only, CHS is obliged to recommend that a new sterile catheter, in a sealed package within the use by date, be used for each catheterisation

- Catheters that are not labelled ‘single use only’ see manufacturers’ guidelines for instructions regarding cleaning and reuse.

Back to Table of Contents

# Section 7 – Urinary Catheter Flushing for Adult patient

Urinary catheter flushing is a prescribed procedure using a small amount of fluid to maintain patency of a catheter. This procedure requires aseptic technique as the breakage to the close urinary drainage system can be a high risk factor in the development of UTI.

Treatment order should be obtained from the medical officer and requires the following equipment

- Sodium chloride 0.9% solution

- Maximum of two consecutive flushes of 20mL each

- Management of catheter if unable to flush

- Review date of treatment/blockage

Alerts

- Urology team should be informed of the blocked catheter.

- Catheter that is blocked for >2 hours may require flushing.

- Catheter that remains obstructed after a flush and catheters that remain patent only when flushed should be replaced.

- Catheter flush is not considered safe practice on patients who have undergone renal transplant or open bladder surgery.

Equipment

- PPE and sterile gloves

- disposable catheter pack

- 2x 60mL catheter tip syringe (to ensure low pressure on the catheter)

- procedural under pad

- one pair sterile gloves

- three alcohol wipe

- sterile leg bag

- Sodium Chloride 0.9% irrigation solution at body temperature (never use cold solution to flush catheter as it can induce a bladder spasm)

Procedure

- Treatment order and informed consent should be obtained before the procedure.

- Prepare sterile setup, place 0.9% Sodium Chloride in catheter tray and draw up the required amount using a 2 x sterile 60 mL catheter tip syringe

- Place procedural pad under the catheter and drainage bag connection

- Don PPE and sterile gloves

- Place sterile towel under site where urinary catheter and drainage bag are attached

- Clean catheter and drainage bag connection with alcohol wipe (allow to air dry)

- Disconnect and place the drainage bag in the waste receptacle .

- Carefully insert the syringe and flush it with 20mL Sodium Chloride 0.9% to evacuate the debris.

- Pinch the end of the tubing and carefully pull to remove the catheter tip syringe

- Evaluate effectiveness of flush. If unsuccessful repeat with second 20ml flush as per medical orders

- Connect and secure catheter to drainage bag without contaminating either connection

- Evaluate outcome and document in the patient’s clinical record.

Back to Table of Contents

# Section 8 – Uro-Tainer Catheter Maintenance Solutions (CMS) in the Neurogenic or Suspected Neurogenic Bladder

Catheter maintenance solutions (Braun Suby- G, Solution R, 0.9% sodium chloride and Polyhexamethylene biguanide hydrochloride (PHMB)) are a prescribed procedure using a small amount of fluid instilled into the bladder via the catheter to maintain the patency . This procedure requires aseptic technique as the breakage to the closed urinary drainage system can be a high-risk factor for the development of UTI. Each Uro-Tainer product is a single use system. The Uro-Tainer products are designed to prevent catheter scale, calcification,  blockage from debris/mucus/tissue waster and reduce trauma on removal.

Treatment orders should be obtained from a medical officer for one of the following solutions:

- Uro-Tainer® Suby G Citric Acid  100mL or 2x30mL (PICS CODE 144651)

- Uro-Tainer® Solutio R Citric Acid  100mL or 2x30mL (PICS CODE 144652)

- Uro-Tainer® PHMB Polihexanide 0.02%  100mL (PHMB Requires Urology review and authorisation)

- Uro-Tainer® NaCl 0.9% CE 50mL or 100mL (PICS CODE 144650).

Indications

- frequent catheter blockages (>2 blockages within 28 day period)

- frequent symptomatic UTI

- excessive sediment/encrustation/crystals identified in catheter or suspected in catheter tip.

Contradictions

- recent renal surgery

- recent bladder surgery

- known cystitis or other uro-genital conditions that can produce frank haematuria

- known UTI with sensitivities - unmanaged

- bowel and/or constipation symptoms – unmanaged.

Considerations before starting

- recent urine Microscopy, Culture and Sensitivity (MC&S) to rule out bacterial colonisation (within last 28 days)

- altered pH >6.8

- renal ultrasound in last 12 months.

Monitoring

Suby G and Solution R catheter maintenance solutions products require pH monitoring to be completed by nursing staff on a regular basis. The rate of pH monitoring is as per the frequency of administration. See below guide regarding pH monitoring frequency when administering Suby G or Solution R. See quick reference guide at Attachment G.

- Administration of Uro-Tainer® Suby G Citric Acid 3.23g / Uro-Tainer® Solutio R Citric Acid 6g x 3 times a week – WEEKLY pH check - urine to be collected as per Step 8 below and tested/recorded post procedure

- Administration of Braun Uro-Tainer Suby G/Solution R x 2 times a week – once a FORTNIGHT pH check – urine to be collected as per Step 8 below and tested/recorded post procedure

- Administration of catheter maintenance solution once a week – once a MONTH pH check – urine to be collected as per Step 8 below and tested/recorded prior to the administration of the instillation.

Nursing staff are to review catheter occlusions monthly and manage as per information in the patient’s clinical record or flow chart on page 2 of the Bladder Instil (Braun Uro-Tainer) Record of Administration Chart (Form: 36968).

Alert:

Instillation of B.BRAUN Uro-Tainer Catheter Maintenance Solutions

- Nursing staff are to ensure a review with the relevant CNC (Continence CNC – community or Ward CNC) is completed prior to the first administration of a catheter maintenance solution.

- AUTONOMIC DYSREFLEXIA (AD) – Catheter maintenance solutions must be used with caution in this patient group.
Please review the Autonomic Dysreflexia Procedure and treatment algorithm. Patients with spinal cord injury have the potential for AD if the bladder becomes distended. When irrigating a catheter of a patient who has a spinal injury, monitor for the signs of AD during the procedure. If symptoms of AD are present or patient/staff are concerned, release the clamp on the irrigation system and allow the bladder to drain. Follow the Autonomic Dysreflexia Procedure for AD and alert the CNC.

- Catheter maintenance solutions must flow in via gravity. A small gentle squeeze may be given to start the flow of the solution.

- If the Uro-Tainer solution will not flow after a gentle squeeze a catheter change may be required. See Attachment D: Troubleshooting guide for urinary catheters.

- All catheter maintenance solutions are different and have their own indications for use.

- Catheters that remain obstructed after the use of a catheter maintenance solution should be replaced.

- A catheter maintenance solution is not considered safe practice on patients who have undergone renal transplant or recent bladder surgery.

- Catheter maintenance products are not suitable in cases of cystitis or other uro-genital conditions that can produce frank haematuria.

- The administration of a catheter maintenance solution may, for some patients experience slight irritation. If these events occur, please liaise with the prescriber/CNC and consider a less concentrated/reduced frequency of administration or supplement with a Na Cl solution

Equipment

- PPE including goggles, gown and sterile gloves

- Catheter maintenance solution in sterile packaging at body temperature (never use cold solution to flush catheter as it can induce a bladder spasm)

- Dressing pack

- Procedural under pad

- Chlorhexidine 2% alcohol 70% swabs, x2 as required

- Sterile Leg bag / Urine drainage bag

- Dressing trolley (clean surface for community patients)

- Sterile urine container (when applicable – see monitoring)

- pH strips / urinalysis strips (when applicable – see monitoring).

Procedure

- Ensure there is a current medical order for catheter maintenance solution (Braun Uro-Tainer catheter maintenance solution products require a new order and review every 6 months). For each review, medical officers will review the information about urinary catheter management in the patinet’s clincal record or if recorded in hardcopy nursing staff to provide medical officer with the following:

- Bladder Instil Management Order Form (Form: 36967) and Flow chart on page 2 of Bladder Instill (BRAUN Uro-Tainers) Record of Administration (Form 36968).

- Copy of previous MO order.

- Copy of previous Bladder Instill (Braun Uro-Tainer) Record of Administration form (Form: 36968)(which includes time instilled, catheter changes/blockages and pH record).

- Nursing staff to ensure procedure to be included in patients clinical record and informed consent should be obtained before the procedure.  Patient identification to be confirmed as per Patient Identification and Procedure Matching Proccedure.
If NDIS patient – please email the Canberra Health Services RACS NDIS team on CHS.RACSNDIS@act.gov.au to notify them of the need to increase community nursing service.

- Attend hand hygiene - place procedural under pad under the catheter and drainage bag connection.

- Attend hand hygiene - prepare sterile setup, placing catheter maintenance  solution, Chlorhexidine 2% alcohol 70% swabs, sterile leg urinary leg bag in dressing pack tray (urinary container and pH strips if required).

- Don PPE and sterile gloves.

- Use sterile gauze to lift the catheter tubing and place the sterile towel from dressing pack under catheter / drainage bag connection site.

- Using sterile gauze, disconnect the catheter and discard the urine drainage bag into a waste receptacle. Pinch the end of the catheter tubing about an inch from the end to stop leakage.

- Collect clean catch urine sample to check pH post procedure, refer to Urine Specimen Management.

- Clean catheter neck and connection site with Chlorhexidine 2% alcohol 70% swabs (allow to air dry).

- Using aseptic non touch technique, insert the Braun urotainer into the end of the catheter neck.

- Holding the Uro-Tainer above the level of the bladder, release the clamp and allow the fluid to drain into the catheter by gravity. Do not use force (See Alert). Once the fluid in the container has drained into the catheter and the container is empty close the clamp. Monitor for Autonomic Dysreflexia if applicable to patient – as per Autonomic Dysreflexia Procedure.

- Suby G / Solution R Uro-Tainer solutions should be left in the catheter for 5-10mins. PHMB (Polihexanide) or 0.9% sodium chloride products do not need to be left in the bladder if they are indicated for mechanical rinsing.

- Place empty Uro-Tainer below the level of the bladder while connected to the catheter. Open the clamp and let the fluid drain into the Uro-Tainer via gravity. Once fluid has stopped draining, clamp the tube.

- If using a TWIN SOLUTION – Repeat step 10 for the second half of the container.

- Clean catheter and Uro-Tainer connection with Chlorhexidine 2% alcohol 70% swabs (allow to air dry).

- Using aseptic non touch technique, pinch the end of the tubing and disconnect the Uro-Tainer. Discard the Uro-Tainer into a waste receptacle.

- Reconnect and secure catheter to a new sterile drainage bag without contaminating either connection.

- Wash hands and discard equipment into appropriate waste receptacle.

- Assess outcome, and document in the patient’s clinical record. The assessment should include:

  - Current Medical Officer’s orders appropriate as a management (discuss with CNC if needed)

  - Contacting Medical Officer to request new orders (see step 1 regarding information regarding information required to be provided to Medical Officer.

Back to Table of Contents

# Section 9 – Trial of Void

The aim of a trial of void (TOV) is to determine the ability of the patient to empty their bladder spontaneously of urine with a ‘safe’ residual volume, if any, remaining in the bladder.

Refer to Continence Assessment and Management Procedure for information on Bladder Scan.

If the TOV fails the patient is generally catheterised again.  The clinical staff member who ordered the TOV will advise the course of action for the patient.

9.1 Trial of Void for inpatients

The following TOV procedure is only suitable for adult inpatients. Maternity and Gynaecology inpatient TOV procedure is outlined in Bladder Distention Injury Prevention – Maternity and Gynaecology Guideline.

TOV is not to be commenced until the patient has been reviewed by an appropriately qualified Medical or Nursing staff member. TOV can be performed by Medical Officer, Nurse, Midwife or nursing/medical student under direct supervision.

During the period of the trial it is essential that the patient’s bladder and upper renal tracts be protected by ongoing assessment and accurate documentation of fluid input and output.

9.1.1 TOV for inpatient with urethral catheter

Equipment

PPE – protective eyewear, plastic apron and gloves

10mL sterile syringe

Clinical waste bag

Measuring jug

Bladder scanner

Catheterisation equipment on standby

Procedure:

- Time the removal of the patient’s IDC at an appropriate time, preferably before midday so that the majority of the TOV process occurs within daytime hours.

- Perform hand hygiene in accordance with the five moments of hand hygiene.

- Verify patients’ identity and confirm procedure once identifying the order for TOV

- Explain the procedure to the patient and /or carer and obtain consent

- Perform Hand hygiene

- Apply PPE

- Deflate catheter balloon and gently remove urinary catheter.

- Document the time of urinary catheter removal and any associated issues along with the amount of urine in the urine bag on the fluid balance chart in the patient’s clinical record.

- Advise the patient to maintain a fluid intake of 250mL per hr (unless contraindicated by a fluid restriction) and record intake on fluid balance chart.

- Advise the patient to void without straining when they have the urge or desire to void using either a bed pan or urinal bottle.

- Measure and record each individual voided volume on fluid balance chart.

- Scan the patient’s bladder using a bed side scanner immediately following the void and record post void residual (PVR) on the fluid balance chart.

- If the patient has not voided for 4-6 hours and has no desire to void, then scan their bladder to assess.

- It is advisable to have the void and PVR information for at least three voids.

- Report the result to the relevant medical officer or specialist nurse.

9.1.2 TOV for inpatient with Suprapubic catheter

Equipment

PPE – protective eyewear, plastic apron and gloves

Clinical waste bag

Measuring jug

Catheter valve Flip Flo Valve

Alcohol prep pads

Procedure

- Time the removal of the patient’s drainage bag at an appropriate time, preferrable before midday so that the majority of the TOV process occurs within daytime hours

- Perform hand hygiene in accordance with the five moments of hand hygiene.

- Verify patients’ identity and confirm procedure once identifying the order for TOV

- Explain the procedure to the patient and /or carer and obtain consent

- Perform Hand hygiene

- Apply PPE

- Remove the drainage bag and after cleaning the catheter end with an alcohol wipe insert the catheter valve. (if catheter valve already present it should remain closed)

- Document the time of drainage bag removal on the fluid balance chart.

- Advise the patient to maintain a fluid intake of 250mL per hr (unless contraindicated by a fluid restriction) and record intake on fluid balance chart.

- Advise the patient to void without straining when they have the urge or desire to void using either a bed pan or urinal bottle.

- Measure and record each individual voided volume on fluid balance chart.

- Following each urethral void, drain any residual urine via the SPC into a measuring jug and record post void residual (PVR) on the fluid balance chart

- If the patient has not voided for 4-6 hours and has no desire to void or they experience discomfort, release the volve and document the volume.

- It is advisable to have the void and PVR information for at least three voids.

- Report the result to the relevant medical officer or specialist nurse

9.2 TOV in Community setting

Note

- Constipation in past 24 hours should be corrected before catheter removal.

- Obtain history that can affect the ability to void (e.g. medications)

- Discuss with senior clinicians regarding any conditions that may affect catheter removal (e.g. immunological diseases, bleeding tendency, UTI, congestive cardiac diseases, etc.)

- Medical authorisation is required prior to TOV

- Medical Officer should also assess the patients prior to TOV and complete an order for urinary catheter management in the patient’s clinical record or if required in hardcopy on the Urinary Catheter Management form (available from the Clinical Records Forms Register).

- A maximum of 3 Trial of voids can be performed in the community setting or ordered by the GP within a 6month period. Any additional trial of voids require Urology input before proceeding to trial of void in the community setting. The Advanced Practice Nurse - Trial of void clinic could also be considered for these patients.

A referral to community nursing should be attended prior to the patient going home from the admitted ward for ongoing support and education for catheter care by community nurses if the patient is discharged home with a catheter insitu.

Liaise with the relevant Community Health Centre if the patient’s trial of void was successful and catheter care is no longer required.

When referring patients to Community Nursing ensure that you include the medical officer’s orders form for management of the urinary catheter which provides:

IDC Type

IDC gauge size

Volume of water in balloon

IDC location

Reason for IDC insertion

Scheduled date for removal or change

Equipment

PPE – protective eyewear, plastic apron and gloves

Clinical waste bag

Measuring jug

Catheter valve Flip Flo Valve

Alcohol prep pads

Procedure (SPC and IDC Pathway)

- Treatment order from medical officer in the patient’s clinical record must be reviewed prior to procedure

- Gain informed consent from the patient

- IDC: Removal of catheter is normally between 6:00am (LINK team) and 8:00 to 8:30am (community nurse)

- SPC: If catheter is on free drainage - disconnect the drainage bag and insert catheter valve into the catheter.

- Advise patient to maintain fluid intake of 200-250mL per hour unless contraindicated.

- If the patient feels the urge to void, instruct patient to void through urethra, and measure and record the amount of output.

- Perform bladder scan 4-5 hours after removal of catheter. Follow medical officer’s instructions as outlined in the Medical Officer’s orders in the patient clinical record or in hardcopy on Urinary Catheter Management form.

- Discard equipment into proper receptacle bins.

- Document procedure in patient’s clinical record.

Interpretation of outcome of TOV

Guidelines

The success of a TOV will also be determined by the patient’s symptoms, such as frequency, nocturia and the functional bladder capacity.

The significance of a post void residual is variable and requires individual patient assessment. As a guide, a post void residual of one third to one half of the voided volume (up to approximately 300mls) can be often acceptable.

If the patient fails the TOV then the option of intermittent self-catheterisation may be explored or the urethral catheter reinserted.

Successful Trial of Void

Complete bladder emptying with no or minimal post void residual over three consecutive voids.

Unsuccessful Trial of Void

Patient unable to initiate any urethral void

Small volumes with high residuals post void.

Patient must be provided with a clear treatment plan on referral by the referring Urology or O&G Team with desired outcome for discharge. Advise the patient to maintain a fluid intake of 250mls/hour capped at 1200mls over four to six hours (unless contraindicated).

Patient will be reviewed by the HITH Medical Team on admission and discharge

All voids must have a residual volume less than 150mls to be considered an acceptable outcome for discharge

The relevant Urology or O&G Registrar will be contacted in a timely manner if there are any concerns re the progress of the trial of void

If TOV is NOT SUCCESSFUL a suitable urinary catheter will be reinserted in liaison with the relevant treating Registrar.  Instructions re repeat trial of void will be arranged in consultation with the Registrar and the patient. A new booking will be made at the HITH clinic

If the patient TOV is unsuccessful and a repeat TOV is NOT planned, a urology appointment will be made with the treating specialist as per the Urology Registrar

If TOV is SUCCESSFUL the urology registrar will approve discharge and arrange an appropriate follow up plan

A maximum total bladder capacity should not exceed 600mls (voided volume + residual).

Back to Table of Contents

# Section 10 – Palliative or End of Life Care for Patients with a Urinary Catheter

Patients receiving end of life care can be in the hospital or in the community setting.

Continence management in end-of-life care includes:

- providing the patient with options regarding continence management

- identification of patient specific bladder and bowel management strategies.

Key documentation such as advance care plans, catheter management orders, and ‘not for resuscitation orders’ (NFR) should be included to identify patient treatment options.

Alert - Consider including/discussing or referring to the Palliative Care CNC / Clare Holland House/Clinicical Development Nurse as part of the clinical decision-making process regarding the patient.

Changing a urinary catheter in end of life care.

Nursing staff need to consider the patient’s:

- level of consciousness

- level of pain

- fluid and food intake in previous 24hrs

- comfort requirements.

Changing a urinary catheter at end of life may cause additional discomfort and distress for the patient and family. If a catheter change was not identified as suitable for the above reasons, document the reason for the decision to not change the catheter in the patients clinical record and notify the treating medical officer.

Before the collection of a urine sample consider key documents (as above), patient wishes for antibiotics and hospitalisation, suitability for transport, level of consciousness / swallow / nausea, side effects from antibiotics.

Considerations to optimise catheter management:

Open end catheter

Consider size of catheter. If blockages or sediment has been a concern, consider in consultation with family and Medical officer increasing the size of catheter to improve drainage. Balance of discomfort of blockages vs discomfort related to large size catheter

Optimise bowel function and have a PRN plan management of constipation

Frequency of planned change should be evaluated against best practice guidelines for urinary catheter management, manufacturers life span of product and rate of patient blockages/issues/concerns.

If in the community:

Use of overnight bag (rather then leg bag) if patient is in bed and has limited mobility.

Education and advise regarding peri care, noting patient may have limited mobility, showering less should be included as part of community nursing education/support for the patient and family.

Back to Table of Contents

# Evaluation

Outcome

Patients under the care of CHS requiring a urinary catheter are managed as per this procedure.

Measures

Annual review of clinical incidents related to urinary catheters

Annual review of consumer feedback about urinary catheter management.

Back to Table of Contents

# Related Policies, Procedures, Guidelines and Legislation

Policies

- Informed Consent (Clinical)

- Waste Management Plan

- Medication Handling

Procedures

- Infection Prevention and Control

- Patient Identification and Procedure Matching

- Aseptic Technique

- Wound Prevention and Management

- Clinical Handover

- Vital Signs and Early Warning Score

- Post Operative Handover and Observations – Adult Patient (First 24 hours)

- Cytotoxic Precautions and Epirubicin Installation Management of the Adult Patient in the Perioperative Unit

- Chemotherapy Care of the Adult patient (eviQ)

- Nephrectomy, Percutaneous Nephrolithotomy and Trans Urethral Prostatectomy (TURP) Bladder Irrigation for adults

- Urine Specimen Management

- Advanced Care Planning (Adults)

- Goals of Patient Care Plan (Adult and Paediatric not neonates)

- Autonomic Dysreflexia Procedure

- Continence Assessment and Management Procedure

- Intimate Body Care and/or Examination of Patients/Clients by Health Care Workers

Guidelines

- Fasting Guidelines for Patients requiring Sedation or Anaesthesia

- Bladder Distension Injury Prevention – Maternity and Gynaecology

Legislation

- Health Records (Privacy and Access) Act 1997

- Human Rights Act 2004

- Work Health and Safety Act 2011

- Health Practitioner Regulation National Law (ACT) Act 2010

- Guardianship and Management of Property Act 1991

- Medicinal Treatment (Health Directions) Act 2006

- Powers of Attorney Act 2006

Other

Australian Charter of Health Care Rights

Back to Table of Contents

# References

- Bard StatLock® Universal Plus Stabilization Device. https://www.bardaccess.com/statlock-other-universal-plus.php Accessed 13 November 2013.

- NSW Agency for Clinical Innovation.  ACI Urology Network – Nursing. Nursing Management of Patients with Nephrostomy Tubes. Guidelines and Patient Information Templates. 2012.

- Siddiq M and Darouiche R. Infectious complications associated with percutaneous nephrostomy catheters: Do we know enough? International Journal of Artificial Organs. 2012;35(10):898-907.

- Ramakrishnan,K., Cameron, I., (2013) Management of the Neurogenic Bladder for Adults with Spinal Cord Injuries. ACI State Spinal Cord Injury Service.

- Powell, Charles R., Translational Andrology and Urology (2016) Feb 5(1) 12-21. Not all neurogenic bladders are the same: A Proposal for new neurogenic bladder classification system.

- Dorsher, Peter T. and McIntosh, Peter M., Neurogenic Bladder. Published online 2012 Feb 8, Advances in Urology 816274

- Royal Rehab – The rehabilitation & Disability support network (2014). Competency Assessment – administered a catheter maintenance solution.

- B. Braun Australia PTY, LTD (2013) Uro-Tainer Catheter Maintenance Guide to the right management plan.

- NSW Health Central Coast Local Health District. Catheter maintenance irrigation (community). 2015

- Sydney Children’s Hospital Network. Catheters (Urinary) Management Procedure. 2021. Available: https://www.schn.health.nsw.gov.au/_policies/pdf/2016-9035.pdf

Back to Table of Contents

# Definition of Terms

| Term | Definition |
| --- | --- |
| Anticholinergic | An anticholinergic agent is a substance that blocks the neurotransmitter acetylcholine in the central and the peripheral nervous system. Anticholinergics inhibit parasympathetic nerve impulses by selectively blocking the binding of the neurotransmitter acetylcholine to its receptor in nerve cells. The nerve fibres of the parasympathetic system are responsible for the involuntary movement of smooth muscles present in the gastrointestinal tract, urinary tract, lungs, etc. Anticholinergics are divided into three categories in accordance with their specific targets in the central and/or peripheral nervous system: antimuscarinic agents, ganglionic blockers, and neuromuscular blockers. |
| Autonomic dysreflexia | Autonomic dysreflexia is a sudden and severe rise in blood pressure resulting from overactivity of an isolated sympathetic nervous system below the lesion, triggered by a nociceptive stimulus that can result in intracranial haemorrhage, fits, arrhythmias, hypertensive encephalopathy and even death |
| Bladder Capacity | Functional bladder capacity is defined as the volume of urine accumulated in the bladder prior to voluntary micturition. Cystometric capacity is defined as intravesical volume at the end of the filling CMG. |
| Bladder Compliance | Bladder compliance is defined as the relationship between change in bladder volume and change in detrusor pressure (DV/DP). |
| BPH | Benign Prostatic Hypertrophy |
| CAUTI | Catheter-associated urinary tract infections |
| CBI | Continuous Bladder Irrigation |
| Clinical indication | Rationale to justify a clinical procedure or treatment |
| Closed system | A closed urinary drainage system consists of a catheter inserted into the urinary bladder and connected via tubing to a drainage bag. The catheter is retained in the bladder by an inflated balloon. |
| Credentialing | A process used to verify the qualifications and experience of primarily medical officers to determine their ability to provide safe, high quality health care services within a specific health care setting. |
| CSU | Catheter specimen of urine |
| Fr | French gauge |
| IDC | Indwelling catheter. Also known as indwelling urinary catheter or IUC. |
| In / out catheterisation | Also known as intermittent. Involves brief insertion of a non-balloon urethral catheter into the bladder through the urethra to drain urine. May be on once- off or at intervals. |
| MSU | Mid stream urine |
| Neurogenic Bladder | Neurogenic bladder is a term applied to a malfunctioning urinary bladder due to neurologic dysfunction or insult emanating from internal or external trauma, disease, or injury. |
| NSQHS | National Safety and Quality Health Service Standards |
| PCA | Patient Controlled Analgesia |
| PHO | Public Health Organisation(s). This term refers to Local Health Districts, statutory health corporations or an affiliated health organisation in response of its recognised establishments and recognised services, as defined in the Health Services Act 1997. |
| PPE | Personal protective equipment |
| Residual Bladder Volume | The amount of urine remaining in the bladder after voiding. This is assessed by ultrasonography or bladder scanning |
| Short term indwelling catheterisation | For the purposes of this guideline, short term indwelling catheterisation is considered to be ≤ 14 days |
| SPC | Suprapubic catheter |
| UTI | Urinary tract infection |

Back to Table of Contents

# Search Terms

Urology, catheter, urine, urinary reservoirs, neo-bladder, indwelling catheter, suprapubic, catheterisation, void, Urinary drainage bag, IDC, SPC, Neurogenic dysfunction, Neurogenic bladder, Trial of void, Autonomic Dysreflexia, Bladder compliance, Bladder capacity, Residual Volume, Anticholinergic, Fluid balance.

Back to Table of Contents

# Attachments

Attachment A: Catheter selection

Attachment B: Source of information and/ or suppliers for urinary catheter equipment

Attachment C: Stat Lock – Foley Stabilisation Device

Attachment D: Troubleshooting guide for urinary catheters

Attachment E: Quick reference pH monitoring guide (Administration of Solution R and Suby G)

Attachment F: Paediatric catheter size selection

Disclaimer: This document has been developed by Canberra Health Services specifically for its own use.  Use of this document and any reliance on the information contained therein by any third party is at his or her own risk and Canberra Health Services assumes no responsibility whatsoever.

Policy Team ONLY to complete the following:

| Date Amended | Section Amended | Divisional Approval | Final Approval |
| --- | --- | --- | --- |
| 31/01/2023 | New Document | Lisa Gilmore, Executive Director Surgery | CHS Policy Committee |
| 04/07/2023 | Amendment to include Enrolled Nurses in the Community Care Program | Emma Fox, Executive Officer of Surgery | CHS Policy Team |
| 16/05/2025 | Amendments made to replace 0.1% chlorhexidine with Chlorhexidine/Cetrimide 0.015% solution in Section 3 and 5 and Trial of Void note added to Notes section in Section 9. | Deborah Plant, ED of Surgery | CHS Policy Team |

This document supersedes the following:

| Document Number | Document Name |
| --- | --- |
| CHS19/044 | Catheter Insertion and Management for Adults Clinical Procedure |

## Attachment A: Urinary Catheter selection

| Catheter Materials | Recommended Usage | Advantages | Disadvantages |
| --- | --- | --- | --- |
| Polyvinyl Chloride (PVC) PVC non balloon | Short term use only, maximum 7 days Intermittent catheterisation | Large internal diameter allows good drainage postoperatively | Uncomfortable for long-term use Rigid and inflexible |
| Polytetrafluoroethylene (PTFE) or Teflon coated with latex core | Short term, up to 28 days | Smoother on external surfaces for insertion – reduces tissue damage More resistant to encrustation | If left in situ for too long Teflon coating may wear thin Unsuitable for patients allergic to latex |
| Silver-alloy coated | Catheter expected to be in situ for up to 14 days | Protective against bacteriuria when used for 5days | Not so effective at 14 days - not proven for long term effectiveness |
| Silicone All silicone BARD All silicone CLINY | Long term up to 12 weeks | Wide lumen for drainage. Suitable for patients with latex allergy | ‘Cuffing’ of balloon can occur on deflation and can be more difficult to remove suprapubically |
| Releen 100% Silicone | Long term up to 12 weeks | Reduced urethritis/inflammation of urethra. Wide lumen – reduced encrustation. Integrated balloon – less ridging |  |
| Hydrogel coated latex Biocath® Foley Catheter | Long term use up to 12 weeks | More compatible with body tissue, less trauma. May resist colonisation of bacteria and reduce infection | Does contain latex – unsuitable for patients allergic to latex |
| Silicone elastomer-coated latex (silicone bonding to outer and inner surfaces) | Long term use up to 12 weeks | May help to reduce potential for encrustation | Unsuitable for patients allergic to latex |
| Hydrogel coated silicone Lubri-sil™ (BARD) | Long term use up to 12 weeks | Suitable for patients with latex allergy | Rigid; may be uncomfortable for patients |

## Attachment B: Source of information and/or suppliers for urinary catheter equipment

Funding schemes (pending eligibility)

| Continence /Catheter EQUIPMENT SCHEMES |  |  |  |
| --- | --- | --- | --- |
| Department of Veterans Affairs (DVA) | 1800 555 457 | RAPGeneralEnquiries@dva.gov.au | https://www.dva.gov.au/providers/rehabilitation-appliances-program-rap/rap-national-guidelines/continence-products Supplies may be obtained through Independence Solutions or Intouch Direct |
| NDIS | 1800800110 | Continence inclusion in care plan/not eligible for CAPS | www.ndis.gov.au Encourage to contact Local area coordinator – Ferros Care 1300 090 256 https://www.feroscare.com.au/ |
| CAPS (Continence Aids Payment Scheme) | 1800239309 | Services Australia Continence Aids Payment Scheme Medicare Services GPO Box 9822 Sydney NSW 2001 | https://www.health.gov.au/resources/publications/continence-aids-payment-scheme-application-guidelines-and-application-form |
| ACTES | 02 5124 1076 | PO Box 11 Woden 2606 | ** NEEDS all of the below requirements ** 1. Health Care Card or Pension Card 2. CAPS in place 3. Recent continence assessment identifying permanent, irreversible and sereve incontinence actes@act.gov.au |
| My Aged Care (MAC) | 1800200422 | Level 2-4 packages supply continence aids | www.myagedcare.gov.au |

Canberra Based companies/ suppliers

| COMPANY | PHONE NO | Address | WEB ADDRESS |
| --- | --- | --- | --- |
| Leef Fyshwick (formally known as mobility matters) Continence pads and catheter supplies | 02 6280 7244 | 21-23 Townsville St Fyshwick ACT 2609 | https://leef.com.au/product-category/continence |
| Capital Rehabilitation supplies (also known as Capital Medical Supplies) Continence pads and catheter supplies | 02 6174 4813 | Unit 3 /66 Heffernan St, Mitchell ACT 2914 | https://capitalrehabilitationsupplies.com.au/product-category/catheter-urine-bags/ https://capitalrehabilitationsupplies.com.au/product-category/incontinence/ |
| Mens health down Under Continence pads, penile clamps and penial rehab | 1300 00643 | Suite B3 Canberra Specialist Centre161 Strickland Cres DEAKINACT 2600 | https://menshealthdownunder.com.au/ admin@menshealthdownunder.com.au |
| Local Supermarkets (Woolworths, Coles, IGA etc) Continence pads |  |  |  |
| Local Chemists (Chemist warehouse / Capital chemist / Priceline / Amcal/ Terry white etc) Continence pads |  |  |  |

Continence Suppliers Information

Interstate or Online suppliers

| COMPANY | PHONE NO | WEB ADDRESS |
| --- | --- | --- |
| Independence Australia 6 Holker Street Newington NSW 2127 | 1300 788 855 Fax; 1300788811 | www.independanceaustralia.com.aua has online & hard copy Products Catalogue |
| Brightsky | 1300886601 | www.brightsky.com.au catalogue available |
| Conticare | 03 8506 4644 | https://www.conticare.com.au/ hello@conticare.com.au |
| PARALOGIC | 1300727222 | www.paralogic.com.au orders@paralogic.com.au |
| Intouch Direct | 1300 134 260 | www.intouchdirect.com.au |
| Profile Medical Devices PTY LTD | 02 80682357 | sales@profilemedical.com www.profilemedical.com |
| BBRAUN (CONTACT FOR SAMPLE) | 1800 251 705 | www.bbraun.com.au |
| Cello Paper (CONTACT FOR SAMPLE) Will supply samples & sell | 02 9754 6666 | www.cello.com.au sales@cello.com.au (Also have a hard copy Product Catalogue) |
| Coloplast (CONTACT FOR SAMPLE) | 1800 653 317 Continence Specific Number | http://www.coloplast.com.au/ au.care@coloplast.com |
| Confidence club (CONTACT FOR SAMPLE) | 1800 861199 | http://confidenceclub.com.au hello@confidenceclub.com.au |
| Conni | 1300 721 710 | www.coni.com.au |
| Depend Continence Aids/Kimberley Clarke (CONTACT FOR SAMPLE) | 1800 931 627 | www.depend.com.au (Free Sample email address) |
| Hartmann / Molicare (CONTACT FOR SAMPLE) | 1800 805 839 | hartmann.com.au https://molicare.com.au/ |
| Hollister (CONTACT FOR SAMPLE) | 1800 880 851 | www.hollister.com.au (Also have Product brochures) |
| Night N Day Comfort (Supplier of reusable/washable products/swimmers) | 02 9531 2011 | Nightnday.com.au gday@nightnday.com.au |
| BUNZL (abena/abri) (CONTACT FOR SAMPLE) | 02 9737 2020 | abena@bunzl.com.au www.bunzl.com.au |
| Tena (CONTACT FOR SAMPLE) | 1800 623 347 | www.tena.com.au samples online |

| OTHER CONTACTS |  |  |  |
| --- | --- | --- | --- |
| National Continence Help Line | 1800 330 066 8am – 8pm |  | www.continence.org.au bladderbowel.gov.au pelvicfloorfirst.org.au |
| Central Health intake (CHI) | 02 5124 9977 | LOCAL COMMUNITY NURSING TEAM |  |
| Australian Physiotheapy Association - continence physio | 1300 306 622 |  | https://australian.physio/ |

## Attachment C: Stat Lock – Foley Stabilisation Device

## Attachment D: Troubleshooting guide for urinary catheters

| Troubleshooting guide for urinary catheters |  |  |
| --- | --- | --- |
| Problem | Possible Cause | What to do |
| Catheter Leakage (Bypassing) | Check Plumbing | Is the catheter or tubing kinking - check bag and/or valve connections, check line and connection of tubing. Use catheter securing device. |
|  | Faecal Impaction / Constipation | Assess, alleviate and prevent by review of bowel management. |
|  | Catheter too large | A urethral catheter that is greater than 18Fg may need to be gradually downsized. - Short IDC: 12 -14Fg/10mL balloon - Long IDC: 14- 16Fg /10mL balloon - SPC: 16 -18 |
|  | Balloon too large | A 5-10mL balloon is advised. Authorisation from a Urologist is required for long-term use of a catheter with a 30 mL balloon, given it may contribute to bladder neck erosion. |
|  | Catheter blockage | If a catheter is blocked and has been insitu for >2 weeks, it may be replaced and documented on Urinary Catheter Management Chart. Determine the blocking agent and consult with Medical Officer re indications for antibiotic therapy or refer for a urological review. |
|  | Bladder spasm | See Bladder Spasm |
| Bladder Pain | Bladder spasm | Consider concentrated urine – increase fluids |
|  | Bladder Distension | Assess and action as per No Urine Draining |
|  | Traction on Catheter | Secure with tape or strap |
|  | Bladder infection - Symptomatic | See Infection |
|  | Balloon too large or Catheter too large | 5-10 mL balloon advised (as per manufacturer’s recommendations IDC – less than 18Fg advised |
| Bladder Spasm (Cramps) | Traction on catheter with movement | Ensure catheter is not under tension. Recommend use of catheter strap. |
|  | Faecal Impaction / Constipation | Alleviate and prevent. Review bowel management. |
|  | Bladder infection | See Infection |
|  | Overactive bladder | Discuss use of anticholinergic medication with Medical Officer. Consider use of topical oestrogen for urethritis in patient with a vulvas |
|  | New Catheter in situ | Spasms should settle within 24-48 hours, reassure patient they should resolve. |
| Bleeding | Trauma | Ensure catheter is not under tension, check securement devices. Some patients may experience a small amount of bleeding following SPC change. |
|  | Infection | See Infection |
|  | Persistent Haematuria | Urgent referral to medical officer / Urological consult |
| No Urine Draining +/- urinary leakage | Kinked tubing | Check for correct lie and connection of tubing |
|  | Low fluid intake | Recommend fluid intake of between 2-3 litres daily unless otherwise stated by Medical Officer. |
|  | Faecal Impaction / Constipation | Assess, alleviate and prevent by review of bowel management. |
|  | Drainage bag above bladder level | Lower bag ensure bag is below bladder level to assist gravity. |
|  | Catheter is blocked with mucous or debris | If a catheter is blocked and has been insitu for >2 weeks, it may be changed. Catheter Flush: - may be indicated if a patient has a history of blocked catheter - is prescribed by a medical officer and requires a treatment order - is a short term management option only and the cause of the blockage should be investigated. A Urology review must be in place. Refer to Section 6. |
| No Drainage of Urine After Several Hours | Check as above. | - Check for palpable bladder i.e. blocked catheter. Check the catheter position in the bladder by deflating the balloon and slightly rotate and push catheter in. - Check for sediment and document characteristics. - Replace catheter. - If anuria is identified (urinary output of less than 100-250mL in 24 hours), immediately refer patient to nearest local hospital emergency department. |
| Infection |  | - Review catheter management; ensure closed link system is being maintained. - Patients with symptomatic catheter related infection should be treated as per local prescribing procedure or the latest version of the Therapeutic Guidelines: Antibiotic if not available - Concerns regarding persistent infective symptoms should be referred to a Medical Officer. |
| Pain and Discomfort Around the Catheter, Bleeding, Itching and Soreness | Bladder and/or urethral irritation | - Alleviate urethral traction trauma and potential for pressure necrosis; secure catheter with catheter retaining strap. - Liaise with Medical Officer. - See INFECTION - Discuss with medical officer possible use of - Topical oestrogen for urethritis (in post-menopausal women) with Medical Officer. |
|  | Allergy to catheter material | Change catheter type |
|  | Hyper granulation of supra pubic site due to pulling or tension. | - Prevent catheter traction and alternate the side the catheter is taped to on a weekly basis. - Keep stoma clean and dry. - Silver nitrate treatment may be required (See Wound Prevention and Management Procedure). |
|  | Infection of stoma | Arrange for wound swab, treat as required (See Wound Prevention and Management Procedure ) |
| Catheter Falls Out | Catheter balloon deflates prematurely Balloon faulty Balloon intact Anchor inadequate, or trauma at transfer | - Insert new catheter. A Nelaton catheter can be used to keep site (Stoma) open until Foleys available - Check balloon of dislodged catheter for faults. |
| Urine is Cloudy, Offensive Smelling | Infection | See Infection |
|  | Low fluid intake | Recommend fluid intake: 2-3 litres daily unless otherwise stated by Medical Officer. |
| Difficult Removal | Ridging of deflated balloon or hysteresis’ | - Allow balloon to spontaneous deflate - Select appropriate catheter materials: all-silicone catheters have a tendency to cuff, consider all-silicone catheter with integrated balloon (Releen In-Line Foley catheter or hydrogel coated catheter (Bard Biocath). Consider latex allergy status of patients. - Where cuffing is suspected, consider instilling 1mL of sterile water back into the balloon (after complete deflation). Consider the use of anaesthetic gel prior to the removal of the catheter. |
| Difficult Removal | Bladder Spasm Anxiety | - Apply lubricate to stoma site. - A fair degree of pull may be required, holding the catheter close to stoma, apply consistent firm pressure whilst supporting the abdomen with the non-dominant hand until the catheter releases. - Encourage relaxation, allay anxiety |
| Unable to Insert SPC | Spasm of tract/bladder | - Apply anaesthetic gel (Lignocaine 2%) to stoma site. - Place catheter in stoma, apply firm constant pressure to catheter whilst waiting release of spasm. Insert Nelaton intermittent catheter to maintain tract, then remove and quickly insert usual catheter, or try smaller size Foley catheter. - Report to medical officer, antispasmodic/muscle relaxant therapy may be required. - Where unsuccessful, send patient to hospital within 30 to 45 minutes for management. |
|  | Not following tract | - Re-attempt at correct angle. Always observe the angle of tract during catheter removal. |
| No Drainage After Catheter Insertion | Catheter /balloon not in bladder | - Advance catheter a little further. Once in the bladder SPC should not be advanced more than 10 cm in total. - Check/consider the tip of catheter is not located in the urethra. |
| No Urine in Bladder | Dehydration | - Give extra fluids. - Ensure drainage before inflating balloon. - Advise increased fluids prior to planned catheterisation. |

Attachment E: Quick reference pH monitoring guide (Administration of Solution R and Suby G)

See Section 8 - Uro-Tainer Catheter Maintenance Solutions (CMS) in the Neurogenic or Suspected Neurogenic Bladder

| Frequency of Administration | Frequency of Monitoring |
| --- | --- |
| Three times a week E.g. Monday / Wednesday / Friday | Weekly E.g. every Monday |
| Twice a week E.g. Tuesday / Friday | Fortnightly E.g. every second Tuesday |
| Once a week E.g. Tuesday | Monthly E.g. first Tuesday of the Month |

Attachment F: Paediatric catheter size selection guideline

| Age (years) | Weight (approx.) | Catheter Size | Dose for lignocaine 2% gel |
| --- | --- | --- | --- |
| 0-1 | 3.5-7kg | 6 Fr | Not suitable |
| 1 | 10kg | 6-8 Fr | 1.5-2mL |
| 2 | 12kg | 8 Fr | 2-3mL |
| 3-4 | 14kg | 8-10 Fr | 2.5-3.5mL |
| 5-6 | 18-21kg | 10 Fr | 3-4mL |
| 7-8 | 27kg | 10-12 Fr | 5-6mL |
| 9-<12 | 28kg+ | 12-14 Fr | Max 10mL |