Canberra Health Services

Guideline

Fetal Surveillance

# Contents

Contents	1

Guideline Statement	2

Background	2

Key Objective	2

Scope	2

Section 1 – Fetal Surveillance	3

Intrapartum Fetal Surveillance	3

Antenatal Fetal Surveillance	3

Section 2 – Fetal Scalp Blood Sampling	4

Section 3 – Interpretation of Fetal Blood Sampling Results	5

Evaluation	6

Related Policies, Procedures, Guidelines and Legislation	7

References	7

Search Terms	8

Attachments	8

Attachment 1 Fetal Heart Rate Monitoring Definitions	9

Attachment 2 Antenatal and Intrapartum Factors Requiring Intrapartum CTG Monitoring	10

# Guideline Statement

This document guides medical and midwifery staff in assessing the wellbeing of the fetus in the antepartum and intrapartum periods using electronic fetal monitoring (EFM) with a cardiotocograph (CTG) and fetal scalp sampling.

## Background

EFM is performed using a (CTG) machine. EFM involves the assessment of fetal heart rate (FHR) and uterine activity.  The FHR may be recorded with an external transducer or a scalp electrode. The uterine activity is recorded with an external pressure transducer which measures frequency and duration of contractions.

EFM is used where one or more risk factors that increase the risk of fetal compromise are identified. EFM is a screening test used to identify those fetuses who would benefit from additional forms of testing that can be used to assess fetal wellbeing. Fetal scalp blood sampling for pH and/or lactate is a secondary test for fetal wellbeing in the intrapartum period.

Prior to the commencement of electronic FHR monitoring, the woman should be provided with an explanation of why monitoring is recommended and verbal consent must be obtained.

## Key Objective

This document provides guidelines for clinicians in CTG interpretation and response to the CTG pattern of fetuses greater than 28 weeks gestation. It defines a standardised process of interpretation, documentation and management of cardiotocographs (CTG), in particular where variations from ‘normal’ occur, to improve clinical safety and outcomes for women and their babies.

Back to Table of Contents

# Scope

Fetal Surveillance Education Program (FSEP) training is conducted for midwifery and Obstetric staff by Royal Australian and New Zealand College of Obstetricians and Gynaecologists (RANZCOG) educators and staff are mandated to attend biannually with regular CTG workshops and education sessions being held monthly to reinforce this training.

This document applies to the following staff working within their scope of practice:

- Medical Officers

- Midwives

- Students under direct supervision

Back to Table of Contents

# Section 1 – Fetal Surveillance

This Clinical Guideline will be in accordance with a placeholder to the RANZCOG Clinical Guideline on Fetal Surveillance (Fourth edition) 2019.

Link to guideline https://ranzcog.edu.au/wp-content/uploads/2022/05/Intrapartum-Fetal-Surveillance.pdf

The CTG should be classified and analysed on the following criteria. This is the same terminology used to document and describe the CTG. Refer to Attachment 1.

Baseline Fetal Heart Rate

Accelerations

Variability: normal, reduced, absent, saltatory pattern

Decelerations: early, late, variable – complicated or uncomplicated, prolonged.

Documentation of CTG interpretation is to be completed using the appropriate label in the woman’s clinical record. Abnormal CTGs must be escalated as per actions on the intrapartum CTG label or recommendations on the antenatal CTG label.

Note:

Labels must be signed by two independent practitioners, one being the midwife responsible for immediate care the second a suitably experienced practitioner (team leader/clinical development midwife/level 2 midwife/obstetric registrar/consultant).

The intrapartum CTG label (Intrapartum FHR Pattern Label.pdf) is to be used for all CTG documentation where the woman is contracting or is being augmented or induced with oxytocin infusion.  The antenatal CTG label (Antenatal FHR Pattern Label) should be used in all other circumstances. The labels guide interpretation of the CTG and subsequent actions.  Outcomes of actions and/or escalation are to be documented in the woman’s clinical record.

## Intrapartum Fetal Surveillance

Antenatal and Intrapartum factors that increase risk of fetal compromise are as per Attachment 2. These factors are indicators for the use of continuous intrapartum fetal monitoring.

## Antenatal Fetal Surveillance

The use of CTG to determine fetal wellbeing in the antenatal period must be interpreted in the context of pregnancy risk assessment alongside of fetal development/physiology.

Due to the immaturity of the fetal central nervous system, CTG monitoring should only be considered at a gestation where fetal survival is likely. CTG monitoring is not usually performed until 28 weeks gestation. The use of CTG under this gestation is based on individual clinical circumstances and with consultation from senior midwifery/ obstetric team members.

When interpreting an antenatal CTG, clinicians must take the following RANZCOG definitions into consideration.

Note:

The normal CTG is associated with a low probability of fetal compromise and has the following features:

Baseline rate 110-160 bpm

Baseline variability of 6-25 bpm

Accelerations 15bpm for 15 seconds

No decelerations.

Note:

The RANZCOG IFS guideline does not provide recommendations for fetal surveillance during the antenatal period.

Antenatal CTG only provides assessment of the immediate fetal condition. It should not be used as an assessment of ongoing antenatal fetal wellbeing. Routine CTG monitoring in high risk pregnancy should be used in conjunction with ultrasound assessment of fetal and placental dopplers.

Back to Table of Contents

# Section 2 – Fetal Scalp Blood Sampling

Note: If FBS is performed, the result should be interpreted considering previous FBS measurements, the progress of labour and other clinical circumstances.

Indications

- Suspected fetal compromise suggested by a non - reassuring CTG pattern

- Clear evidence on continuous EFM of serious, sustained fetal compromise.

Note:

Delivery should be expedited if there is clear evidence of fetal compromise, either according to FHR pattern or other concerns such as placental abruption.

Contraindications

- Fetal bleeding disorders

- Face presentation or uncertain presenting part

- Maternal infection (e.g., HIV, hepatitis B, hepatitis C, active primary herpes)

- Suspected fetal sepsis

- Gestation less than 34 weeks gestation.

Relative contraindications (discuss with Consultant Obstetrician)

- Gestation range 34 weeks to 36 weeks and 6 days

- Maternal pyrexia above 38◦C.

Method

- The Obstetric medical officer will explain the procedure to the woman and obtain verbal consent after explaining the reason and risks/complications of the FBS. This procedure may be uncomfortable and intrusive for the woman

- Ensure that the Lactate machine is available, calibrated and functioning

- The membranes must be ruptured and the cervix at least 3 cm dilated for the procedure to be attempted

- Other physical considerations include the amount of effacement, station, application of the vertex to the cervix, volume of amniotic fluid and amount of baby hair

- Assemble the FBS kit on the trolley

- Place the woman in the left-lateral position or in lithotomy with a wedge under the right hip to reduce the risk of supine hypotension

- Continuously monitor the fetal heart rate throughout the procedure

- Use aseptic technique and universal precautions for FBS

- Sampling is performed under direct vision via an amnioscope to avoid contamination with amniotic fluid

- The incision site is carefully cleaned, and a thin layer of paraffin jelly is applied.

- The baby’s fontanelles should be avoided

- Disposable blades fixed in a plastic mount are used in a blade holder from which the blade does not protrude more than 2mm

- A 2mm fetal scalp incision is made with steady pressure of the blade.

- The blood is collected in provided capillary tubes

- As the fetal blood appears, insert the capillary tube to touch the drop of blood and, keeping the tube angled downward, the blood is allowed to flow by gravity

- FBS for lactate:  A minimum of 5 microlitres of blood is required (without air bubbles or liquor)

- Pressure is applied to the incision site with a dry swab until the bleeding stops

- Discard the blade in the sharps container

- Document the procedure, the result, and the subsequent plan of management

- Postnatal examination of the baby should include examination of the sampling site

- Lactate analysis of a blood sample collected in a capillary tube should be carried out within ten minutes of sampling because lactate increases linearly with time

- Paired cord gases (venous and arterial) to be collected and tested at birth of the baby

- Labelling of cord blood gases is per Cord Blood Collection for Blood Group, Direct Coomb’s test (DCT) and Blood Gas Sampling clinical guideline.

Back to Table of Contents

# Section 3 – Interpretation of Fetal Blood Sampling Results

The results of FBS need to be interpreted as part of the full clinical picture. If the result seems completely out of keeping with the full clinical picture (lactate either lower or higher than expected), this needs to be discussed with the Consultant Obstetrician.

Interpretation of fetal blood sampling results:

| Interpretation | lactate | Action |
| --- | --- | --- |
| Normal range | < 4.2 mmol/ l | - if CTG returns to normal and the labour progresses as normal, there is no need to repeat the fetal scalp lactate - if CTG abnormalities continue, the fetal scalp lactate should be repeated in one hour - if CTG abnormalities worsen, repeat sooner than an hour or consider expediting birth |
| Pre acidotic range | 4.2-4.8 mmol/L | - repeat FBS within 30 minutes to establish a trend in results or deliver if there is significant deterioration from the previous result |
| Acidotic range | > 4.8 mmol/L | - Stop oxytocin if in progress - Consult with senior Obstetric Team member - Initiate intravenous fluids - Reposition woman - Consider tocolytic - Plan for immediate birth of the baby, either instrumental birth or Category A caesarean (ensure transport CTG if transferring to theatre) - Notify NICU registrar to be present at birth - Send paired cord blood samples for cord gas analysis |

Back to Table of Contents

# Evaluation

Outcome

- The outcomes for women and their babies will be improved using a standardised approach to assessment, description, and management of normal fetal heart patterns during labour and the antenatal period

- The outcomes for women and their babies will be improved using a standardised approach to assessment, description, and management of abnormal normal fetal heart patterns during labour and the antenatal period

- Management of fetal blood sampling will be guided by this document.

Measures

- Data collected from Riskman on adverse neonatal outcomes will be reviewed by Maternity mortality and morbidity committee

- Births where an adverse neonatal outcome has occurred (abnormal arterial cord blood pH or lactate, unexpected NICU admission) and electronic fetal monitoring was used, will be reviewed at weekly maternity mortality and morbidity committee meetings to determine if appropriate assessment, documentation, and escalation of CTG during labour has occurred

- Births where significant adverse neonatal outcome has occurred, as identified by   maternity mortality and morbidity committee will investigated by the Departmental Quality and Safety Committee when deemed necessary.

Back to Table of Contents

# Related Policies, Procedures, Guidelines and Legislation

Policies

Nursing and Midwifery Board of Australia Requirements for Practice

Informed Consent (Clinical)

Procedures

Infection Prevention and Control

Patient Identification- Pathology Specimen Labelling

Specimen Handling

Guidelines

Cord Blood Collection for Blood Group, Direct Coomb’s test (DCT) and Blood Gas Sampling clinical guideline

Labour Care 1st, 2nd ,3rd and 4th stage

Legislation

Health Records (Privacy and Access) Act 1997

Human Rights Act 2004

Work Health and Safety Act 2011

Other

Australian Charter of Health Care Rights

Back to Table of Contents

# References

- RANZCOG. The Royal Australian and New Zealand College of Obstetricians and Gynaecologists. Intrapartum Fetal Surveillance Clinical Guideline. Fourth Edition. 2019. Available from IFS-Guideline-4thEdition-2019.pdf (ranzcog.edu.au)

- Murray, H. (2017). Antenatal foetal heart monitoring. Best Practice and Research: Clinical Obstetrics and Gynaecology, 38, 2–11. Available from  Antenatal foetal heart monitoring - ClinicalKey

- South Australian Perinatal Practice Guideline. Fetal Surveillance. 2020. Available from SA Perinatal Practice Guidelines | SA Health

Back to Table of Contents

# Search Terms

Fetal surveillance, CTG, Fetal scalp, lactate

Back to Table of Contents

# Attachments

Attachment 1 Fetal Heart Rate Monitoring Definitions

Disclaimer:

This document has been developed by Canberra Health Services specifically for its own use.  Use of this document and any reliance on the information contained therein by any third party is at his or her own risk and Canberra Health Services assumes no responsibility whatsoever.

Policy Team ONLY to complete the following:

| Date Amended | Section Amended | Divisional Approval | Final Approval |
| --- | --- | --- | --- |
| 4/10/2022 | Full Review | Susan Freiburg ED WYC | CHS Policy Committee |

This document supersedes the following:

| Document Number | Document Name |
| --- | --- |
| CHHS17/297 | Fetal Surveillance |

## Attachment 1 Fetal Heart Rate Monitoring Definitions

## Attachment 2 Antenatal and Intrapartum Factors Requiring Intrapartum CTG Monitoring